## PUBLIC VERSION
Confidential per WAC 48
Public
Version

## Table 1-4
Table One
Need/(Surplus) and Additions in MW | 2022 | 2023 | 2024 | 2025 | 2026 | 2027
2021 Draft IRP Need/(Surplus) | -230 | -350 | -306 | -257 | 369 | 527
Reduced Market Reliance Need |  | 185 | 372 | 574 | 776 | 979
Total Resource Need/(Surplus) | -230 | -165 | 66 | 317 | 1145 | 1506
Net Hydro Capacity Additions | -101 | -106 | -71 | -71 | -71
Adjusted Total Resource Need/(Surplus) | -331 | -271 | -5 | 246 | 1074 | 1506
Estimated Glide Path of Incremental Resource additions |  | 300 | 300 | 300 | 300 | 306
Table Two
CETA Need in GWhs | 2022 | 2023 | 2024 | 2025 | 2026
CETA qualifying resources | 7398 | 9045 | 9087 | 8963 | 9016
2021 IRP Draft CETA Energy Target – Mid with Conservation | 7398 | 8345 | 9297 | 10059 | 10958
CETA Need/(Surplus) | 0 | -699 | 210 | 1096 | 1942
Net Hydro CETA energy additions | -499 | -499 | -442 | -275 | -273
Adjusted CETA Need/(Surplus) | -499 | -1198 | -232 | 821 | 1669
Need Assuming 36% Capacity Factor (WA Wind) (MW) |  |  |  | 260 | 529
Need Assuming 24% Capacity Factor (East WA Solar) (MW) |  |  |  | 391 | 794
Table Three
Resource Additions (Nameplate MW) | Total by 2030 |  | Total by 2045
Demand-side Resources | 618 |  | 1265
Conservation | 281 |  | 818
Demand Response | 337 |  | 446
Distributed Energy Resources | 739 |  | 2392
DER Solar | 552 |  | 2124
Net Metered Solar | 284 |  | 1393
CEIP Solar | 79 |  | 79
New DER Solar | 189 |  | 652
DER Storage | 187 |  | 267
Supply-side Resources | 5360 |  | 11174
CETA-compliant Peaking Capacity | 711 |  | 1588
Wind | 1400 |  | 3650
Solar | 700 |  | 2290
Green Direct | 100 |  | 100
Hybrid (Total Nameplate) | 1450 |  | 1748
Hybrid Wind | 600 |  | 800
Hybrid Solar | 400 |  | 398
Hybrid Storage | 450 |  | 550
Biomass | - |  | -
Advanced Nuclear (SMRs) | - |  | -
Standalone Storage | 1000 |  | 1800
Total | 6717 |  | 14830
Table Four
Resource | Type | # of | Total | Offer Structures(s) |  |  | Status
|  | Proposals | Capacity
|  |  | (MW) | Ownership | PPA2 | Both | Development | Operating
Solar | Solar Only | 20 | 4094 |  | 14 | 6 | 20
| Hybrid: Solar + Capacity/Storage | 10 | 1381 |  | 9 | 1 | 10
Wind | Wind Only | 20 | 6986 |  | 17 | 3 | 18 | 2
| Hybrid: Wind + Capacity/Storage | 2 | 800 |  | 2 |  | 2
| Hybrid: Wind + Solar + Capacity/Storage | 2 | 451 |  | 2 |  | 2
Storage | Storage: Battery | 29 | 4360 |  | 28 | 1 | 29
| Storage: Pumped Hydro | 3 | 800 |  | 2 | 1 | 3
Flexible | Natural Gas-fired Generation3 | 3 | 1247 | 1 | 1 | 1 |  | 3
Capacity | Biofuel-fired Generation3 | 4 | 857 |  | 3 | 1 | 4
Other Resource | Hydro – Run of River | 1 | 20 |  | 1 |  |  | 1
| Hydrogen Fuel Cell | 1 | 10 |  | 1 |  | 1
Total |  | 95 | 21008 | 1 | 80 | 14 | 89 | 6
[1] Generation may include CCCTs, SCCTs, and reciprocating engines.
[2] Includes power purchase agreements, tolling agreements and capacity agreements.
[3] Bidders allowed to submit up to three (3) offers per proposal. Total nameplate capacity shown in table is based on first offer. Offer count = 221.

## table 5
Table Five
| Projects | options
Total Intake | 95 | 242
Disqualifications
Site Control | 1 | 1
Fuel Supply | 3 | 6
Transmission | 6 | 12
Interconnection | 2 | 6
Withdrawn | 4 | 8
Total | 16 | 33
Remaining Projects | 79 | 209

## (R) Table 6-13
Table 6
Project Offer ID | Proposal Name | Offer Capacity (MW) | Offer Term | NPV Portfolio Benefit / Nameplate | Quantitative Score (PB/NP) 70% Weight | Qualitative Score 30% Weight | Combined Score | CETA Contribution (MWh) | Peak Capacity Contribution (MW)
5088_2 | █████████████████████████ | ████ | 15.0007 | 31.7703 | 100 | 50.4722 | 85.1417 | ████ | ████
5088_1 | █████████████████████████ | ████ | 10.0014 | 28.0871 | 96.5861 | 50.4722 | 82.752 | ████ | ████
1573_1 | █████████████████████████ | ████ | 10.0698 | 11.4131 | 81.1316 | 72 | 78.3921 | ████ | ████
1573_2 | VANTAGE WIND | 90 | 15.0719 | 10.7807 | 80.5454 | 72 | 77.9818 | 263377.8438 | 0
5438_1 | █████████████████████████ | ████ | 19.9973 | 18.0906 | 87.3207 | 53.25 | 77.0995 | ████ | ████
5438_2 | █████████████████████████ | ████ | 19.9973 | 16.8323 | 86.1544 | 53.25 | 76.2831 | ████ | ████
8150_1 | █████████████████████████ | ████ | 29.9986 | 6.199 | 76.2987 | 44.25 | 66.6841 | ████ | ████
1524_1 | █████████████████████████ | ████ | 19.9973 | 3.533 | 73.8277 | 44.25 | 64.9544 | ████ | ████
8150_3 | █████████████████████████ | ████ | Own | -2.5979 | 68.1452 | 44.25 | 60.9766 | ████ | ████
3325_1 | █████████████████████████ | ████ | 29.9959 | -15.7049 | 55.9967 | 44.25 | 52.4727 | ████ | ████
4091_1 | █████████████████████████ | ████ | 19.9973 | -26.4545 | 46.0332 | 67.2778 | 52.4066 | ████ | ████
3325_3 | █████████████████████████ | ████ | Own | -16.9363 | 54.8554 | 44.25 | 51.6738 | ████ | ████
1524_2 | █████████████████████████ | ████ | 19.9973 | -17.4418 | 54.3868 | 44.25 | 51.3457 | ████ | ████
3180_1 | █████████████████████████ | ████ | 20 | -25.8936 | 46.5531 | 34.6944 | 42.9955 | ████ | ████
3971_3 | █████████████████████████ | ████ | 24.9966 | -35.9446 | 37.2372 | 48.1389 | 40.5077 | ████ | ████
3971_2 | █████████████████████████ | ████ | 19.9973 | -41.5847 | 32.0095 | 48.1389 | 36.8483 | ████ | ████
7103_1 | █████████████████████████ | ████ | 20 | -44.5462 | 29.2646 | 47.9167 | 34.8602 | ████ | ████
2659_3 | █████████████████████████ | ████ | 24.9993 | -53.0532 | 21.3797 | 59.9167 | 32.9408 | ████ | ████
6430_1 | █████████████████████████ | ████ | 20 | -45.6144 | 28.2745 | 41.3611 | 32.2005 | ████ | ████
3971_1 | █████████████████████████ | ████ | 14.9952 | -52.8623 | 21.5566 | 48.1389 | 29.5313 | ████ | ████
2659_2 | █████████████████████████ | ████ | 24.9993 | -58.634 | 16.2071 | 59.9167 | 29.32 | ████ | ████
2141_3_Own | █████████████████████████ | ████ | Own | -67.111 | 8.3499 | 59.1667 | 23.595 | ████ | ████
2141_1_Own | █████████████████████████ | ████ | Own | -68.7658 | 6.8162 | 59.1667 | 22.5214 | ████ | ████
2659_1 | █████████████████████████ | ████ | 24.9993 | -69.363 | 6.2626 | 59.9167 | 22.3588 | ████ | ████
2141_2_Own | █████████████████████████ | ████ | Own | -69.3862 | 6.2412 | 59.1667 | 22.1188 | ████ | ████
2141_2_PPA | █████████████████████████ | ████ | 20 | -70.7218 | 5.0032 | 59.1667 | 21.2523 | ████ | ████
2141_1_PPA | █████████████████████████ | ████ | 20 | -70.9513 | 4.7905 | 59.1667 | 21.1034 | ████ | ████
2141_3_PPA | █████████████████████████ | ████ | 29.9986 | -76.1198 | 0 | 59.1667 | 17.75 | ████ | ████
Table Seven
Project Offer ID | Proposal Name | Offer Capacity (MW) | Offer Term | NPV Portfolio Benefit / Nameplate | Quantitative Score (PB/NP) 70% Weight | Qualitative Score 30% Weight | Combined Score | CETA Contribution (MWh) | Peak Capacity Contribution (MW)
2892_1 | █████████████████████████ | ████ | 24.9966 | 12.7958 | 100 | 43.1667 | 82.95 | ████ | ████
2899_3 | █████████████████████████ | ████ | 24.9993 | 2.6673 | 87.181 | 50.1389 | 76.0683 | ████ | ████
2899_2 | █████████████████████████ | ████ | 20 | 2.0055 | 86.3434 | 50.1389 | 75.4821 | ████ | ████
8652_1 | █████████████████████████ | ████ | 24.9993 | 1.7445 | 86.013 | 47.9167 | 74.5841 | ████ | ████
7621_2_PPA | APPALOOSA SOLAR PROJECT LLC (100/150 MW) | 150 | 20 | -0.89931 | 82.6669 | 55.2778 | 74.4502 | 305595.7188 | 0
8652_2 | █████████████████████████ | ████ | 24.9993 | 1.3846 | 85.5575 | 47.9167 | 74.2653 | ████ | ████
7621_1_PPA | █████████████████████████ | ████ | 20 | -1.3967 | 82.0375 | 55.2778 | 74.0096 | ████ | ████
9696_1 | █████████████████████████ | ████ | 20 | 1.9398 | 86.2602 | 40.25 | 72.4571 | ████ | ████
7991_3 | █████████████████████████ | ████ | 24.9993 | -1.6712 | 81.69 | 50.1389 | 72.2247 | ████ | ████
1261_1 | █████████████████████████ | ████ | 19.9973 | -2.7482 | 80.3269 | 48.2778 | 70.7122 | ████ | ████
7991_2 | █████████████████████████ | ████ | 20 | -4.5568 | 78.0379 | 50.1389 | 69.6682 | ████ | ████
9015_1 | █████████████████████████ | ████ | 20 | -7.1402 | 74.7682 | 55.6944 | 69.0461 | ████ | ████
2725_1 | █████████████████████████ | ████ | 20 | -6.4685 | 75.6184 | 48.3611 | 67.4412 | ████ | ████
2807_1 | █████████████████████████ | ████ | 19.9973 | -12.8202 | 67.5794 | 51.6111 | 62.7889 | ████ | ████
3947_1 | █████████████████████████ | ████ | 20 | -11.875 | 68.7756 | 47.5833 | 62.4179 | ████ | ████
7374_3 | █████████████████████████ | ████ | 24.9993 | -12.3873 | 68.1272 | 47.0278 | 61.7974 | ████ | ████
2587_1_PPA | █████████████████████████ | ████ | 20 | -19.0841 | 59.6515 | 55.2778 | 58.3394 | ████ | ████
2587_2_PPA | █████████████████████████ | ████ | 20 | -20.4053 | 57.9794 | 55.2778 | 57.1689 | ████ | ████
7621_1_Own | █████████████████████████ | ████ | Own | -25.2244 | 51.8801 | 55.2778 | 52.8994 | ████ | ████
7621_2_Own | █████████████████████████ | ████ | Own | -25.4517 | 51.5925 | 55.2778 | 52.6981 | ████ | ████
3345_2 | █████████████████████████ | ████ | 14.9979 | -24.5122 | 52.7815 | 42.25 | 49.6221 | ████ | ████
2892_2 | █████████████████████████ | ████ | Own | -27.026 | 49.5999 | 43.1667 | 47.6699 | ████ | ████
3345_1 | █████████████████████████ | ████ | 19.9973 | -28.3023 | 47.9846 | 42.25 | 46.2642 | ████ | ████
7374_2 | █████████████████████████ | ████ | 20 | -30.4666 | 45.2454 | 47.0278 | 45.7801 | ████ | ████
6549_1 | █████████████████████████ | ████ | 20 | -31.8034 | 43.5534 | 41.3611 | 42.8957 | ████ | ████
6185_1 | █████████████████████████ | ████ | 20 | -31.889 | 43.4451 | 33.0278 | 40.3199 | ████ | ████
5864_1 | █████████████████████████ | ████ | 24.9966 | -36.1078 | 38.1057 | 40.5833 | 38.849 | ████ | ████
2587_1_Own | █████████████████████████ | ████ | Own | -41.1482 | 31.7263 | 55.2778 | 38.7918 | ████ | ████
2587_2_Own | █████████████████████████ | ████ | Own | -42.5729 | 29.9231 | 55.2778 | 37.5295 | ████ | ████
5056_1 | █████████████████████████ | ████ | 20.0821 | -41.5895 | 31.1678 | 38.9167 | 33.4924 | ████ | ████
2351_1 | █████████████████████████ | ████ | 28.9993 | -44.1952 | 27.87 | 43.1389 | 32.4506 | ████ | ████
3155_1 | █████████████████████████ | ████ | 20 | -45.7626 | 25.8862 | 39.6944 | 30.0287 | ████ | ████
5703_1 | █████████████████████████ | ████ | 20 | -55.0484 | 14.1337 | 36.9167 | 20.9686 | ████ | ████
3060_1 | █████████████████████████ | ████ | 20 | -66.2156 | 0 | 46.25 | 13.875 | ████ | ████
Table Eight
Project Offer ID | Proposal Name | Offer Capacity (MW) | ESS Capacity (MW) | Offer Term | NPV Portfolio Benefit / Nameplate | Quantitative Score (PB/NP) 70% Weight | Qualitative Score 30% Weight | Combined Score | CETA Contribution (MWh) | Peak Capacity Contribution (MW)
1627_2 | █████████████████████████ | ████ | ████ | 20 | -8.7824 | 100 | 33.0278 | 79.9083 | ████ | ████
9696_3 | █████████████████████████ | ████ | ████ | 20 | -12.2157 | 96.0225 | 40.25 | 79.2907 | ████ | ████
9374_1 | █████████████████████████ | ████ | ████ | 19.9973 | -18.9669 | 88.2013 | 57.0278 | 78.8492 | ████ | ████
2725_2 | █████████████████████████ | ████ | ████ | 20 | -18.5175 | 88.722 | 48.3611 | 76.6137 | ████ | ████
2725_3 | █████████████████████████ | ████ | ████ | 20 | -18.711 | 88.4977 | 48.3611 | 76.4567 | ████ | ████
2899_1 | █████████████████████████ | ████ | ████ | 20 | -27.0401 | 78.8485 | 50.1389 | 70.2356 | ████ | ████
7991_1 | █████████████████████████ | ████ | ████ | 20 | -27.7582 | 78.0166 | 50.1389 | 69.6533 | ████ | ████
9696_2 | █████████████████████████ | ████ | ████ | Own | -24.8897 | 81.3397 | 40.25 | 69.0128 | ████ | ████
6236_1_PPA | █████████████████████████ | ████ | ████ | 20 | -31.9377 | 73.1747 | 55.2778 | 67.8056 | ████ | ████
1627_3 | █████████████████████████ | ████ | ████ | 20 | -25.2006 | 80.9796 | 33.0278 | 66.5941 | ████ | ████
9015_2 | █████████████████████████ | ████ | ████ | 20 | -34.747 | 69.9201 | 55.6944 | 65.6524 | ████ | ████
1261_2 | █████████████████████████ | ████ | ████ | 19.9973 | -33.1 | 71.8282 | 46.6111 | 64.263 | ████ | ████
9015_3 | █████████████████████████ | ████ | ████ | 20 | -36.9257 | 67.3961 | 55.6944 | 63.8856 | ████ | ████
3325_2 | █████████████████████████ | ████ | ████ | 29.9959 | -32.2286 | 72.8377 | 40.9167 | 63.2614 | ████ | ████
8150_2 | █████████████████████████ | ████ | ████ | 29.9959 | -32.9276 | 72.0279 | 40.9167 | 62.6945 | ████ | ████
1524_3 | █████████████████████████ | ████ | ████ | 19.9973 | -33.3567 | 71.5307 | 40.9167 | 62.3465 | ████ | ████
3669_2 | █████████████████████████ | ████ | ████ | 20 | -32.7286 | 72.2584 | 33.0278 | 60.4892 | ████ | ████
1627_1 | █████████████████████████ | ████ | ████ | 20 | -33.9207 | 70.8774 | 33.0278 | 59.5225 | ████ | ████
6549_2 | █████████████████████████ | ████ | ████ | 20 | -39.9066 | 63.9428 | 41.3611 | 57.1683 | ████ | ████
6185_2 | █████████████████████████ | ████ | ████ | 20 | -38.3374 | 65.7606 | 33.0278 | 55.9408 | ████ | ████
1796_1 | █████████████████████████ | ████ | ████ | 19.9973 | -44.1867 | 58.9843 | 40.5833 | 53.464 | ████ | ████
3947_2 | █████████████████████████ | ████ | ████ | 20 | -47.5561 | 55.0808 | 47.5833 | 52.8315 | ████ | ████
7374_1 | █████████████████████████ | ████ | ████ | 20 | -47.8298 | 54.7637 | 47.0278 | 52.4429 | ████ | ████
6236_1_Own | █████████████████████████ | ████ | ████ | Own | -51.3078 | 50.7345 | 55.2778 | 52.0975 | ████ | ████
3947_3 | █████████████████████████ | ████ | ████ | 20 | -50.1312 | 52.0975 | 47.5833 | 50.7433 | ████ | ████
3155_2 | █████████████████████████ | ████ | ████ | 20 | -51.1823 | 50.8799 | 39.6944 | 47.5242 | ████ | ████
6236_2_PPA | █████████████████████████ | ████ | ████ | 20 | -58.3387 | 42.5892 | 55.2778 | 46.3958 | ████ | ████
3669_3 | █████████████████████████ | ████ | ████ | 20 | -50.5052 | 51.6643 | 33.0278 | 46.0734 | ████ | ████
1796_2 | █████████████████████████ | ████ | ████ | 19.9973 | -54.5041 | 47.0316 | 40.5833 | 45.0971 | ████ | ████
6236_3_PPA | █████████████████████████ | ████ | ████ | 20 | -60.9641 | 39.5477 | 55.2778 | 44.2667 | ████ | ████
7405_1 | █████████████████████████ | ████ | ████ | 19.9973 | -70.8371 | 28.1098 | 79.7778 | 43.6102 | ████ | ████
3669_1 | █████████████████████████ | ████ | ████ | 20 | -56.2011 | 45.0656 | 33.0278 | 41.4543 | ████ | ████
5234_1_PPA | █████████████████████████ | ████ | ████ | 20 | -67.3025 | 32.2046 | 55.2778 | 39.1266 | ████ | ████
1796_3 | █████████████████████████ | ████ | ████ | 19.9973 | -62.2258 | 38.086 | 40.5833 | 38.8352 | ████ | ████
5234_2_PPA | █████████████████████████ | ████ | ████ | 20 | -68.8802 | 30.3769 | 55.2778 | 37.8471 | ████ | ████
2807_2 | █████████████████████████ | ████ | ████ | 19.9973 | -66.6304 | 32.9832 | 43.6944 | 36.1966 | ████ | ████
6236_2_Own | █████████████████████████ | ████ | ████ | Own | -71.1079 | 27.7962 | 55.2778 | 36.0406 | ████ | ████
6236_3_Own | █████████████████████████ | ████ | ████ | Own | -73.0805 | 25.5108 | 55.2778 | 34.4409 | ████ | ████
6518_1 | █████████████████████████ | ████ | ████ | 19.9973 | -73.9712 | 24.4789 | 57.0278 | 34.2436 | ████ | ████
5234_1_Own | █████████████████████████ | ████ | ████ | Own | -80.1126 | 17.3642 | 55.2778 | 28.7383 | ████ | ████
3060_2 | █████████████████████████ | ████ | ████ | 20 | -78.1483 | 19.6399 | 46.25 | 27.6229 | ████ | ████
5234_2_Own | █████████████████████████ | ████ | ████ | Own | -82.428 | 14.6818 | 55.2778 | 26.8606 | ████ | ████
5703_2 | █████████████████████████ | ████ | ████ | 20 | -86.1275 | 10.3959 | 36.9167 | 18.3521 | ████ | ████
5684_3 | █████████████████████████ | ████ | ████ | 19.9973 | -95.1012 | 0 | 54.6944 | 16.4083 | ████ | ████
Table Nine
Project Offer ID | Proposal Name | Offer Capacity (MW) | Offer Term | NPV Portfolio Benefit / Nameplate | Quantitative Score (PB/NP) 70% Weight | Qualitative Score 30% Weight | Combined Score | CETA Contribution (MWh) | Peak Capacity Contribution (MW)
8728_2 | █████████████████████████ | ████ | 29.9986 | -48.0495 | 80.8284 | 40.6944 | 68.7882 | ████ | ████
8728_3 | █████████████████████████ | ████ | 29.9986 | -52.9172 | 78.1036 | 40.6944 | 66.8809 | ████ | ████
4763_2 | █████████████████████████ | ████ | 19.9973 | -62.2912 | 72.8564 | 40.6944 | 63.2078 | ████ | ████
4763_3 | █████████████████████████ | ████ | 19.9973 | -66.6845 | 70.3971 | 40.6944 | 61.4863 | ████ | ████
8728_1 | █████████████████████████ | ████ | 29.9986 | -84.1187 | 60.638 | 40.6944 | 54.6549 | ████ | ████
4763_1 | █████████████████████████ | ████ | 19.9973 | -98.3053 | 52.6969 | 40.6944 | 49.0961 | ████ | ████
1810_3_Own | █████████████████████████ | ████ | Own | -169.3831 | 12.9098 | 42.9167 | 21.9119 | ████ | ████
1810_2_Own | █████████████████████████ | ████ | Own | -176.9182 | 8.6919 | 42.9167 | 18.9594 | ████ | ████
1810_3_PPA | █████████████████████████ | ████ | 30.0014 | -177.549 | 8.3388 | 42.9167 | 18.7122 | ████ | ████
1810_2_PPA | █████████████████████████ | ████ | 30.0014 | -182.1229 | 5.7785 | 42.9167 | 16.9199 | ████ | ████
1810_1_Own | █████████████████████████ | ████ | Own | -191.2614 | 0.66309 | 42.9167 | 13.3392 | ████ | ████
1810_1_PPA | █████████████████████████ | ████ | 30.0014 | -192.446 | 0 | 42.9167 | 12.875 | ████ | ████
table Ten
Project Offer ID | Proposal Name | Offer Capacity (MW) | ESS Capacity (MW) | Offer Term | NPV Portfolio Benefit / Nameplate | Quantitative Score (PB/NP) 70% Weight | Qualitative Score 30% Weight | Combined Score | CETA Contribution (MWh) | Peak Capacity Contribution (MW)
1054_3 | █████████████████████████ | ████ | ████ | 20 | -13.8003 | 100 | 43.25 | 82.975 | ████ | ████
1058_3 | █████████████████████████ | ████ | ████ | 20 | -19.6527 | 96.724 | 43.25 | 80.6818 | ████ | ████
1054_2 | █████████████████████████ | ████ | ████ | 20 | -20.6294 | 96.1773 | 43.25 | 80.2991 | ████ | ████
1054_1 | █████████████████████████ | ████ | ████ | 20 | -30.0806 | 90.8868 | 43.25 | 76.5958 | ████ | ████
1058_2 | █████████████████████████ | ████ | ████ | 20 | -30.0924 | 90.8802 | 43.25 | 76.5911 | ████ | ████
9831_3 | █████████████████████████ | ████ | ████ | 20 | -30.3647 | 90.7278 | 43.25 | 76.4845 | ████ | ████
4101_2 | GREENWATER ENERGY STORAGE | 200 | 200 | 19.9973 | -37.074 | 86.9721 | 51.0278 | 76.1888 | 0 | 49.6
7871_1 | █████████████████████████ | ████ | ████ | 20 | -30.032 | 90.914 | 41.6944 | 76.1482 | ████ | ████
8179_1 | █████████████████████████ | ████ | ████ | 19.9973 | -38.5805 | 86.1288 | 47.0278 | 74.3985 | ████ | ████
4644_3 | █████████████████████████ | ████ | ████ | 20 | -44.2755 | 82.941 | 50.1389 | 73.1003 | ████ | ████ | Agate Energy Storage | 74.4
9788_1 | █████████████████████████ | ████ | ████ | 19.9973 | -42.2858 | 84.0548 | 47.0278 | 72.9467 | ████ | ████ | MATTAWA STORAGE | 74.4 | 1.0934
4101_1 | █████████████████████████ | ████ | ████ | 19.9973 | -45.9729 | 81.9908 | 51.0278 | 72.7019 | ████ | ████ | BUFFLEHEAD ENERGY STORAGE | 62
9136_1 | █████████████████████████ | ████ | ████ | 19.9973 | -38.7566 | 86.0302 | 40.3611 | 72.3295 | ████ | ████ | CENTRALIA ENERGY STORAGE | 49.6
9831_2 | █████████████████████████ | ████ | ████ | 20 | -41.8964 | 84.2727 | 43.25 | 71.9659 | ████ | ████ | GOLDENEYE ENERGY STORAGE | 49.6
1058_1 | █████████████████████████ | ████ | ████ | 20 | -42.2071 | 84.0988 | 43.25 | 71.8441 | ████ | ████ | GREBE ENERGY STORAGE | 49.6
4644_2 | █████████████████████████ | ████ | ████ | 20 | -47.4881 | 81.1427 | 50.1389 | 71.8415 | ████ | ████ | GREENWATER ENERGY STORAGE | 49.6
4644_1 | █████████████████████████ | ████ | ████ | 20 | -48.585 | 80.5287 | 50.1389 | 71.4117 | ████ | ████ | KINGFISHER ENERGY STORAGE STORAGE | 49.6
2889_1 | █████████████████████████ | ████ | ████ | 19.9973 | -52.6249 | 78.2672 | 54.25 | 71.0621 | ████ | ████ | SINCLAIR ENERGY STORAGE | 49.6
5008_3 | █████████████████████████ | ████ | ████ | 20 | -53.3714 | 77.8494 | 51.25 | 69.8695 | ████ | ████ | STONY LAKE GRID (4 hr) | 49.6
2841_1 | SPIRE STORAGE | 100 | 100 | 19.9973 | -55.8765 | 76.4471 | 54.25 | 69.788 | 0 | 24.8 | DOUBLE R ENERGY STORAGE | 37.2
5008_1 | █████████████████████████ | ████ | ████ | 20 | -58.4435 | 75.0102 | 51.25 | 67.8821 | ████ | ████ | VIREO ENERGY STORAGE | 37.2
5008_2 | █████████████████████████ | ████ | ████ | 20 | -60.1743 | 74.0413 | 51.25 | 67.2039 | ████ | ████ | NOVIS STARWOOD ENERGY STORAGE | 31
9831_1 | █████████████████████████ | ████ | ████ | 20 | -55.7964 | 76.4919 | 43.25 | 66.5193 | ████ | ████ | BIRCH BAY STORAGE | 24.8
9439_1 | █████████████████████████ | ████ | ████ | 19.9973 | -63.8981 | 71.9569 | 48.6944 | 64.9781 | ████ | ████ | CHRISTOPHER ENERGY STORAGE PROEJCT (Capacity Price only) | 24.8
2608_1 | █████████████████████████ | ████ | ████ | 19.9973 | -64.8245 | 71.4383 | 48.6944 | 64.6151 | ████ | ████ | CLEARWATER STORAGE | 24.8
3387_3 | █████████████████████████ | ████ | ████ | 20 | -62.4061 | 72.792 | 36.9167 | 62.0294 | ████ | ████ | NIRVANA BESS | 24.8
3387_2 | █████████████████████████ | ████ | ████ | 20 | -66.6054 | 70.4414 | 36.9167 | 60.384 | ████ | ████ | SPIRE STORAGE | 24.8
5684_1 | █████████████████████████ | ████ | ████ | 19.9973 | -81.4868 | 62.1113 | 54.6944 | 59.8862 | ████ | ████ | CLOVER CREEK POWER BESS | 21.08
9439_2 | █████████████████████████ | ████ | ████ | 19.9973 | -82.9975 | 61.2657 | 48.6944 | 57.4943 | ████ | ████ | LUND HILL BESS | 18.6
5999_1 | █████████████████████████ | ████ | ████ | 22.4203 | -78.6329 | 63.7088 | 38.5833 | 56.1712 | ████ | ████ | NOVIS SOUTH BREMERTON ENERGY STORAGE | 15.5
9851_3 | █████████████████████████ | ████ | ████ | 19.9973 | -83.8189 | 60.8059 | 43.9167 | 55.7391 | ████ | ████
6465_3 | █████████████████████████ | ████ | ████ | 19.9973 | -83.9841 | 60.7134 | 43.9167 | 55.6744 | ████ | ████
7418_3 | █████████████████████████ | ████ | ████ | 19.9973 | -83.9841 | 60.7134 | 43.9167 | 55.6744 | ████ | ████
3387_1 | █████████████████████████ | ████ | ████ | 20 | -79.2049 | 63.3886 | 36.9167 | 55.4471 | ████ | ████
5999_2 | █████████████████████████ | ████ | ████ | 22.4203 | -82.0943 | 61.7712 | 38.5833 | 54.8149 | ████ | ████
5435_3 | █████████████████████████ | ████ | ████ | 19.9973 | -87.29 | 58.8628 | 43.9167 | 54.379 | ████ | ████
9851_1 | █████████████████████████ | ████ | ████ | 19.9973 | -88.024 | 58.452 | 43.9167 | 54.0914 | ████ | ████
6465_1 | █████████████████████████ | ████ | ████ | 19.9973 | -88.369 | 58.2589 | 43.9167 | 53.9562 | ████ | ████
7418_1 | █████████████████████████ | ████ | ████ | 19.9973 | -88.369 | 58.2589 | 43.9167 | 53.9562 | ████ | ████
7508_3 | █████████████████████████ | ████ | ████ | 19.9973 | -84.5994 | 60.3689 | 36.9167 | 53.3333 | ████ | ████
1412_1 | █████████████████████████ | ████ | ████ | 19.9973 | -91.0301 | 56.7692 | 42.5833 | 52.5135 | ████ | ████
5435_1 | █████████████████████████ | ████ | ████ | 19.9973 | -92.2652 | 56.0779 | 43.9167 | 52.4295 | ████ | ████
7508_1 | █████████████████████████ | ████ | ████ | 19.9973 | -88.9208 | 57.95 | 36.9167 | 51.64 | ████ | ████
9136_2 | █████████████████████████ | ████ | ████ | 19.9973 | -92.7856 | 55.7866 | 40.3611 | 51.1589 | ████ | ████
3771_1 | █████████████████████████ | ████ | ████ | 19.9973 | -113.8074 | 44.0193 | 61.6 | 49.2935 | ████ | ████
7418_2 | █████████████████████████ | ████ | ████ | 19.9233 | -100.4344 | 51.505 | 43.9167 | 49.2285 | ████ | ████
6465_2 | █████████████████████████ | ████ | ████ | 19.9973 | -100.5348 | 51.4488 | 43.9167 | 49.1892 | ████ | ████
9851_2 | █████████████████████████ | ████ | ████ | 19.9973 | -100.932 | 51.2265 | 43.9167 | 49.0336 | ████ | ████
7508_2 | █████████████████████████ | ████ | ████ | 19.9973 | -99.2568 | 52.1642 | 36.9167 | 47.5899 | ████ | ████
5435_2 | █████████████████████████ | ████ | ████ | 19.9973 | -110.5969 | 45.8164 | 43.9167 | 45.2465 | ████ | ████
1412_2 | █████████████████████████ | ████ | ████ | 19.9973 | -112.3814 | 44.8175 | 42.5833 | 44.1473 | ████ | ████
7736_3 | █████████████████████████ | ████ | ████ | 20 | -123.9271 | 38.3546 | 40.1389 | 38.8899 | ████ | ████
7736_2 | █████████████████████████ | ████ | ████ | 20 | -128.3604 | 35.873 | 40.1389 | 37.1527 | ████ | ████
7736_1 | █████████████████████████ | ████ | ████ | 20 | -133.0027 | 33.2744 | 40.1389 | 35.3337 | ████ | ████
5684_2 | █████████████████████████ | ████ | ████ | 19.9973 | -179.429 | 7.2865 | 54.6944 | 21.5089 | ████ | ████
Table Eleven
Project Offer ID | Proposal Name | Offer Capacity (MW) | Offer Term | NPV Portfolio Benefit / Nameplate | Quantitative Score (PB/NP) 70% Weight | Qualitative Score 30% Weight | Combined Score | CETA Contribution (MWh) | Peak Capacity Contribution (MW)
4929_3 | █████████████████████████ | ████ | ████ | -117.1858 | 98.931 | 45.3611 | 82.86 | ████ | ████
4240_3 | █████████████████████████ | ████ | ████ | -118.8527 | 98.1909 | 45.3611 | 82.3419 | ████ | ████
5964_3 | █████████████████████████ | ████ | ████ | -114.778 | 100 | 36.6944 | 81.0083 | ████ | ████
5943_2 | █████████████████████████ | ████ | ████ | -146.5013 | 85.9152 | 65.75 | 79.8657 | ████ | ████
4929_1 | █████████████████████████ | ████ | ████ | -132.0563 | 92.3286 | 45.3611 | 78.2384 | ████ | ████
4240_1 | █████████████████████████ | ████ | ████ | -134.2039 | 91.3751 | 45.3611 | 77.5709 | ████ | ████
4929_2 | █████████████████████████ | ████ | ████ | -135.9452 | 90.602 | 45.3611 | 77.0297 | ████ | ████
5943_1 | █████████████████████████ | ████ | ████ | -137.6895 | 89.8276 | 65.75 | 76.4876 | ████ | ████
4240_2 | █████████████████████████ | ████ | ████ | -129.5347 | 93.4482 | 45.3611 | 76.422 | ████ | ████
5964_1 | █████████████████████████ | ████ | ████ | -157.3478 | 81.0995 | 36.6944 | 76.4947 | ████ | ████
5964_2 | █████████████████████████ | ████ | ████ | -132.5842 | 92.0942 | 36.6944 | 75.4743 | ████ | ████
2343_1_Own | █████████████████████████ | ████ | ████ | -191.6248 | 65.8809 | 37.8056 | 57.4583 | ████ | ████
2343_2_Own | █████████████████████████ | ████ | ████ | -206.0207 | 59.4893 | 36.1389 | 52.4842 | ████ | ████
2343_3_Own | █████████████████████████ | ████ | ████ | -237.6706 | 45.4371 | 36.1389 | 42.6476 | ████ | ████
2343_1_PPA | █████████████████████████ | ████ | ████ | -340.0092 | 0 | 37.8056 | 11.3417 | ████ | ████
2343_2_PPA | █████████████████████████ | ████ | ████ | -339.6049 | 0.1795 | 36.1389 | 10.9673 | ████ | ████
2343_3_PPA | █████████████████████████ | ████ | ████ | -339.6283 | 0.16912 | 36.1389 | 10.9601 | ████ | ████
████
table Twelve
Project Offer ID | Proposal Name | Offer Capacity (MW) | ESS Capacity (MW) | Offer Term | NPV Portfolio Benefit / Nameplate | Quantitative Score (PB/NP) 70% Weight | Qualitative Score 30% Weight | Combined Score | CETA Contribution (MWh) | Peak Capacity Contribution (MW)
8051_1 | █████████████████████████ | ████ | ████ | 20 | -26.7182 | 65.8044 | 37.5833 | 57.3381 | ████ | ████
8051_3 | █████████████████████████ | ████ | ████ | 20 | -27.6343 | 65.2265 | 37.5833 | 56.9335 | ████ | ████
8051_2 | █████████████████████████ | ████ | ████ | 20 | -54.0025 | 48.5939 | 37.5833 | 45.2908 | ████ | ████
2807_3 | █████████████████████████ | ████ | ████ | 19.9973 | -70.7024 | 38.0599 | 43.6944 | 39.7503 | ████ | ████
2180_1 | █████████████████████████ | ████ | ████ | 19.9973 | -102.2744 | 18.1449 | 42.9167 | 25.5765 | ████ | ████
2180_2 | █████████████████████████ | ████ | ████ | 14.9952 | -119.8863 | 7.0357 | 42.9167 | 17.8 | ████ | ████
2180_3 | █████████████████████████ | ████ | ████ | 11.9973 | -131.0402 | 0 | 42.9167 | 12.875 | ████ | ████
Table Thirteen
Project Offer ID | Proposal Name | Offer Capacity (MW) | ESS Capacity (MW) | Offer Term | NPV Portfolio Benefit / Nameplate | Quantitative Score (PB/NP) 70% Weight | Qualitative Score 30% Weight | Combined Score | CETA Contribution (MWh) | Peak Capacity Contribution (MW)
3923_1 | █████████████████████████ | ████ | ████ | 24.9993 | 27.4934 | 100 | 56.5833 | 86.975 | ████ | ████
3923_2 | █████████████████████████ | ████ | ████ | 20 | 13.3172 | 91.058 | 56.5833 | 80.7156 | ████ | ████
1413_2 | Haymaker Wind + BESS NWMT 230 kV | 220 |  | 24.9993 | -4.061 | 80.0961 | 63.0278 | 74.9756 | 876495.125 | 0
2958_1 | █████████████████████████ | ████ | ████ | 24.9993 | -36.9082 | 59.3767 | 69.2778 | 62.347 | ████ | ████
2958_2 | █████████████████████████ | ████ | ████ | 24.9966 | -46.2203 | 53.5028 | 69.2778 | 58.2353 | ████ | ████
1413_3 | █████████████████████████ | ████ | ████ | 20 | -109.5442 | 13.5593 | 61.3611 | 27.8998 | ████ | ████
Confidential per WAC 48
Public
Version
Confidential per WAC 48
Public
Version
Confidential per WAC 48
Public
Version
Confidential per WAC 48
Public
Version
Confidential per WAC 48
Public
Version
Confidential per WAC 48
Public
Version
Confidential per WAC 48
Public
Version
Confidential per WAC 48
Public
Version

## (R) table 14-17
Table 14
Offer ID | Project Name | Technology | Term (Years) | Begin_Year | COD | Offer Capacity (MW) | Peak Contribution 2027_08 (MW) | Peak Contribution 2027_12 (MW) | CETA Contribution 2026
1573_2 | VANTAGE WIND | WND | 15.0719 | 2025 | 2025-10-05 | 90 | 8.0743 | 0.61782 | 264279.5312
2958_2 | █████████████████████████ | WND | 24.9966 | 2025 | 2025-12-01 | ███ | ███ | ███ | ███
1261_1 | █████████████████████████ | SOLAR | 19.9973 | 2025 | 2025-12-31 | ███ | ███ | ███ | ███
2892_1 | █████████████████████████ | SOLAR | 24.9966 | 2024 | 07/01/2024 | ███ | ███ | ███ | ███
7621_2 | APPALOOSA SOLAR PROJECT LLC (100/150 MW) | SOLAR | 20 | 2024 | 2024-12-01 | 150 | 64.0009 | 7.2033 | 292666.5625
8652_2 | █████████████████████████ | SOLAR | 24.9993 | 2024 | 2024-12-31 | ███ | ███ | ███ | ███
9015_1 | █████████████████████████ | SOLAR | 20 | 2024 | 2024-12-31 | ███ | ███ | ███ | ███
1810_3 | █████████████████████████ | PSH | 30.0014 | 2026 | 2026-12-31 | ███ | ███ | ███ | ███
5438_2 | █████████████████████████ | HYDRO | 19.9973 | 2025 | 2025-03-09 | ███ | ███ | ███ | ███
8918_DER | █████████████████████████ | DER | 30 | 2023 | 2023-01-01 | ███ | ███ | ███ | ███
5247_DER | █████████████████████████ | DER | 30 | 2023 | 2023-01-01 | ███ | ███ | ███ | ███
1714_DER | █████████████████████████ | DER | 30 | 2023 | 2023-01-01 | ███ | ███ | ███ | ███
5684_1 | █████████████████████████ | BESS | 19.9973 | 2025 | 2025-12-01 | ███ | ███ | ███ | ███
7508_2 | █████████████████████████ | BESS | 19.9973 | 2025 | 2025-10-31 | ███ | ███ | ███ | ███
9851_3 | █████████████████████████ | BESS | 19.9973 | 2026 | 2026-10-31 | ███ | ███ | ███ | ███
Table 16
Offer ID | Project Name | Technology | Term (Years) | Begin_Year | COD | Offer Capacity (MW) | Peak Contribution 2027_08 (MW) | Peak Contribution 2027_12 (MW) | CETA Contribution 2026 | Base Case | Low Case | High Case
1573_2 | VANTAGE WIND | WND | 15.0719 | 2025 | 2025-10-05 | 90 | 8.0743 | 0.61782 | 264279.5312 | Yes |  | Yes
2958_2 | █████████████████████████ | WND | 24.9966 | 2025 | 2025-12-01 | ███ | ███ | ███ | ███ | Yes | Yes | Yes
1261_1 | █████████████████████████ | SOLAR | 19.9973 | 2025 | 2025-12-31 | ███ | ███ | ███ | ███ | Yes | Yes | Yes
2892_1 | █████████████████████████ | SOLAR | 24.9966 | 2024 | 07/01/2024 | ███ | ███ | ███ | ███ | Yes | Yes | Yes
7621_2 | APPALOOSA SOLAR PROJECT LLC (100/150 MW) | SOLAR | 20 | 2024 | 2024-12-01 | 150 | 64.0009 | 7.2033 | 292304.5938 | Yes |  | Yes
8652_2 | █████████████████████████ | SOLAR | 24.9993 | 2024 | 2024-12-31 | ███ | ███ | ███ | ███ | Yes | Yes | Yes
9015_1 | █████████████████████████ | SOLAR | 20 | 2024 | 2024-12-31 | ███ | ███ | ███ | ███ | Yes |  | Yes
5438_2 | █████████████████████████ | HYDRO | 19.9973 | 2025 | 2025-03-09 | ███ | ███ | ███ | ███ | Yes | Yes | Yes
8918_DER | █████████████████████████ | DER | 30 | 2023 | 2023-01-01 | ███ | ███ | ███ | ███ | Yes | Yes | Yes
5247_DER | █████████████████████████ | DER | 30 | 2023 | 2023-01-01 | ███ | ███ | ███ | ███ | Yes | Yes | Yes
1714_DER | █████████████████████████ | DER | 30 | 2023 | 2023-01-01 | ███ | ███ | ███ | ███ | Yes | Yes | Yes
5684_1 | █████████████████████████ | BESS | 19.9973 | 2025 | 2025-12-01 | ███ | ███ | ███ | ███ | Yes |  | Yes
7508_2 | █████████████████████████ | BESS | 19.9973 | 2025 | 2025-10-31 | ███ | ███ | ███ | ███ | Yes |  | Yes
1810_3 | █████████████████████████ | PSH | 30.0014 | 2026 | 2026-12-31 | ███ | ███ | ███ | ███ | Yes
9851_3 | █████████████████████████ | BESS | 19.9973 | 2026 | 2026-10-31 | ███ | ███ | ███ | ███ | Yes
1413_2 | Haymaker Wind + BESS NWMT 230 kV | WND | 24.9993 | 2025 | 2025-12-31 | 220 | 58.8573 | 9.4117 | 812285.3125 |  |  | Yes
3971_3 | █████████████████████████ | WND | 24.9966 | 2024 | 12/01/2024 | ███ | ███ | ███ | ███ |  |  | Yes
8150_1 | █████████████████████████ | WND | 29.9986 | 2024 | 2024-12-31 | ███ | ███ | ███ | ███ |  | Yes | Yes
9696_1 | █████████████████████████ | SOLAR | 20 | 2025 | 2025-12-31 | ███ | ███ | ███ | ███ |  |  | Yes
1627_2Solar | █████████████████████████ | Hybrid/Solar | 20 | 2025 | 2025-12-01 | ███ | ███ | ███ | ███ |  |  | Yes
1627_2BESS | █████████████████████████ | Hybrid/BESS | 20 | 2025 | 2025-12-01 | ███ | ███ | ███ | ███ |  |  | Yes
7418_2 | █████████████████████████ | BESS | 19.9233 | 2025 | 2025-10-31 | ███ | ███ | ███ | ███ |  |  | Yes
9439_2 | █████████████████████████ | BESS | 19.9973 | 2024 | 07/01/2024 | ███ | ███ | ███ | ███ |  |  | Yes
9851_1 | █████████████████████████ | BESS | 19.9973 | 2024 | 2024-10-31 | ███ | ███ | ███ | ███ |  |  | Yes
1810_2 | █████████████████████████ | PSH | 30.0014 | 2026 | 2026-12-31 | ███ | ███ | ███ | ███ |  |  | Yes
Table 17
Offer ID | Project Name | Technology | Term (Years) | Begin_Year | COD | Offer Capacity (MW) | Peak Contribution 2027_08 (MW) | Peak Contribution 2027_12 (MW) | CETA Contribution 2026 | Base Case | Low Case | High Case | Conditional Firm | No Bufflehead | No Low CBI | No "High Risk" | No AE Solar | No LSR Solar | NO LSR or AE
1573_2 | VANTAGE WIND | WND | 15.0719 | 2025 | 2025-10-05 | 90 | 8.0743 | 0.61782 | 264279.5312 | Yes |  | Yes | Yes | Yes |  | Yes | Yes | Yes | Yes
2958_2 | █████████████████████████ | WND | 24.9966 | 2025 | 2025-12-01 | ███ | ███ | ███ | ███ | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
1261_1 | █████████████████████████ | SOLAR | 19.9973 | 2025 | 2025-12-31 | ███ | ███ | ███ | ███ | Yes | Yes | Yes | Yes | Yes |  |  | Yes
2892_1 | █████████████████████████ | SOLAR | 24.9966 | 2024 | 07/01/2024 | ███ | ███ | ███ | ███ | Yes | Yes | Yes | Yes | Yes |  |  |  | Yes
7621_2 | APPALOOSA SOLAR PROJECT LLC (100/150 MW) | SOLAR | 20 | 2024 | 2024-12-01 | 150 | 64.0009 | 7.2033 | 292304.5938 | Yes |  | Yes | Yes |  | Yes |  | Yes | Yes | Yes
8652_2 | █████████████████████████ | SOLAR | 24.9993 | 2024 | 2024-12-31 | ███ | ███ | ███ | ███ | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
9015_1 | █████████████████████████ | SOLAR | 20 | 2024 | 2024-12-31 | ███ | ███ | ███ | ███ | Yes |  | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
5438_2 | █████████████████████████ | HYDRO | 19.9973 | 2025 | 2025-03-09 | ███ | ███ | ███ | ███ | Yes | Yes | Yes | Yes |  |  | Yes | Yes | Yes | Yes
8918_DER | █████████████████████████ | DER | 30 | 2023 | 2023-01-01 | ███ | ███ | ███ | ███ | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
5247_DER | █████████████████████████ | DER | 30 | 2023 | 2023-01-01 | ███ | ███ | ███ | ███ | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
1714_DER | █████████████████████████ | DER | 30 | 2023 | 2023-01-01 | ███ | ███ | ███ | ███ | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
5684_1 | █████████████████████████ | BESS | 19.9973 | 2025 | 2025-12-01 | ███ | ███ | ███ | ███ | Yes |  | Yes | Yes |  | Yes | Yes | Yes | Yes | Yes
7508_2 | █████████████████████████ | BESS | 19.9973 | 2025 | 2025-10-31 | ███ | ███ | ███ | ███ | Yes |  | Yes | Yes |  |  |  | Yes | Yes | Yes
1810_3 | █████████████████████████ | PSH | 30.0014 | 2026 | 2026-12-31 | ███ | ███ | ███ | ███ | Yes |  |  | Yes |  |  | Yes | Yes | Yes | Yes
9851_3 | █████████████████████████ | BESS | 19.9973 | 2026 | 2026-10-31 | ███ | ███ | ███ | ███ | Yes |  |  | Yes | Yes | Yes | Yes | Yes | Yes | Yes
1413_2 | Haymaker Wind + BESS NWMT 230 kV | WND | 24.9993 | 2025 | 2025-12-31 | 220 | 58.8573 | 9.4117 | 812285.3125 |  |  | Yes
3971_3 | █████████████████████████ | WND | 24.9966 | 2024 | 12/01/2024 | ███ | ███ | ███ | ███ |  |  | Yes
8150_1 | █████████████████████████ | WND | 29.9986 | 2024 | 2024-12-31 | ███ | ███ | ███ | ███ |  | Yes | Yes
9696_1 | █████████████████████████ | SOLAR | 20 | 2025 | 2025-12-31 | ███ | ███ | ███ | ███ |  |  | Yes
1627_2Solar | █████████████████████████ | Hybrid/Solar | 20 | 2025 | 2025-12-01 | ███ | ███ | ███ | ███ |  |  | Yes |  | Yes |  |  | Yes | Yes
1627_2BESS | █████████████████████████ | Hybrid/BESS | Hybrid/BESS | 2025 | 2025-12-01 | ███ | ███ | ███ | ███ |  |  | Yes |  | Yes |  |  | Yes | Yes
7418_2 | █████████████████████████ | BESS | Hybrid/BESS | 2025 | 2025-10-31 | ███ | ███ | ███ | ███ |  |  | Yes |  | Yes | Yes | Yes
9439_2 | █████████████████████████ | BESS | Hybrid/BESS | 2024 | 07/01/2024 | ███ | ███ | ███ | ███ |  |  | Yes
9851_1 | █████████████████████████ | BESS | Hybrid/BESS | 2024 | 2024-10-31 | ███ | ███ | ███ | ███ |  |  | Yes
1810_2 | █████████████████████████ | PSH | Hybrid/BESS | 2026 | 2026-12-31 | ███ | ███ | ███ | ███ |  |  | Yes
2899_3 | █████████████████████████ | SOLAR | Hybrid/BESS | 2024 | 12/31/2024 | ███ | ███ | ███ | ███ |  |  |  |  | Yes |  | Yes |  | Yes
4101_2 | GREENWATER ENERGY STORAGE | BESS | Hybrid/BESS | 2025 | 2025-12-31 | 200 | 188 | 186 | [5 empty] | Yes
1261_2BESS | █████████████████████████ | Hybrid/BESS | Hybrid/BESS | 2025 | 2025-12-31 | ███ | ███ | ███ | ███ | [5 empty] | Yes
1261_2Solar | █████████████████████████ | Hybrid/Solar | Hybrid/BESS | 2025 | 2025-12-31 | ███ | ███ | ███ | ███ | [5 empty] | Yes
2725_1 | █████████████████████████ | SOLAR | Hybrid/BESS | 2025 | 2025-10-01 | ███ | ███ | ███ | ███ | [5 empty] | Yes
7621_1 | █████████████████████████ | SOLAR | Hybrid/BESS | 2024 | 2024-12-01 | ███ | ███ | ███ | ███ | [6 empty] | Yes
1627_3Solar | █████████████████████████ | Hybrid/Solar | Hybrid/BESS | 2025 | 2025-12-01 | ███ | ███ | ███ | ███ | [6 empty] | Yes |  |  | Yes
1627_3BESS | █████████████████████████ | Hybrid/BESS | Hybrid/BESS | 2025 | 2025-12-01 | ███ | ███ | ███ | ███ | [6 empty] | Yes |  |  | Yes
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Hybrid/BESS
Confidential per WAC 48
Public
Version
Confidential per WAC 48
Public
Version
Confidential per WAC 48
Public
Version

## (R) Table 15
Project ID | Name | Effective Total Capacity Price + Tx + Network Costs ($ / kW - year)
9851_3 | ███████████████████████████ | ███
9851_2 | ███████████████████████████ | ███
7508_3 | ███████████████████████████ | ███
7508_2 | ███████████████████████████ | ███
5684_1 | ███████████████████████████ | ███
9851_1 | ███████████████████████████ | ███
7871_1 | ███████████████████████████ | ███
7508_1 | ███████████████████████████ | ███
7418_3 | ███████████████████████████ | ███
9788_1 | ███████████████████████████ | ███
4101_2 | GREENWATER ENERGY STORAGE | ███
7418_2 | ███████████████████████████ | ███
8179_1 | ███████████████████████████ | ███
9136_1 | ███████████████████████████ | ███
7418_1 | ███████████████████████████ | ███
6465_3 | ███████████████████████████ | ███
4101_1 | ███████████████████████████ | ███
6465_2 | ███████████████████████████ | ███
5435_3 | ███████████████████████████ | ███
5435_2 | ███████████████████████████ | ███
3387_3 | ███████████████████████████ | ███
6465_1 | ███████████████████████████ | ███
9439_2 | ███████████████████████████ | ███
2841_1 | SPIRE STORAGE | ███
5435_1 | ███████████████████████████ | ███
3771_1 | ███████████████████████████ | ███
2889_1 | ███████████████████████████ | ███
5999_1 | ███████████████████████████ | ███
5999_2 | ███████████████████████████ | ███
1058_3 | ███████████████████████████ | ███
9831_3 | ███████████████████████████ | ███
1058_2 | ███████████████████████████ | ███
9831_2 | ███████████████████████████ | ███
1412_1 | ███████████████████████████ | ███
3387_2 | ███████████████████████████ | ███
5008_3 | ███████████████████████████ | ███
5008_2 | ███████████████████████████ | ███
4644_3 | ███████████████████████████ | ███
5008_1 | ███████████████████████████ | ███
4644_2 | ███████████████████████████ | ███
4644_1 | ███████████████████████████ | ███
9136_2 | ███████████████████████████ | ███
1412_2 | ███████████████████████████ | ███
3387_1 | ███████████████████████████ | ███
Confidential per WAC 48
Public
Version

## (R) Table 18-19
Table 18
All-Source RFP Short List
COD | Resource Type | Offer ID | Project Name | Term (Years) | Begin Year | Offer Capacity (MW) | Peak Contribution 2027_08 (MW) | Peak Contribution 2027_12 (MW) | CETA Contribution 2025 (MWh) | CETA Contribution 2026 (MWh)
2024-12-01 | SOLAR | 7621 | APPALOOSA SOLAR PROJECT LLC (100/150 MW) | 20 | 2024 | 100 | 44 | 5 | 219878 | 218773
2024-12-31 | SOLAR | 8652 | ████████████████████████████ | 25 | 2024 | ███ | ███ | ███ | ███ | ███
2024-12-31 | SOLAR | 9015 | ████████████████████████████ | 20 | 2024 | ███ | ███ | ███ | ███ | ███
2024-12-31 | SOLAR | 2899 | ████████████████████████████ | 25 | 2024 | ███ | ███ | ███ | ███ | ███
2025-03-09 | HYDRO | 5438 | ████████████████████████████ | 20 | 2025 | ███ | ███ | ███ | ███ | ███
2025-10-05 | WIND | 1573 | VANTAGE WIND | 15 | 2025 | 90 | 8 | 1 | 44745 | 264280
2025-10-31 | BESS | 7418 | ████████████████████████████ | 20 | 2025 | ███ | ███ | ███ | ███ | ███
2025-12-01 | WIND | 2958 | ████████████████████████████ | 25 | 2025 | ███ | ███ | ███ | ███ | ███
2025-12-01 | Hybrid/Solar | 1627 | ████████████████████████████ | 20 | 2025 | ███ | ███ | ███ | ███ | ███
2025-12-01 | Hybrid/BESS | 1627 | ████████████████████████████ | 20 | 2025 | ███ | ███ | ███ | ███ | ███
2025-12-01 | BESS | 5684 | ████████████████████████████ | 20 | 2025 | ███ | ███ | ███ | ███ | ███
2025-10-31 | BESS | 9851 | ████████████████████████████ | 20 | 2026 | ███ | ███ | ███ | ███ | ███
2026-10-31 | PSH | 1810 | ████████████████████████████ | 30 | 2026 | ███ | ███ | ███ | ███ | ███
|  |  |  | All-Source RFP TOTAL |  | 1859 | 1204 | 657 | 1537681 | 2802813
DER RFP Short List
2023-01-01 | DER | 8918 | ████████████████████████████ | 5 | 2023 | ███ | ███ | ███ | ███ | ███
2023-01-01 | DER | 5247 | ████████████████████████████ | 5 | 2023 | ███ | ███ | ███ | ███ | ███
2023-01-01 | DER | 1714 | ████████████████████████████ | 5 | 2023 | ███ | ███ | ███ | ███ | ███
|  |  |  | DER RFP Total |  | 157 | 137 | 93
|  |  |  | Combined Total |  | 2016 | 1341 | 750 | 1537681 | 2802813
Table 19
Proposals Offers to backup shortlist
ID | Proposal Name |  | Highlights |  |  | Purpose
4101 | Greenwater BESS |  | 200 MW BESS with NRIS interconnection at White River substation with $0 network upgrade costs. Current zoning allows for this type of facility. |  |  | Backup battery project
9696 | ████████████ |  | ████████████████████████████████████████████████████████████████████████████████████████████ ██████████████████████████████████████████████ |  |  | Backup solar project
1413 | Haymaker Wind |  | 220 MW MT wind project with executed LGIA. Attractive NCF of 42%/ Transmission path avoids Colstrip Transmission System. Ability of NorthWestern to balance resource is key question. |  |  | Backup solar project
3971/ 4091 | ████████████ |  | ████████████████████████████████████████████████████████████████████████████████████████████ ██████████████████████████████████████████████ |  |  | Backup solar project
7508 | ████████████ |  | ████████████████████████████████████████████████████████████████████████████████████████████ ██████████████████████████████████████████████ |  |  | Backup battery project
Confidential per WAC 48
Public
Version
Confidential per WAC 48
Public
Version

## (R) table 20
Resource Type | ID | Name | COD | Total Portfolio Costs WITH RFP Offer ($Billions) | Total Portfolio Costs WITHOUT RFP Offer ($Billions) | Cost/(Benefit) ($Billions) | % Change | # Times selected (out of 27) | Location
BESS | 8781_2 | ███████████████████ | 2025-08-15 | 23.3379 | 23.9292 | -0.59132 | -2.534% | 25 | ██████████████
BESS | 2889_1 | ███████████████████ | 2027-12-01 | 23.3379 | 23.66 | -0.32214 | -1.38% | 26 | ██████████████
BESS | 4644_3 | ███████████████████ | 2026-12-31 | 23.3379 | 23.4152 | -0.077309 | -0.3313% | 25 | ██████████████
BESS | 5684_3 | ███████████████████ | 2026-12-01 | 23.3379 | 23.4407 | -0.10288 | -0.4408% | 26 | ██████████████
BESS | 5999_1 | ███████████████████ | 2026-06-01 | 23.3379 | 23.2669 | 0.07098 | 0.3041% | 26 | ██████████████
BESS | 3387_3 | ███████████████████ | 2026-07-01 | 23.3379 | 23.6064 | -0.26851 | -1.151% | 26 | ██████████████
BESS | 9851_3 | ███████████████████ | 2026-10-31 | 23.3379 | 24.0749 | -0.73707 | -3.158% | 26 | ██████████████
BESS | 4101_2 | Greenwater BESS_Toll | 2025-12-31 | 23.3379 | 24.2506 | -0.91269 | -3.911% | 26 | PIERCE, WA
BESS | 2841_3 | Spire Energy Storage_200MW26 | 2026-12-01 | 23.3379 | 23.9641 | -0.62628 | -2.684% | 24 | KING, WA
BESS | 1054_1 | ███████████████████ | 2026-12-31 | 23.3379 | 24.16 | -0.82214 | -3.523% | 26 | ██████████████
Solar | 7621_2 | Appaloosa Solar (150MW) | 2025-12-31 | 23.3379 | 23.6402 | -0.30234 | -1.295% | 26 | GARFIELD, WA
Solar | 2807_1 | ███████████████████ | 2026-06-30 | 23.3379 | 23.6244 | -0.28655 | -1.228% | 16 | ██████████████
Solar | 2807_3 | ███████████████████ | 2026-06-30 | 23.3379 | 23.7086 | -0.37078 | -1.589% | 19 | ██████████████
Solar | 3345_1 | ███████████████████ | 2026-12-31 | 23.2582 | 23.3379 | -0.079652 | -0.3425% | 5 | ██████████████
Solar | 8784_1 | ███████████████████ | 2026-06-30 | 23.5858 | 23.3379 | 0.24793 | 1.051% | 6 | ██████████████
Wind | 8781_1 | Beaver Creek Wind | 2025-03-31 | 23.3379 | 24.35 | -1.0121 | -4.337% | 26 | Stillwater, MT
Wind | 1413_1 | Haymaker Wind 1 | 2027-12-31 | 23.3379 | 23.7252 | -0.38735 | -1.66% | 23 | WHEATLAND/ MEAGHER, MT
Wind | 8783_4 | ███████████████████ | 2028-06-30 | 23.3379 | 23.442 | -0.1041 | -0.4461% | 19 | ██████████████
Wind | 8785_1 | ███████████████████ | 2026-06-30 | 23.3379 | 23.5516 | -0.21379 | -0.916% | 26 | ██████████████
Hybrid/BESS | 1627_3 | ███████████████████ | 2027-12-31 | 23.3379 | 23.3167 | 0.021159 | 0.09066% | 24 | ██████████████
Hybrid/BESS | 6518_1 | ███████████████████ | 2027-06-01 | 23.3379 | 23.4545 | -0.11659 | -0.4996% | 1 | ██████████████
Hybrid/BESS | 6518_2 | ███████████████████ | 2027-12-01 | 23.34 | 23.29 | 0.05 | 0.2142% | 23 | ██████████████
Hydro | 5438_2 | ███████████████████ | 2025-03-09 | 23.3379 | 23.3637 | -0.025876 | -0.1109% | 26 | ██████████████
Biodiesel | 4929_1 | ███████████████████ | 2025-10-31 | 23.3379 | 23.94 | -0.60214 | -2.58% | 24 | ██████████████
Confidential per WAC 48
Public
Version