## DER RFP Inbox Q&As
| 2022 DER RFP Q&A through | DERRFPmailbox@pse.com
# | Question/comment to be posted on website | PSE response
1 | Good morning, I was wondering if there was an update regarding this RFI/RFP? We are interested in how the responses have been utilized. | We appreciate all proposals provided for the 2021 RFI for DERs. The proposals received for the RFI helped provide PSE with a snapshot of market offerings for DERs, which aided in drafting the 2022 DER RFP. The 2022 Draft DER RFP may be found in docket UE-210878 (https://www.utc.wa.gov/casedocket/2021/210878). More information about the DER RFP, including the schedule and upcoming meetings, can be found on PSE’s RFP website (https://www.pse.com/rfp).
2 | We submitted a response to the 2021 Distributed Energy Resources RFI in June. According to this page (https://www.pse.com/en/pages/energy-supply/acquiring-energy) PSE will be issuing an RFP for DER in early 2022. Is that still the correct timeline? | The 2022 Draft DER RFP may be found in docket UE-210878 (https://www.utc.wa.gov/casedocket/2021/210878). Pending WUTC approval, PSE will issue the final DER RFP on February 7, 2022. More information about the DER RFP, including the schedule and upcoming meetings, can be found on PSE’s RFP website (https://www.pse.com/rfp).
3 | We are a battery system manufacturer capable of deploying energy storage systems, at high volume, in the 11 kWh to 2 MWh range. I would like to better understand how manufacturers might play a role in this RFP and whether you recommend OEMs submitting an RFP bid/response – under Category A and/or B. I look forward to hearing from you. Thank you for your time and consideration. | Manufacturers are welcome to submit proposals for the DER RFP. Whether a manufacturer is better suited for a Category A or Category B proposal is dependent on its abilities and interests. Category A proposals are intended for complete turnkey resources, while Category B proposals are intended for Vendor Service Components, which in the case of a manufacturer might be equipment installation and O&M services.
4 | We received the notice about the upcoming DER RFP early next year. Per instructions, please add this email to the distribution list. Also, if you are able to answer: it says comments are accepted through December 30th of this year. Is there a desired format/protocol for submitting these comments or should they be emailed to this inbox? | Please refer to the instructions posted on November 19, 2021 under Notice - Opportunity to file Written Comment on the DER RFP docket UE-210878 (https://www.utc.wa.gov/casedocket/2021/210878/docsets), and also attached to this email.
5 | Would geothermal - battery storage fall under the use for the 2022 RFP? If so, please add us to the distribution list. | PSE prefers lithium ion technology, but will evaluate all forms of storage for feasibility and fit. A geothermal battery could be considered, dependent on the details of your proposal. However, PSE is seeking commercially proven technologies.
6 | This morning I reviewed Clean Energy Implementation Plan that PSE published recently. We make a mobile power station capable of storing & exporting a half-megawatt of power. Thought it might be worth consideration by PSE, as part of the greater solution you envision. Appreciate your consideration and also your assistance in navigating to others there with battery/energy storage responsibilities. | Thank you for your interest in PSE's Clean Energy Implementation Plan. If you would like to be further involved in PSE's renewable energy and distributed energy resource goals, we recommend that you participate in the upcoming 2022 DER RFP. The 2022 Draft DER RFP may be found in docket UE-210878 (https://www.utc.wa.gov/casedocket/2021/210878). Pending WUTC approval, PSE will issue the final DER RFP on February 7, 2022. More information about the DER RFP, including the schedule and upcoming meetings, can be found on PSE’s RFP website (https://www.pse.com/rfp).
7 | Would you be open to a quick call to touch base before the final RFP is released? Especially with the draft RFP being so open ended, I'd love to hear more about what PSE is trying to accomplish, which will help make sure the proposal you recieve hits the mark. | Thank you for your interest in PSE's 2022 DER RFP. Currently we are not meeting with potential candidates to discuss the RFP, but if you have any questions or comments please address them in docket UE-210878 (https://www.utc.wa.gov/casedocket/2021/210878). Details on how to file comments can be found under Notice - Opportunity to file Written Comment. More information about the DER RFP, including the schedule and upcoming meetings, can be found on PSE’s RFP website (https://www.pse.com/rfp).
8 | In order to avoid excluding BDR from participating in PSE’s DR solicitation, we note the following potential hurdles in the existing RFP language. First, the Draft DER RFP lists “primary objectives / minimum requirements” that require programs to “Provide real-time (≤15 seconds) resource delivered data in MW.” This requirement would disqualify BDR programs, which necessitate that the AMI data for the entire treatment population is passed from PSE to its BDR vendor. Historically this has not been possible on a real-time basis. We request that, in the final RFP, PSE clarify this particular requirement and/or the full list of requirements to specify “as applicable”, “with the exception of Behavioral DR programs”, or similar to ensure that minimum requirements are applied in alignment with specific program types and to ensure that the unique attributes of BDR programs do not disqualify this critical resource from being deployed. Finally, the Draft DER RFP indicates that PSE anticipates selecting a short list in Q3 2022, with delivery starting in 2023. We would like to flag that if PSE expects resources to be available for dispatch in January 2023, the timeline should assume and allow for ~4 months for launch following contract execution. | Thank you for your input regarding BDR capabilities. We will look into the possibility of adding allowances for the timeframe required for providing data for BDR programs. Operational expectations for programs will be negotiated during the contracting phase, but PSE is not expecting complete operational performance at the start of 2023.
9 | If you’re not out of the office for the holiday, would you happen to have any days/times this week for us to hop on a quick call? Your time and consideration are very much appreciated. I look forward to hearing from you and to our discussion. | Thank you for your interest in PSE's 2022 DER RFP. Currently we are not meeting with potential candidates to discuss the RFP, but if you have any questions or comments please address them in docket UE-210878 (https://www.utc.wa.gov/casedocket/2021/210878). Details on how to file comments can be found under Notice - Opportunity to file Written Comment. More information about the DER RFP, including the schedule and upcoming meetings, can be found on PSE’s RFP website (https://www.pse.com/rfp).
10 | I am reaching out to request the service address for this RFP. What will be the official address of the project. | There is no mailing address for delivery of proposals for this RFP. Proposals will be accepted through an intake portal, which will come live in mid-February. More information about the DER RFP, including the schedule and upcoming meetings, can be found on PSE’s RFP website (https://www.pse.com/rfp).
11 | I respect that there is only a small window of time before the RFP drops and hope that we can get a brief 30-45 minute meeting on our mutual calendars at your earliest convenience. Thank you in advance for your timely response. We look forward to hearing from you. | Thank you for your interest in PSE's 2022 DER RFP. Currently we are not meeting with potential candidates to discuss the RFP, but if you want to stay up to date on the regulatory approval process you can find the most recent filings in docket UE-210878 (https://www.utc.wa.gov/casedocket/2021/210878). More information about the DER RFP, including the schedule and upcoming meetings, can be found on PSE’s RFP website (https://www.pse.com/rfp).
12 | We would be interested in supporting and/or partnering with others to provide workforce and contractor development related to providing DER programs. Our efforts are focused on providing opportunities for BIPOC and low income communities. Additionally, we would be interested in supporting efforts to be sure that the impacts of the DER program are equitable and reach all communities within the PSE service area. | If your organization is interested in providing any support or services to other bidders, please provide the additional information below. PSE intends to compile and publicly post a contact list on the DER RFP website that would be available to potential bidders to use if they so choose. Organization Name: Email address: Phone: Short description of available services (e.g., customer enrollment, equipment installation, etc… and explanation of services): Is your company/organization a small, minority, women and veteran owned business enterprise? If so what organization are you certified under (e.g., Washington State Office of Minority & Women’s Business Enterprises, Washington State Department of Veterans Affairs, etc…)?: By providing this information you agree to its incorporation into a contact list and you further agree that it will be publicly posted on PSE’s DER RFP website. Being added to the contact list does not mean you are a participating bidder or that any information provided will be evaluated by PSE for the DER RFP. The inclusion of the information you provide does not guarantee that any potential bidders will contact you as a result of its inclusion, and PSE does not guarantee the accuracy of any posted information, nor is PSE responsible for updating any such information. PSE also may choose at any time to remove the list or any information on it for any reason. We intend to provide your information publicly on our DER RFP website so that potential bidders can, at their discretion, contact you directly for use in their proposals.
13 | We are interested | If your organization is interested in providing any support or services to other bidders, please provide the additional information below. PSE intends to compile and publicly post a contact list on the DER RFP website that would be available to potential bidders to use if they so choose. Organization Name: Email address: Phone: Short description of available services (e.g., customer enrollment, equipment installation, etc… and explanation of services): Is your company/organization a small, minority, women and veteran owned business enterprise? If so what organization are you certified under (e.g., Washington State Office of Minority & Women’s Business Enterprises, Washington State Department of Veterans Affairs, etc…)?: By providing this information you agree to its incorporation into a contact list and you further agree that it will be publicly posted on PSE’s DER RFP website. Being added to the contact list does not mean you are a participating bidder or that any information provided will be evaluated by PSE for the DER RFP. The inclusion of the information you provide does not guarantee that any potential bidders will contact you as a result of its inclusion, and PSE does not guarantee the accuracy of any posted information, nor is PSE responsible for updating any such information. PSE also may choose at any time to remove the list or any information on it for any reason. We intend to provide your information publicly on our DER RFP website so that potential bidders can, at their discretion, contact you directly for use in their proposals.
14 | We received the below email. can you please advise if this is a request a lighting RFP? | Demand Response projects that are lighting based will be accepted. Please review the DER RFP and additional information provided on PSE’s RFP website (https://www.pse.com/rfp). If your project meets the requirements of the DER RFP it will be processed and evaluated.
15 | We are interested in supporting or providing services to other bidders. Could you please add us to the contact list for RFP bidders? Please let us know what company information you need. | If your organization is interested in providing any support or services to other bidders, please provide the additional information below. PSE intends to compile and publicly post a contact list on the DER RFP website that would be available to potential bidders to use if they so choose. Organization Name: Email address: Phone: Short description of available services (e.g., customer enrollment, equipment installation, etc… and explanation of services): Is your company/organization a small, minority, women and veteran owned business enterprise? If so what organization are you certified under (e.g., Washington State Office of Minority & Women’s Business Enterprises, Washington State Department of Veterans Affairs, etc…)?: By providing this information you agree to its incorporation into a contact list and you further agree that it will be publicly posted on PSE’s DER RFP website. Being added to the contact list does not mean you are a participating bidder or that any information provided will be evaluated by PSE for the DER RFP. The inclusion of the information you provide does not guarantee that any potential bidders will contact you as a result of its inclusion, and PSE does not guarantee the accuracy of any posted information, nor is PSE responsible for updating any such information. PSE also may choose at any time to remove the list or any information on it for any reason. We intend to provide your information publicly on our DER RFP website so that potential bidders can, at their discretion, contact you directly for use in their proposals.
16 | Hello I would like to receive bidder information and updates for the 2022 DER RFP. I have been a developer of distributed renewable resources and have been on hold since Schedule 91 prices dropped so severely. I am interested to see if any of my stalled projects would be a good fit. | Please review the DER RFP and additional information provided on PSE’s RFP website (https://www.pse.com/rfp). If your project meets the requirements of the DER RFP it will be processed and evaluated.
17 | The recently released DER RFP references Virtual Power Plant (VPP) software that would be integral to the program. Does PSE anticipate releasing an RFP for a provider for this VPP software, or is it something that PSE is developing in-house? If an RFP will be released, do you have an anticipated release date and where would we find the RFP? | PSE has an existing VPP vendor that will be utilized.
18 | 1. We would like to confirm that BTM solar+battery resources can be bid under the “BESS” product category, rather than “DR”. We believe this accords with UTC guidance, but thought best to confirm. 2. Assuming BESS is the relevant product category, for a portfolio made up of aggregated distributed Net Energy Metering-interconnected BTM solar+storage projects, would it make most sense to bid as “BESS only” or “Hybrid Solar+BESS” under “Resource Type” in Tab 3 of Exhibit B? 3. If a bidder selects “Hybrid Solar+BESS” for a portfolio of BTM NEM projects, would PSE prefer that the bidder include an Energy Price (per tab 2b of Exhibit B), or just a Capacity Price? If PSE is open to considering an Energy Price, should this be based on the discharge from the batteries only, or could this include the gross solar production as well (i.e., even if the solar kWh are being sold to individual end-use customers under NEM)? 4. Assuming PSE prefers not to pay an energy price for solar production associated with a BTM NEM solar+storage portfolio, are tabs 5a and 5b in Exhibit B still requested? 5. Regarding solar projects, RFP guidance indicates that bidders are to avoid interconnecting additional solar capacity in Kittitas County if possible. Can PSE please clarify if this restriction applies to distributed, NEM solar as well? If so, is there an aggregate MW solar capacity limit below which such restrictions would not apply? 6. If a bidder is proposing to sell both Capacity and Energy to PSE, is it accurate to assume that both Exhibit G and Exhibit H should be included as part of the bidder’s submittal? 7. Is it PSE’s intention that bidders populate bracketed terms in each relevant Prototype Term Sheet, for submittal as part of their bids? If so, what if there are items in a Term Sheet that a bidder would like to clarify or discuss further with PSE? Is it accurate to assume that this may be done as part of contract negotiations, once bids are shortlisted? In other words, there is no obligation for bidders to identify such items as part of their population of the term sheet for purposes of bid submittal, correct? 8. Is it accurate to assume that Development and Construction terms (i.e., tab 7 of Exhibit B) would not apply to a BTM NEM solar+storage portfolio? 9. For pricing a Capacity product, is it accurate to assume that PSE would prefer this based on aggregate nameplate installed BESS capacity (i.e., irrespective of anticipated discharge duration during each dispatch event)? 10. To align with CEIP requirements, PSE is looking for resources to be online no later than Dec 31, 2025. Does this mean all resources brought online before Dec 31, 2025 will be viewed/evaluated equally (i.e., no penalty or reduced value assigned to resources that deliver by Dec 31, 2025)? Or will PSE view resources that come online before Dec 31, 2025 more favorably? Is it possible for bidders to submit proposals that have partial resource delivery in 2023 or 2024 and full delivery in 2025 – or would such proposals be viewed less favorably than resources with a single COD? 11. Is it accurate to assume that Exhibit P (Customer Consent Letter) will not be required for customers participating in an aggregated BTM NEM solar+storage portfolio? Given that such customers have not yet been acquired, we assume this is the case, but would like to confirm. 12. Would PSE be open to licensing a separate Software-as-a-Service product that could be used by PSE to manage a bidder’s aggregated assets in parallel to the PSE VPP, as opposed to directly integrating with an aggregator’s assets at the PSE VPP / aggregator platform level? For distributed resource portfolios managed by an aggregator that will communicate directly with PSE’s VPP, will a SOC2 audit be required? 13. When will provision of Performance Assurance be required, and what format for such assurance would PSE prefer? | 1. BTM solar+battery resources can be bid under the BESS product category. 2. For a portfolio made up of aggregated distributed Net Energy Metering-interconnected BTM solar+storage projects, please label your project as “Hybrid Solar+BESS” under “Resource Type” in Tab 3 of Exhibit B. 3. For the situation you have described, Capacity Pricing should just be provided. 4. Tabs 5a. and 5b. are not required for the situation you have described. 5. PSE is not currently restricting NEM solar in Kittitas County. PSE continually evaluates the grid’s ability to interconnect additional NEM as new loads and resources come online, and will keep bidders informed of any changes. 6. Completing just Exhibit G is fine. 7. Bidders should populate bracketed terms in relevant Prototype Term Sheets. Any additional items in the Term Sheets that the bidder would like to clarify or edit, please add any redlines or comments to the appropriate sections. PSE will hold contract negotiations with bidders after the final shortlist is established, during which the complete contracts will be reviewed and negotiated. The Term Sheets are just a precursor to complete contract negotiations, but please include any items already identified by the bidder as an issue. 8. For a BTM NEM solar+storage project, not all the elements of Tab 7 in Exhibit B are necessary to fill out and feel free to disregard those that are not applicable, but if your project might still require a labor plan, utilize apprenticeship, etc… please include these details in your proposal. 9. Yes, PSE would like the capacity price based on BESS AC nameplate. 10. There is no direct scoring which favors an earlier COD, but in the financial modeling of the BCA or Aurora, projects with an earlier COD could potentially be of more value. PSE has no preference between projects that have partial resource delivery as the project ramps up and those that have a single COD date. PSE expects aggregated projects to require a ramp up for full project delivery. 11. PSE will not need Exhibit P filled out for projects that have yet to acquire customers, but executed consent forms will be required for applicable projects once interconnection information is submitted. 12. PSE requires that a bidder’s aggregated assets directly integrate with PSE’s VPP. Any SaaS product and VPP vendor technology platform for managing distributed energy resources, which host an application to help PSE’s VPP to function and pull in appropriate resources, must undergo a SOC2 Type 2 audit. 13. If this question is regarding the Credit Support provision in the Prototype Term Sheets, the security or assurance provided by Seller to Buyer will not be required till after contract execution. Negotiations for agreements will not begin till Q4 of 2022 with contract execution happening at the end of the year or Q1 2023.
18
19 | 1. Do we need to be a DBE or a small firm in order to respond to RFP Category B? 2. Does PSE intend to pair winners in category B with winners in category A at its own discretion? 3. Does PSE intend to pair winners in category B with other winners in category B under a single program? 4. Is Category B service-based regardless of measure (e.g. solar, DR)? 5. Can a single proposal be submitted for a matrix of support services and different resources/programs (e.g. solar, solar and storage, demand response) under category B? 6. Does PSE expect the bidders to bring their own call center service/resource for each program or utilize the PSE call center? | 1. PSE’s intent for Category B was to provide an option for small businesses and organizations without the capabilities of bidding Category A, but there are no limitations on who can bid into Category B. 2. After the end of Phase 1 when Category B bids begin Value Fit program development, either PSE resources or other Category A and B proposals will be combined with Category B proposals for complete Value Fit programs. In all cases, PSE will approach all the relevant parties to explain the intended Value Fit program development. In the case of combining Category A and B bids, PSE will seek out the consent of both parties before beginning program development due to the potential overlap services. 3. After the end of Phase 1 when Category B bids begin Value Fit program development, either PSE resources or other Category A and B proposals will be combined with Category B proposals for complete Value Fit programs. In all cases, PSE will approach all the relevant parties to explain the intended Value Fit program development. In the case of combining Category A and B bids, PSE will seek out the consent of both parties before beginning program development due to the potential overlap services. 4. Category B is a service proposal, but can vary based on the resource type (e.g., solar, DR, etc…) being provided. 5. A separate proposal must be submitted for each different resource type (e.g., solar, DR, etc…) or service (e.g., enrollment, installation, etc…) being provided by the bidder. A matrix of support services/resources cannot be provided in one proposal to cover multiple proposals. 6. Depending on the proposal, the bidder can either provide their own call center support or rely on PSE’s resources. Please be explicit in your proposal of the complete services that will be provided or are required.
20 | Is PSE open to extending the SOC2 certification date to Q1 2023, when the DR/DER programs will go live? Also, does a SOC2 certification on behalf of a SaaS vendor's web services provider meet this requirement, or does the SaaS vendor's platform also need to be SOC2 certified? | PSE is not open to extending the SOC2 certification date to Q1 2023. Vendors who are in the process of a SOC2 audit will be considered if a letter is provided from their auditor stating they are in a SOC2 audit and have an estimated completion date on or before July 1, 2022. The cloud application and platform must both be SOC2 certified.
21 | Have you finalized the Respondents’ conference data and dial/login information? | You are invited to a bidders’ conference hosted by PSE to present the 2022 Distributed Energy Resources Request for Proposals and answer questions from participants. The conference will be held on Zoom. When: Feb 28, 2022 10:00 AM Pacific Time (US and Canada) Topic: PSE 2022 DER RFP Bidders' Conference This bidders' conference will: - Communicate the drivers and goals of PSE's DER RFP - Review resource needs and requested vendor services - Review the evaluation process - Demonstrate bid submission process - Address questions from prospective bidders Register in advance for this webinar: https://us06web.zoom.us/webinar/register/WN_owiyG5CURGyu9Ar2GAnz1A After registering, you will receive a confirmation email containing information about joining the webinar.
22 | Assuming PSE prefers that a bidder include an energy price in a “Hyrbid Solar+BESS” bid for a portfolio of BTM NEM projects, would PSE prefer that the bidder fill out Tab 3a in Exhibit B? Assuming PSE prefers not to pay an energy price for solar production associated with a BTM NEM solar+storage portfolio, are tabs 3a, 5a and 5b in Exhibit B still requested? I appreciate your help. | For a “Hybrid Solar+BESS” BTM NEM project, energy pricing is not required. However, PSE would still appreciate the added information provided in Tab 3a. Filling out Tab 5a and 5b are not necessary.
23 | Could you provide more detail on the PSE VPP platform (VTN) that aggregators would be integrating to – vendor, product name, communication protocols supported, etc? | PSE will not be able to share details about the VPP platform and vendor without an executed Mutual Confidentiality Agreement. Bidders who submit a proposal with Exhibit D executed will be interviewed at some point during the evaluation process to discuss VPP details and better align expectations.
24 | Could you please supply, or point me to where I could find, a list of zip codes in the PSE service territory? | A list of zip codes can be found on PSE’s RFP website (https://www.pse.com/rfp) under the 2022 Targeted DER RFP section in the Updates and Notifications tab under Reference Material. PSE's Electric and Dual Fuel Service Area zip codes is attached.
25 | 1. Do we need to be a local firm in order to respond to RFP Category B? 2. In Exhibit C Table 1 Company Profile, would you like us to provide projected revenue for 2022 (not 2021) and begin the historical revenue year at 2019 (not 2018)? | 1. PSE’s intent for Category B was to provide an option for small businesses and organizations without the capabilities of bidding Category A, but there are no limitations on who can bid into Category B. 2. Yes, the 2021 date is an error. Please provide projected revenue for 2022 and begin with historical sales from 2019.
26 | If a bidder were to propose an end-to-end solution designed for and confined to one specific market segment, would this be more appropriately a Category A or B proposal? | Category A is for proposals that are complete turnkey resources, providing all the elements (program design, customer outreach, EPC, O&M and program admin.) needed for a complete program. Category B is for proposals that are just providing one element of a complete program. If your proposal can stand on its own, then it is a Category A project.
27 | • Is there a time deadline on the 21st for submission? • Is connecting to the VPP a requirement for Behavioral Demand Response? • Can you confirm which pricing sections are P4P in Exhibit B tab 3c. DR, Start-up, Administration, Marketing, and Customer incentive? • Can PSE share any more detail about the EIM performance requirements that resources may need to meet? • Can PSE share any available current values for the cost-effectiveness benefits for DR resources from Appendix J (in addition to just the categories)? | • Is there a time deadline on the 21st for submission? o 11:59 PM (PST) March 21st, 2022. • Is connecting to the VPP a requirement for Behavioral Demand Response? o This depends on the program being provided and if it is dispatchable. Residential BDR is likely not dispatchable, as it requires messaging over time, more load shifting. However, a curtailment rate for C&I customers could be dispatchable and potentially tied into the VPP. • Can you confirm which pricing sections are P4P in Exhibit B tab 3c. DR, Start-up, Administration, Marketing, and Customer incentive? o While we utilize the pricing information of start-up, administration, marketing costs, etc… for modeling purposes, the bidders will be compensated with monthly capacity payments and potentially monthly energy payments. The pay for performance aspect is coming from the Winter Capacity Event and Additional Pricing Element options. • Can PSE share any more detail about the EIM performance requirements that resources may need to meet? o This is a secondary objective for PSE. We have not fully developed our expectations for bidding into the EIM and currently do not have EIM performance requirements that resources need to meet. • Can PSE share any available current values for the cost-effectiveness benefits for DR resources from Appendix J (in addition to just the categories)? o Any cost-effectiveness benefits that can be shared are located in the 2021 IRP. No further information than what is provided there can be shared.
28 | For vendors who submit a service bundle under Category B (e.g. program design, equipment O&M, and program administration), would PSE select that vendor and then break up the bundle, contract with that vendor for only one of the services (e.g. only equipment O&M) and then pair them with another selected vendor in Category A or Category B under a different program? | Category A is for bidders that are providing a service bundle, which would amount to a turnkey resource. A vendor will need to submit a unique proposal for each Category B service they are providing. When evaluating Category B offers for Value Fit program development, it is up to PSE’s discretion on how it will combine Category B with other resources, but the bidder will be notified of PSE’s intentions.
29 | Thank you for the information. Could you let us know how we can be added to your distribution list for RFPs like the one you used to select your VPP provider, or alternately where they are posted publicly so we can monitor them. | There is no distribution list for all RFPs. However, your information has be added to the DER RFP distribution list as well as a general list, which is utilized for future RFP notifications.
30 | We are aware that there is a bidders conference today. Would you be able to share more details about it here? I could not find any information listed online. | Sorry the Bidders' Conference information was not readily available. All upcoming events can be found on PSE’s RFP website (https://www.pse.com/rfp) and the Bidders' Conference specific info is posted on tab "2022 DER RFP Bidders' Conference". Your information and your colleague's has been added to the DER RFP distribution list, so you will get future notifications directly. In a few days a recording of the conference as well as additional deliverables will be uploaded to the RFP website.
31 | If the proposer already has an MSA in place with PSE (signed in 2018 and valid thru 2023), would that suffice for requirement that "all respondents must submit Exhibit I: Master Services Agreement with a statement of acceptance or must identify area(s) for discussion with suggested language modifications." In other words, is the proposer expected to submit a new MSA if one is already in place? | Please provide your existing MSA instead of an updated one.
32 | Would PSE consider extending the due date of the 2022 DER RFP response to March 28, 2022? | PSE will not be extending the due date of the 2022 DER RFP.
33
34 | Are you not going to consider applications that need payed more for energy or capacity than listed in Schedule E? West side wind energy resources have a higher capacity than listed in Schedule E by about three fold as remonstrated by the output of the Greys Harbor project, A study commissioned by OPALCO, and local wind data. Will you give increased capacity payments for west side wind projects that provide more Capacity? With the exception of capacity Schedule E is not really any better than Schedule 91. Assuming the answer to my first question is no: Why would someone want to go through the RFP process instead of utilizing Schedule 91? How can you really say that you expect to gain distributed generation if you are already offering the same prices? | • Are you not going to consider applications that need payed more for energy or capacity than listed in Schedule E? o We will evaluate all proposals provided, no matter the cost of the resource. Qualitative aspects of proposals are weighted as well and additional details are provided in Exhibit A. • West side wind energy resources have a higher capacity than listed in Schedule E by about three fold as remonstrated by the output of the Greys Harbor project, A study commissioned by OPALCO, and local wind data. Will you give increased capacity payments for west side wind projects that provide more Capacity? o The pricing provided in Exhibit E is only for informational purposes and does not represent the actual pricing a bidder will receive. The DER RFP process allows bidders to state their own pricing for the resource they’re providing. PSE will evaluate all the bids provided as described in Exhibit A to select a short-list of proposals that provide the greatest value. • With the exception of capacity Schedule E is not really any better than Schedule 91. Assuming the answer to my first question is no: Why would someone want to go through the RFP process instead of utilizing Schedule 91? How can you really say that you expect to gain distributed generation if you are already offering the same prices? o The DER RFP process allows bidders to state their own pricing for the resource they’re providing. PSE will evaluate all the bids provided as described in Exhibit A to select a short-list of proposals that provide the greatest value.
35 | Trying to ensure we are applying under the correct pathways If we are applying for: Supporting Solar, DR and BESS Resources under one Category B response, providing Program Design, Outreach and Program Admin Service Components targeting only the Multifamily Market; is this 1) Valid 2) Only Valid if we go under One resource; IE Category B Supporting DR Resources providing Program Design, Outreach and Program Admin Service Components to the Multifamily Market 3) Only Valid if we submit Per Resource and per Service Component under Category B; IE 1 Proposal for) Category B Supporting DR Resources providing Program Design Service Component 1 Proposal for) Category B Supporting DR Resources providing Outreach Service Component and 1 Proposal) Program Admin Service Component ; all to the Multifamily Market 4) Only Valid if we submit one proposal Supporting all Resources Per Service Component under Category B; IE 1 Proposal for) Category B Supporting DR/BESS/Solar Resources providing Program Design Service Component 1 Proposal for) Category B Supporting DR/BESS/Solar Resources providing Outreach Service Component and 1 Proposal) Category B Supporting DR/BESS/Solar Resources providing Program Admin Service Component ; all to the Multifamily Market 5) Not Valid in any of the above scenarios. | Your choice 3 is correct. A separate proposal must be submitted for each different resource type (e.g., solar, DR, etc…) or service (e.g., enrollment, installation, etc…) being provided.
36 | 1. Our legal team reviewed the Exhibit D: Mutual Confidentiality Agreement and had one comment/redline. The updated document is attached here. Is PSE willing to accept this edit and sign? We would need a fully executed NDA to share some of the financial information requested. 2. Concerning the recently released bidder conference Q&A, question 11 asks for access to PSE's customer list to assist with marketing. PSE responded you will not be sharing any customer information with bidders. Can you please advise if you meant you will not share customer information at this bidding stage, or if we can expect to receive customer information (e.g., emails) after contract execution to assist with marketing efforts? | Your changes to the MCA are acceptable and a PDF version has been provided for your signature. Please sign first and send the agreement back for our signature. Regarding customer information, we will not be providing any info to bidders even post MCA or contract execution.
37 | Will you accept a DR cloud based proposal that utilizes a subcontractor that is not currently SOCII compliant, but they are in the process and plan to be by mid-2023? We are considering submitting a secondary DR response with a partner that provides a cloud based solution for direct control of smart thermostats during demand response events. However, their SOCII audit will not be complete until mid-2023. | If the subcontractor is providing a cloud based service, they will have to be SOC2 compliant by July 1, 2022 at the latest.
38 | My team at is currently developing a response to this RFP. However, we have noticed that while a copy of the MSA has been provided by PSE, there are no instructions on how you wish us to address the MSA. Could you please provide guidance on what you are looking for re: the MSA? | The MSA is provided as an example of what kind of contract could be negotiated depending on the proposal given. PSE requests that every bidder review and provide redlines to the MSA. The final negotiated contract could be done under a different agreement, but similar terms may apply.
39 | Would be so kind to address the following: - Is there a category wherein you are considering systems to control and monitor DERs, including prediction of DER output? - is there a need in this rfp for a energy management software to optimize the DERs? is there a requirement to predict solar and DR? | - Is there a category wherein you are considering systems to control and monitor DERs, including prediction of DER output? Figure 2. Types of Control For Acquired DERs in the main body of the RFP breaks out the control and monitoring systems per resource type and size. The three operational configurations are 1) VPP, 2) SCADA, 3) no visibility or control needed. The VPP will have a resource forecasting function. - is there a need in this rfp for a energy management software to optimize the DERs? is there a requirement to predict solar and DR? If the software is used internally by the respondent to meet capacity requests, then software is necessary. Forecasting is also necessary internally to the respondent to meet capacity requests from PSE. Energy management software will not be used to manage other DERs. PSE's VPP will overall act as a DER operational solution.
40 | One of our questions relates to " Per attached, the DER RFP seeks bids to collectively supply a minimum of 129 MW of DERs by 2025 & 522 MW of DERS by 2031. " Is there a minimum number of MW where you wouldn't accept us proposing a solution? | There is no minimum MW threshold for a proposal. You can bid into the DER RFP with any amount.
41 | Can you please confirm which elements of "Exhibit G. Prototype Capacity and/or Energy Agreement Term Sheet" are applicable for a demand response bid? Several terms have footnotes of "To be included if the Facility is under development" and I'd like to confirm whether the recruitment of participant resources for a DR program is considered "development". 1. Would a DR project be subject to liquidated damages if unable to achieve the planned capacity 2. Would a DR project be expected to provide a letter of credit at $125,000 per MW? | Bidders should populate bracketed terms in relevant Prototype Term Sheets. Any additional items in the Term Sheets that the bidder would like to clarify or edit, please add any redlines or comments to the appropriate sections. Many of the development provisions in the agreement are more applicable to FTM construction projects, so comment or edit provisions that are more applicable to your project. PSE will hold contract negotiations with bidders after the final shortlist is established, during which the complete contracts will be reviewed and negotiated. The Term Sheets are just a precursor to complete contract negotiations, but please include any items already identified by the bidder as an issue. 1. Would a DR project be subject to liquidated damages if unable to achieve the planned capacity A DR project will not be subject to liquated damages if unable to achieve the planned capacity. 2. Would a DR project be expected to provide a letter of credit at $125,000 per MW? The LOC value provided in the contracts is a placeholder and a more appropriate value will be determined during negotiations.
42 | Is there a list of companies who have expressed an interest in submitting a response? The reason I ask is that we would like to partner with a prime contractor with the goal of including our ai based optimization and prediction energy management software as part of their larger bid. | PSE will not be providing a list of companies who will be potentially responding to the RFP. However, if you are interested in being put on a list for bidders to reach out to regarding sub-contracting purposes, please provide the additional information below. PSE intends to compile and publicly post a contact list on the DER RFP website that would be available to potential bidders to use if they so choose. Organization Name: Email address: Phone: Short description of available services (e.g., customer enrollment, equipment installation, etc… and explanation of services): Is your company/organization a small, minority, women and veteran owned business enterprise? If so what organization are you certified under (e.g., Washington State Office of Minority & Women’s Business Enterprises, Washington State Department of Veterans Affairs, etc…)?: By providing this information you agree to its incorporation into a contact list and you further agree that it will be publicly posted on PSE’s DER RFP website. Being added to the contact list does not mean you are a participating bidder or that any information provided will be evaluated by PSE for the DER RFP. The inclusion of the information you provide does not guarantee that any potential bidders will contact you as a result of its inclusion, and PSE does not guarantee the accuracy of any posted information, nor is PSE responsible for updating any such information. PSE also may choose at any time to remove the list or any information on it for any reason. We intend to provide your information publicly on our DER RFP website so that potential bidders can, at their discretion, contact you directly for use in their proposals.
43 | We just wanted to confirm that we are not required to submit a Master Services Agreement (MSA) as part of our bid proposal. Looking over the RFP, there appears to be some potentially conflicting guidance. Table 12 appears to indicate that we need to submit an MSA, while Table 13 makes no mention of an MSA as part of bid submittal. Based on our experience, reviewing/signing an MSA is done later in the process (not at proposal submittal), but we wanted to be 100% sure that it was not required based on the above. | It is required that bidders review, redline the MSA if necessary and submit that in their package. PSE will hold contract negotiations with bidders after the final shortlist is established, during which the complete contracts will be reviewed and negotiated. This initial MSA review is just to provide bidders with the potential terms they should expect. However, actual contract negotiation and execution will follow later on.
44 | We are struggling to understand the requested pricing model for Demand Response bids. Specifically, on tab "3c. DR" of Exhibit B, there are several different pricing formats requested and we're not clear how they add up nor how they conform to standard capacity pricing. 1. Pricing for Winter Capacity Events - this section requests price in $$/kw-event: it is unusual to price capacity services per event, as typically there is a $$/kw-year price that covers the fixed costs of these programs, including annual customer incentives, regardless of how often they are dispatched. To price as $$/kw-event means that we could invest to recruit and aggregate thousands of customers but would then get paid nothing if PSE does not dispatch the resource. This is more of a payment for energy produced than for capacity. Can we assume a certain minimum number of events called per year? 2. Total Costs: Is this supposed to be based on #1 above multiplied by an assumed number of events each year? Plus any $$/kwh pricing with an assumption on length of each event? 3. Estimated Breakdown of Program Costs by Category: are these costs intended to be in addition to the Total Costs above? Or should these costs all add up to the same Total Costs number above? 4. Customer Incentives Payments For Winter Peak Events (in $$/kw-event): structuring customer incentives on a per-event basis would be a departure from standard DR program incentive models, and as mentioned above, could result in customers investing their time and effort to join a DR aggregation but earning nothing if no events are called. We need a minimum customer incentive per year to entice customers to join. Can we assume a certain minimum number of events called per year? | 1. Pricing for Winter Capacity Events - this section requests price in $$/kw-event: it is unusual to price capacity services per event, as typically there is a $$/kw-year price that covers the fixed costs of these programs, including annual customer incentives, regardless of how often they are dispatched. To price as $$/kw-event means that we could invest to recruit and aggregate thousands of customers but would then get paid nothing if PSE does not dispatch the resource. This is more of a payment for energy produced than for capacity. Can we assume a certain minimum number of events called per year? Sorry for the initial confusion regarding the Winter Capacity pricing. An updated version of Exhibit B was uploaded to PSE’s RFP website (https://www.pse.com/rfp) correcting that issue, attached is the latest version. 2. Total Costs: Is this supposed to be based on #1 above multiplied by an assumed number of events each year? Plus any $$/kwh pricing with an assumption on length of each event? Total costs are the summation of Winter Capacity Events and the Additional Pricing Element, adjusted for units. 3. Estimated Breakdown of Program Costs by Category: are these costs intended to be in addition to the Total Costs above? Or should these costs all add up to the same Total Costs number above? The Estimated Breakdown of Program Costs by Category is meant to be a detailed breakout of costs for modeling purposes that would sum up to the Total Costs as well. We request that bidders provide a pricing breakout to the best of their ability, but proposals will still be evaluated even if the Estimated Breakdown of Program Costs by Category is not filled out. 4. Customer Incentives Payments For Winter Peak Events (in $$/kw-event): structuring customer incentives on a per-event basis would be a departure from standard DR program incentive models, and as mentioned above, could result in customers investing their time and effort to join a DR aggregation but earning nothing if no events are called. We need a minimum customer incentive per year to entice customers to join. Can we assume a certain minimum number of events called per year? If providing a pricing breakout on an event basis is not feasible, submitting Winter Capacity Events and the Additional Pricing Element pricing will suffice for modeling purposes.
45 | We currently have an existing NDA in place with Puget Sound Energy. Would it be possible to work under this existing agreement, as opposed to enacting the NDA included in the RFP? | Does the NDA have the exact same provisions as the Exhibit D MCA and what is the term length? Please provide a copy.
46 | Would PSE be willing to extend the submission due date to March 31st? | PSE will not be extending the due date of the 2022 DER RFP.
47 | I accessed your LinkedIn profile and I feel it's nice if we communicate via personal email, I have a good business opportunity to discuss with you that will be of great benefits to both of us as great business partners this year 2022. I anticipate an acknowledgment to this email which will prompt me to send the summary of the proposal. | All communications with bidders will be done through the DER mailbox (DERRFPmailbox@pse.com) or public postings on the RFP website (https://www.pse.com/rfp). Please feel free to submit your proposal via the intake portal (https://rfp.pse.com/).
48 | We currently have a Services Agreement in place that governs confidentiality. We are requesting that this agreement be utilized in lieu of exhibit D as the terms are largely redundant. Please let us know if this is acceptable. | Can you please provide the existing agreement? The terms need to be essentially the exact same and also cover the length of the evaluation period.
49 | Are dispatchable resources that are located on military bases in your territory eligible to provide Demand Response services under this procurement? | Thank you for your interest in the DER RFP! Any Demand Response resource located on a customer premise interconnected to PSE’s distribution or transmission system is eligible for the DER RFP (see page 9 of the RFP). Please note that several of the large military bases in the Puget Sound area do not receive electricity from PSE, and are therefore ineligible.
50 | Question 1: On page 26 of the RFP, it states: “Respondents are required to provide firm pricing for a five-year contract term as indicated in this pricing section. Respondents can submit alternate pricing proposals for a longer contract term if they choose to in addition to the required pricing for a five-year contract term for providing DR.” Question: Please confirm that if respondents propose a longer contract term, respondents are required to submit a separate Exhibit B reflecting the alternative contract term proposal. Question 2: On page 26 of the RFP, it states: “Pricing for Winter Capacity Events ($/kW-event): Respondents are required to provide an all-inclusive $/kW-event capacity charge for achieving winter peak demand reduction in fulfillment of PSE’s primary objectives and the corresponding annual MWs for winter peak demand curtailment for each year of the contract period. Separately, Respondents must indicate the normalized customer incentive charges ($/kW-event), which is included in the capacity charges. This needs to be specified for every year over a five-year contract duration. Pricing for Delivered Energy ($/MWh): Respondents can provide an optional energy charge ($/MWh) associated with achieving the winter peak demand reductions for the actual energy reduced during winter DR events.” Question A: Please confirm that if respondents propose an alternative energy charge in addition to the required all-inclusive $/kW-event capacity charge, respondents may propose either i) a combined capacity ($/kW-event) capacity charge plus a delivered energy charge, or ii) solely a delivered energy charge ($/MWh). Question B: Please confirm that if respondents propose an alternative energy charge in addition to the required all-inclusive $/kW-event capacity charge, respondents are required to submit a separate Exhibit B reflecting the optional energy charge ($/MWh) proposal. Question 3: Regarding line item 6.02 and 6.03 in Tab 4 "Proposal Requirements" of Exhibit B, can you further expand on the meaning of these requests and explain to which DER types these are applicable? Question 4: Regarding line items 5.02 in Tab 4 "Proposal Requirements" of Exhibit B, can you provide further clarification or a use case? | Question 1: On page 26 of the RFP, it states: “Respondents are required to provide firm pricing for a five-year contract term as indicated in this pricing section. Respondents can submit alternate pricing proposals for a longer contract term if they choose to in addition to the required pricing for a five-year contract term for providing DR.” Question: Please confirm that if respondents propose a longer contract term, respondents are required to submit a separate Exhibit B reflecting the alternative contract term proposal. • Thank you for identifying an oversight in Tab 3c of Exhibit B. A supplemental version of Exhibit B is attached to this email and has been uploaded onto the RFP website (https://www.pse.com/rfp). Please fill out this attachment and upload it onto the portal under the Document Type “Supplemental”. Question 2: On page 26 of the RFP, it states: “Pricing for Winter Capacity Events ($/kW-event): Respondents are required to provide an all-inclusive $/kW-event capacity charge for achieving winter peak demand reduction in fulfillment of PSE’s primary objectives and the corresponding annual MWs for winter peak demand curtailment for each year of the contract period. Separately, Respondents must indicate the normalized customer incentive charges ($/kW-event), which is included in the capacity charges. This needs to be specified for every year over a five-year contract duration. Pricing for Delivered Energy ($/MWh): Respondents can provide an optional energy charge ($/MWh) associated with achieving the winter peak demand reductions for the actual energy reduced during winter DR events.” Question A: Please confirm that if respondents propose an alternative energy charge in addition to the required all-inclusive $/kW-event capacity charge, respondents may propose either i) a combined capacity ($/kW-event) capacity charge plus a delivered energy charge, or ii) solely a delivered energy charge ($/MWh). • For Pricing for Winter Capacity Events, PSE is no longer seeking pricing provided in a $/kW-event format and is instead asking for a $/kW-month format. The latest Exhibit B uploaded onto the RFP website (https://www.pse.com/rfp) under Section 2022 DER RFP Documents and Submission provides this updated request. Sorry for the confusion. Question B: Please confirm that if respondents propose an alternative energy charge in addition to the required all-inclusive $/kW-event capacity charge, respondents are required to submit a separate Exhibit B reflecting the optional energy charge ($/MWh) proposal. Question 3: Regarding line item 6.02 and 6.03 in Tab 4 "Proposal Requirements" of Exhibit B, can you further expand on the meaning of these requests and explain to which DER types these are applicable? • 6.02 and 6.03 are not “Must Have” or hard requirements for the DER RFP, labeling both as “N/A” will have no effect on your proposal’s scoring or evaluation. Question 4: Regarding line items 5.02 in Tab 4 "Proposal Requirements" of Exhibit B, can you provide further clarification or a use case? • Can you please elaborate more on your question. Are you wondering if the VPP would be able to enable/disable the Aggregator itself, and not just the DER resources?
50
51 | Additionally, tab 3b in Exhibit B, line item 43, won't allow for a full number entry: And line items 163/165 prohibit a fraction of a number (i.e., .01) to be entered. | There is an error in the processing of line item 43, feel free to disregard it. It will have no impact on your evaluation. Line items 163/165 should allow for decimal values, but if that is not working try entering 0.01 or just enter 1 for both values and write the correct value in line item 167.
52 | We are struggling to complete a comprehensive offer in this three week period between the bidders conference and the offer due date. Does PSE have any flexibility to extend the offer due date a couple of more weeks to April 4th? | Unfortunately we will not be able to extend the submission window past March 21st. Feel free to submit a bid to the best of your team's ability and PSE will review it and provide requests for additional information during the intake process.
53 | We have another question regarding the CETA plan. Will a title page would count towards the maximum 4 pages for the CETA Equity Plan document? | The title page will not count toward the maximum 4 page limit.
54 | Super, thanks. Also, to circle back on Question 4, we're seeking clarification on what would be enabled/disabled by the VPP (i.e., individual resources or the Aggregator’s resources in total) and the reasons or conditions for disabling and enabling in the first place. | This requirement addresses safety, cyber, visibility, control, protection, and operational aspects of Puget Sound Energy to be able to curtail individual and aggregated DER on the system. The term “enable” and “disable” is used to cast a broad net. This could include disabling a persistent connection from the PSE VPP to an aggregator VPP in response to a cyber-threat. It could also include an operational need to curtail a DER interconnection that is not triggering control and protection isolation, but is causing problems with voltage, power flow, or frequency on the grid. In addition, it could cover an emergency situation where PSE has field restoration people in the field during an outage situation where observed behavior of an individual DER, or aggregated DER, is back feeding a circuit segment and the ability to directly control individual DER through an aggregator’s interface could be beneficial to PSE.
55 | Just to clarify, is the below referencing a fee that bidder has to pay in order to submit a proposal? Note: Uploading files does not constitute submission and no partial submissions will be considered. A proposal is not submitted unless the bidder selects the “Submit Proposal” button, when permitted. Once your proposal is submitted, a bidder must select the “Withdraw Proposal” button before any submitted files can be deleted or replaced. Bidders are reminded that for a proposal to be considered complete and eligible for consideration in PSE’s 2022 DER RFP, both a confirmed proposal submission and receipt of your bid fee are required. Bid fees are assessed only on the installed nameplate capacity of the proposal(s) submitted by the bidder. Please refer to Section 6 in the RFP document for more details. For other questions or additional support, please contact us using the link in the footer. | Sorry for the confusion. There are no bid fees required for the PSE DER RFP. The language below was accidentally incorporated from the All-Source RFP.
56 | Hello, we have a number to input into Tab 3b, Row 192 (Forced Outage Rate %) that requires more decimal places than the cell field validation allows for. Please advise. | The cell might only display up to the ten-thousandths place, but it will record any value inserted. If your issue is more with entering a value, the outage rate should be inputted as a decimal value of a percentage, so .1 representing 10%.
57 | Please confirm that the only change to the updated Exhibit B on 3/3/2022, was Tab 3c. We have already filled out much of the remaining tabs in the first version of the spreadsheet, thus would like to know if we have refill everything out (versus just Tab 3c). | The changes made to Exhibit B have only been applied to Tab 3c. If you are not filling out Tab 3c, feel free to disregard the update.
58 | Super, and final question: we plan to offer multiple options for DR pricing. Can we compile multiple "Tab 3c DR Additional Pricing" tabs together into one overarching ExB worksheet and submit, or would PSE prefer each Tab 3c DR Additional Pricing tab to be uploaded to the portal, separate from the main ExB worksheet? | Please upload a separate Tab 3c DR Additional Pricing Excel for each variation.
59 | I want to make sure I've submitted appropriately. We are submitting under Category B for Equipment Procurement and Installation. We would like to be considered for solar only projects, BESS only projects, and combined solar+BESS projects. Is our single proposal acceptable to cover all three of those options or do we need to submit three separate proposals - one each for solar, BESS and solar+BESS? | There needs to be a separate proposal for each technology. It should be clear in each proposal what technology is being targeted.
60 | Please note that cell e58 should be marked not applicable for our solution, however the system will not allow it. I am marking one of the allowed options as a workaround “Cell (E58) in worksheet (1. Proposal Content Checklist) failed validation for the following reason(s): The value entered (Not Applicable ) must be one of the following: (OPERATIONAL,CONSTRUCTION,DEVELOPMENT)” | Thank you for noting the issue. It will be recorded in your submission.
61 | In Exhibit B, Tab 3c, cells E14 and E22 are locked. Respondents are unable to selected “submitted” or “not submitted”. Please consider this when reviewing submissions. | Thank you for noting the issue. Was your intention to check “submitted” for both? Your response to this will be recorded for your proposal.
62 | Hello, I am getting an error notification when trying to upload Exhibit B. Where can I see in the file where the error is occurring? | The error file can be retrieved by clicking the download button as shown in the image above.
63 | I tried that but it does not list where the errors are occurring -- see attached. Is there any way to see where the errors are within the file so I can fix? | There seems to be an issue with the automatic validation process. Feel free to submit Exhibit B as “Other Required RFP Document”. We will receive it and review it appropriately.
64 | Exhibit I is not listed in Exhibit B as a required document for Category A applicants. However, Table 12 (pg 49) of the RFP lists Exhibit I as a Category A proposal requirement. As the SOW is not yet known, we have submitted Exhibit I with a note clarifying that the MSA and SOW will be finalized once the contract is awarded. | Exhibit I is intended for bidders review and redline the general terms of the MSA if necessary, and submit that in their package. PSE will hold contract negotiations with bidders after the final shortlist is established, during which the complete contracts will be reviewed and negotiated. This initial MSA review is just to provide bidders with the potential terms they should expect, without developing the details of a SOW. Actual contract negotiation and execution will follow later on.
65 | We have just submitted our proposal for the DER RFP 2022, including our signed NDA. As such, are you now able to let us know who the VPP provider is? | Bidders will receive more information on the VPP later in the evaluation process.

## Bidder Conference Q&A 2.28.22
2022 PSE DER RFP Bidder Conference Questions & Answers, Feb. 28th 2022
*Updated answers that were not provided during the Bidders' Conference are in red*
# | Question | PSE Response
General Questions
1 | Are these DER needs incremental additional resources, or does it include existing resources? How many DR resources does PSE have currently? | Needs are incremental. PSE does not currently have DR resources.
2 | Is the presentation being recorded? will it be shared? | The Conference is being recorded and will later be posted on the RFP website.
3 | Do DER projects have to be sited in/on buildings that are served electricity by PSE? Could they be in/on buildings that have PSE gas service? | DER projects are required to be on PSE’s electric distribution system.
8 | So distributed wind power or Anerobic digestors are not included in this RFP? | PSE will consider any CETA-compliant resource located on the distribution system.
11 | in Category B, regarding marketing, will we have access to PSE customer list? | PSE will not be sharing any customer information with bidders.
14 | Does PSE have in existing smart thermostat program? If so, with which vendors? | PSE does not currently operate a smart thermostat program. PSE does offer Energy Efficiency rebates for smart thermostats.
15 | Are the MW goals the capacity at the start of the control season or end of the calendar year? | The MW goals represent installed resource AC nameplate.
16 | PSE has issued similar RFPs before. Can you talk about why no projects have been awarded? | PSE has issued RFPs for demand response programs, but responses were not deemed to meet PSE's capacity and cost effectiveness requirements. The drivers for this RFP include compliance with CETA requirements which was not part of the motivation in prior RFPs.
19 | At what time on 3/21 are responses due? Will payments for DR activities be made by PSE or the service provider? | Responses are due by 11:59PM PST on 3/21. PSE is open to different payment structures from either PSE or the service provider.
20 | Is there a targeted budget maximum for Category B? | There is no budget maximum, but cost-effectiveness is a priority
21 | Also keen for clarification on previous similar RFPs - have any projects been awarded? If not, why not and why is this RFP any different? | PSE has issued RFPs for demand response programs, but responses were not deemed to meet PSE's capacity and cost effectiveness requirements. The drivers for this RFP include compliance with CETA requirements which was not part of the motivation in prior RFPs.
30 | can you advise on the approach / philosophy on how the bids are going to be evaluated, benchmarked and selected? Given the breadth of the scope, I'd expect the evaluation team is going to have a very hard time reviewing, scoring and selecting bids. (to clarify above, breadth of scope *and the variety / approaches in the responses you will recieve*) | PSE’s evaluation process is outlined in Exhibit A of the RFP. Please reach out to DERRFPmailbox@pse.com with specific questions.
31 | Are EE kit programs delivered to K-12 schools applicable for Category B? | These would not be applicable for category B. We are not soliciting Energy Efficiency program proposals in the RFP
33 | Will the performance guarantees apply to Category B? Is Category B limited to only local DBE firms? | Capacity delivery will not be used as a performance requirement for Category B. There may be other Key Performance Indicators used to establish appropriate performance metrics. There are no restrictions on applicants to Category B, but the evaluation process does consider bidder characteristics such as size and diversity of business.
34 | Can water heaters be counted for both BESS and DR categories if they provide equivalent benefits to battery storage while also classified as a traditional DR asset? | Resources like water heaters will only be counted towards DR categories. BESS resources must be physical batteries.
36 | Is PSE serious about funding projects outlined in the RFP or just interested in getting ideas and testing the market. What is PSEs confidence the full scope/ majority of the RFP will be awarded | PSE is serious about meeting the stated DER MW targets through the DER RFP. If PSE is unable to meet these goals through the bids submitted in the RFP, PSE will seek to meet these goals through other methods.
39 | So with the new requirements do you expect to make any awards this time, things will still be just as expensive? | PSE expects to make best-value awards to this RFP to meet the targets in the 2021 IRP and 2021 CEIP.
41 | Who the Bainbridge DER RFP Pilot? | The Bainbridge Island DR pilot vendor is still in contract negotiations and will be announced upon completion.
42 | Are applicants allowed to submit an application that serves all program elements in one customer sector, under Category B (e.g. multifamily implementation)? | Each vendor service component in category B requires a separate response.
43 | Are there any operational parameters bidders should be aware of (Eligibity restrictions of customers, legal forms with wet signatures needed) etc? Basically, are there any potential operational/PSE corporate-requirements that one should keep in mind that may restrict succes/implementation? | There are no specific operational or corporate requirements beyond what is stated in the RFP.
44 | Will PSE consider passive DR solutions, or only active management solutions? | Passive, or behavioral, DR will be considered.
45 | Will PSE pick one vendor to implement one DR resource or will you pick multiple vendors that can recruit similar resources - for example, BYOT | Depending on the submitted proposals, PSE may select one or more DR vendors.
46 | Will you post a list of the participants on this call? | PSE will not post a list of participants on this call.
48 | how about the companies? so we can look at joint submissions? | It is the responsibility of bidders to find potential partners for a joint submission. PSE will be posting contact information of some companies that are interested in subcontracting with bidders, but that will be later in the process.
Proposal Development Questions
6 | In category A, are batteries for DR counted separately than batteries in BESS? | There is potential overlap between BESS and DR programs. Resources will be selected to achieve the total target, ie DR batteries will not reduce the BESS target and vice versa.
10 | Are non-diverse organizations encouraged to bid on Category B? | Anyone can bid into Category B, however more points are provided for diverse organizations and small businesses
12 | For category B, do you require one proposal for each program service and each resource? For example, DR-thermostats-Program Design and Solar-residential-Program Design would be two proposals? Or can DR-Program Design and DR-Program Administration be bundled in one proposal? | A separate proposal must be submitted for each different resource type (e.g., solar, DR, etc…) or service (e.g., enrollment, installation, etc…) being provided by the bidder.
13 | If you are responding to multiple elements in Category B, do they need to be seperate responses? Or can one response cover 2 or 3 elements? | A separate proposal must be submitted for each different resource type (e.g., solar, DR, etc…) or service (e.g., enrollment, installation, etc…) being provided by the bidder.
28 | Which tabs for Exhibit B would be required for a proposal that's specific to BTM BESS & DR? | BTM BESS resources should complete tabs 1., 2a, 2b, 3b, 4, 10. DR resources should complete 1., 2a, 2b, 3c, 4, 10. Exhibit B does state which types of bids should complete which tabs so please review the filed materials to ensure bids meet requirements.
32 | For category A, the RFP requests “Pricing for Winter Capacity Events ($/kW-event)” - however can we submit pricing as $/kw-month or $/kw/year? If no events are called there should still be some compensation for the availability of that capacity. Payment per event would seem to overlap with the Pricing for Delivered Energy ($/MWh) | PSE is updating its Exhibit B for pricing of DR events. A updated version will be uploaded onto the RFP website requesting $/kw-month instead of per event.
Evaluation Questions
4 | Are there any portions of the PSE system that has more value for DERs. I.e, will PSE consider non-wire value or deferring or avoiding T&D investments in evaluating DERs? | PSE is not giving any locational scoring preference. As a reference, there is a hosting capacity map and a distribution substation loading map included in Exhibit L: Resources.
5 | Is customer power system reliability considered a CBI? what value does PSE put on improving customer reliability? | CBIs do take into account improving reliability. One specific question is: Does the program decrease the number of and frequency of outages through the use of distributed resources?
22 | Are there bechmarks for various CBIs? Are there related evaluation methods identified already? | Evaluation using customer benefit indicators is a new arena for PSE and utility industry as a whole. Because of that we know this will be an iterative process and will continue to build the evaluation process. Our filed CEIP (Chapter 3, beginning on page 66) shows baseline data for some of the customer benefit indicators, but we are still gathering sources of data for all indicators.
24 | For Category A projects that would be interconnected to the distribution grid as FTM, is it expected that Bidders already have site control or is PSE open to bids where site will be secured after pricing is awarded. | Site control is a category on the qualitative scoring matrix provided in Exhibit A. A project receiving a 0 in site control “No executed land agreements / Not feasible” will be deemed to have failed to meet the minimum criteria of the 2022 DER RFP, but full site control is not required.
26 | Are evaluation categories weighted? If so, what is the weighted breakdown? | Tables 3 and 4 in Exhibit A provide the weighted breakdown per category.
29 | How will additional grid/ancillary services be evaluated, like fast frequency response? | PSE is still evaluating the value DER’s can provide through ancillary services. As such, while there won’t be any specific quantitative metrics attributed to DER’s that can provide these services, PSE is interested in resources capable of providing such services in the future.
38 | Should DER clean energy carbon/decarbonization value benefits be shown by provider for cost benefit analysis? | PSE has values it attributes to energy bundled with REC’s as well as brown power developed through existing processes such as the Integrated Resource Plan and Conservation Potential Assessment. As such, PSE will not include “energy carbon/decarbonization value benefits” in its analysis that do not align with values developed through these concurrent processes.
47 | For category A, how will PSE determine cost effectiveness of a mixture of different resources - for example, heating resources are more cost effective than water heater resources. Given a single pricing for DR resource, the assumed mix of heating and water heater can drive different pricing. | PSE evaluates all DER resources individually on their ability to provide capacity and/or energy benefits. In Phase 1 evaluation, PSE will create a candidate list of best-in-class response(s) from each resource type, but further into the evaluation, shortlisted resources will be chosen based on value add and cost.
VPP Questions
7 | Has the VPP provider been chosen yet, and if not, will there be a subsequent RFP for that? | PSE has an existing VPP vendor that will be utilized.
9 | Will/does PSE’s VPP control behind-the-meter devices? Or, is it more of a tool for visibility of DERs for PSE or a signaling tool for potential DR event timing for a third party to call/control devices? | PSE’s VPP is designed to dispatch behind-the-meter devices in addition to providing visibility to DERs.
17 | What’s the expected interface/protocol from VPP? | We will not be sharing any info on the VPP till Ex. D, the Mutual Confidentiality Agreement has been executed. However, at a high level we expect to use APIs and OpenADR for Web to Web interfaces, and our preferred protocal for Web to Device is DNP3.0, but we can work with others as well)
18 | Is there a category wherein you are considering systems to control and monitor DERs, including prediction of DER output? | Figure 2. Types of Control For Acquired DERs in the main body of the RFP breaks out the control and monitoring systems per resource type and size. The three operational configurations are 1) VPP, 2) SCADA, 3) no visibility or control needed. The VPP will have a resource forecasting function.
23 | is there a need in this rfp for a energy management software to optimize the DERs? is there a requirement to predict solar and DR? | If the software is used internally by the respondent to meet capacity requests, then software is necessary. Forecasting is also necessary internally to the respondent to meet capacity requests from PSE. Energy management software will not be used to manage other DERs. PSE's VPP will overall act as a DER operational solution.
25 | Could you provide some detail on the VPP that the DERs will integrate with? | We will not be sharing any info on the VPP till Ex. D, the Mutual Confidentiality Agreement has been executed. However, at a high level we expect to use APIs and OpenADR for Web to Web interfaces, and our preferred protocal for Web to Device is DNP3.0, but we can work with others as well)
27 | Will PSE use VPP to schedule and dispatch CAISO events? | The primary use case for the VPP will be to dispatch resources for system peak events. Dispatching to CAISO EIM events is a use case PSE will explore in the future, but currently has no performance requirements for.
35 | Will VPP be used to retrieve and present real time demand data for monitoring DR events in real time. If not what is the plan for real time event performance monitoring | VPP will provide the real time event monitoring and provide the aggregate and individual performance evaluation.
37 | Who is the VPP provider? | We will not be sharing any info on the VPP till Ex. D, the Mutual Confidentiality Agreement has been executed.
40 | As above, who is the VPP provider? Apologies if I missed the answer. | Previously answered, PSE will not be able to provide detailed information about the VPP until Exhibit D Mutual Confidentiality Agreement has been executed.