## Read_Me
Demand Forecast
This workbook contains the annual demand forecast data for the Electric and Gas systems.
Electric Demand
The annual base electric demand for the PSE service territory in aMW.
The calculation includes base demand, EV demand, and savings from conservation.
Electric Peak
The annual peak electric demand for the PSE service territory in MW.
The calculation includes base demand, EV demand, and savings from conservation.
Gas Demand
The annual base gas demand for the PSE service territory in MDth.
The calculation includes base demand and savings from conservation.
Gas Peak
The annual peak gas demand for the PSE service territory in MDth.
The calculation includes base demand and savings from conservation.

## Electric Demand
Puget Sound Energy 2021 IRP Electric Demand Forecast
| Base Forecast without EVs (aMW) | EVs (aMW) | Base Demand Forecast before DSR (aMW) (b)+(c) | 2021 IRP Conservation, Codes and Standards, and Distribution Efficiency (aMW) | 5 percent additional Conservation* (aMW) | Base Demand Forecast after DSR (aMW) (d)-(e)-(f)
2022 | 2490.0626 | 10.4244 | 2500.487 | 32.2078 | 0.51847 | 2467.7607
2023 | 2514.2068 | 15.0102 | 2529.217 | 66.4515 | 1.6682 | 2461.0972
2024 | 2541.6444 | 20.0589 | 2561.7032 | 103.1243 | 2.9197 | 2455.6593
2025 | 2565.7741 | 25.938 | 2591.7121 | 138.7382 | 4.2709 | 2448.703
2026 | 2585.599 | 32.4445 | 2618.0435 | 174.8378 | 5.7152 | 2437.4906
2027 | 2607.4427 | 39.5951 | 2647.0378 | 212.217 | 7.2393 | 2427.5815
2028 | 2629.8987 | 47.1709 | 2677.0696 | 250.8071 | 8.8494 | 2417.413
2029 | 2649.7879 | 55.4243 | 2705.2122 | 290.1796 | 10.5004 | 2404.5323
2030 | 2675.8896 | 64.3113 | 2740.2009 | 330.7233 | 12.2067 | 2397.2709
2031 | 2707.9016 | 73.7671 | 2781.6687 | 373.3576 | 13.9948 | 2394.3162
2032 | 2728.849 | 83.2311 | 2812.0801 | 407.4602 | 15.4281 | 2389.1919
2033 | 2743.0653 | 93.3817 | 2836.447 | 432.7085 | 16.4208 | 2387.3177
2034 | 2770.8897 | 103.6425 | 2874.5322 | 459.5336 | 17.4549 | 2397.5437
2035 | 2806.33 | 114.211 | 2920.541 | 487.1576 | 18.4953 | 2414.8881
2036 | 2833.2031 | 124.7871 | 2957.9902 | 512.5051 | 19.4855 | 2425.9996
2037 | 2859.5257 | 136.4334 | 2995.9591 | 537.6176 | 20.4385 | 2437.9031
2038 | 2886.2879 | 148.141 | 3034.4289 | 560.6576 | 21.3054 | 2452.4658
2039 | 2915.5054 | 160.2338 | 3075.7392 | 582.8348 | 22.1182 | 2470.7861
2040 | 2938.3736 | 171.4813 | 3109.855 | 603.5791 | 22.8952 | 2483.3807
2041 | 2969.8487 | 186.541 | 3156.3897 | 622.6661 | 23.5387 | 2510.1849
2042 | 2996.6331 | 200.1296 | 3196.7627 | 639.57 | 24.1021 | 2533.0906
2043 | 3023.1584 | 213.7573 | 3236.9158 | 655.6958 | 24.6281 | 2556.5918
2044 | 3047.312 | 226.6799 | 3273.9919 | 670.981 | 25.1435 | 2577.8675
2045 | 3075.6969 | 240.6538 | 3316.3507 | 687.0028 | 25.6359 | 2603.7119
*An additional 5 percent of Conservation and Distribution Efficiency is applied to account for the 2013 general rate case Global Settlement. This 5 percent does not apply to Codes and Standards.
DSR = Demand Side Resources

## Electric Peak
Puget Sound Energy 2021 IRP December Electric Peak Forecast
| Base Forecast without EVs (MW) | EVs (MW) | Base Demand Forecast before DSR (MW) (b)+(c) | 2021 IRP Conservation, Codes and Standards, and Distribution Efficiency (MW) | 5 percent additional Conservation* (MW) | Base Demand Forecast after DSR (MW) (d)-(e)-(f)
2022 | 4661.1963 | 25.9975 | 4687.1938 | 72.1781 | 1.8375 | 4613.1783 | A column for Demand Response was included in the previous table.
2023 | 4691.3499 | 37.245 | 4728.5949 | 132.3795 | 3.8089 | 4592.4066 | Demand Response is not considered a demand side resourse, it is considered a supply side resource,
2024 | 4750.8478 | 49.5482 | 4800.396 | 199.1243 | 5.8978 | 4595.3739 | therefore it was not subtracted off demand as a demand side resource.
2025 | 4780.6506 | 63.7658 | 4844.4165 | 259.8043 | 8.1167 | 4576.4954 | This table has been update to reflect this.
2026 | 4815.0003 | 79.0814 | 4894.0816 | 320.7539 | 10.4458 | 4562.882
2027 | 4852.8541 | 95.855 | 4948.7091 | 383.1769 | 12.9107 | 4552.6216
2028 | 4904.0134 | 113.4324 | 5017.4458 | 447.6018 | 15.4988 | 4554.3452
2029 | 4926.058 | 131.6644 | 5057.7225 | 512.8141 | 18.1182 | 4526.7902
2030 | 4971.2066 | 151.9888 | 5123.1954 | 580.9225 | 20.9003 | 4521.3726
2031 | 5026.8748 | 172.5744 | 5199.4492 | 652.2382 | 23.7835 | 4523.4274
2032 | 5075.8398 | 193.3592 | 5269.199 | 692.3715 | 25.2064 | 4551.621
2033 | 5087.409 | 214.3239 | 5301.733 | 730.7421 | 26.647 | 4544.3438
2034 | 5135.7347 | 235.7706 | 5371.5052 | 774.583 | 28.2275 | 4568.6947
2035 | 5197.2042 | 257.5904 | 5454.7946 | 817.5748 | 29.6837 | 4607.5361
2036 | 5256.8714 | 279.8436 | 5536.715 | 858.7823 | 31.1534 | 4646.7792
2037 | 5289.2007 | 302.5875 | 5591.7882 | 898.8433 | 32.5692 | 4660.3757
2038 | 5335.4671 | 325.8009 | 5661.2679 | 936.4783 | 33.9087 | 4690.8809
2039 | 5386.2019 | 349.379 | 5735.5809 | 974.2136 | 35.2532 | 4726.1141
2040 | 5444.1193 | 374.7924 | 5818.9117 | 1010.3567 | 36.4633 | 4772.0917
2041 | 5480.2146 | 400.1624 | 5880.377 | 1042.0989 | 37.4897 | 4800.7884
2042 | 5526.5077 | 425.2426 | 5951.7503 | 1072.4243 | 38.4509 | 4840.8751
2043 | 5572.5654 | 449.7677 | 6022.3331 | 1099.3461 | 39.2286 | 4883.7584
2044 | 5628.4696 | 473.4515 | 6101.9211 | 1126.0125 | 40.0807 | 4935.8279
2045 | 5663.1396 | 496.095 | 6159.2347 | 1152.6629 | 40.8506 | 4965.7212
*An additional 5 percent of Conservation and Distribution Efficiency is applied to account for the 2013 general rate case Global Settlement. This 5 percent does not apply to Codes and Standards.
DSR = Demand Side Resources

## Gas Demand
Puget Sound Energy 2021 IRP Gas Demand Forecast
| Base Demand Forecast before DSR (MDth) | 2021 IRP Conservation and Codes and Standards (MDth) | 5 percent additional Conservation* (MDth) | Base Demand Forecast after DSR (MDth) (b)-(c)-(d)
2022 | 96156.1205 | 243.4 | 10.2661 | 95902.4544
2023 | 97408.9088 | 793.0935 | 33.3982 | 96582.417
2024 | 98963.3608 | 1385.0622 | 58.4646 | 97519.834
2025 | 99653.0315 | 2000.1979 | 85.1536 | 97567.68
2026 | 100259.0838 | 2637.2495 | 113.373 | 97508.4612
2027 | 100815.5619 | 3303.7235 | 143.1974 | 97368.641
2028 | 101681.4169 | 4002.8574 | 174.7044 | 97503.8551
2029 | 102047.8272 | 4735.1788 | 207.8184 | 97104.83
2030 | 102769.0868 | 5500.9152 | 242.4935 | 97025.6782
2031 | 103740.3348 | 6300.9481 | 278.7984 | 97160.5883
2032 | 104851.1521 | 6957.1215 | 307.9331 | 97586.0976
2033 | 105399.8987 | 7439.4123 | 328.4248 | 97632.0616
2034 | 106247.4205 | 7947.8001 | 350.2134 | 97949.4069
2035 | 107195.0189 | 8472.9614 | 372.857 | 98349.2005
2036 | 108362.967 | 9007.5125 | 395.9947 | 98959.4599
2037 | 108894.7847 | 9551.1232 | 419.607 | 98924.0545
2038 | 109707.9348 | 10103.173 | 443.6505 | 99161.1112
2039 | 110769.6433 | 10659.4061 | 467.9023 | 99642.3348
2040 | 112073.2952 | 11210.2776 | 491.8612 | 100371.1564
2041 | 112918.2922 | 11726.2203 | 514.03 | 100678.0419
*An additional 5 percent of Conservation is applied to account for the 2017 general rate case. This 5 percent does not apply to Codes and Standards.
DSR = Demand Side Resources

## Gas Peak
Puget Sound Energy 2021 IRP December Gas Peak Forecast
| Base Demand Forecast before DSR (MDth) | 2021 IRP Conservation and Codes and Standards (MDth) | 5 percent additional Conservation* (MDth) | Base Demand Forecast after DSR (MDth) (b)-(c)-(d)
2022 | 966.5605 | 4.6319 | 0.17623 | 961.7524
2023 | 976.5104 | 9.9578 | 0.37757 | 966.1751
2024 | 987.9495 | 15.5381 | 0.59662 | 971.8147
2025 | 995.3392 | 21.222 | 0.83121 | 973.2859
2026 | 1003.3577 | 27.1291 | 1.0799 | 975.1487
2027 | 1011.2177 | 33.2896 | 1.3423 | 976.5858
2028 | 1020.7577 | 39.7049 | 1.6178 | 979.435
2029 | 1027.3149 | 46.3539 | 1.9024 | 979.0586
2030 | 1035.6525 | 53.2054 | 2.196 | 980.2511
2031 | 1044.5421 | 60.3015 | 2.5001 | 981.7406
2032 | 1054.7405 | 64.6978 | 2.6717 | 987.371
2033 | 1061.589 | 69.2701 | 2.8508 | 989.4681
2034 | 1070.0813 | 73.9611 | 3.0367 | 993.0835
2035 | 1078.7247 | 78.7379 | 3.2263 | 996.7605
2036 | 1088.931 | 83.4362 | 3.4133 | 1002.0816
2037 | 1095.5159 | 88.1822 | 3.6016 | 1003.7322
2038 | 1103.7608 | 92.9298 | 3.7911 | 1007.0399
2039 | 1112.5186 | 97.6701 | 3.9788 | 1010.8698
2040 | 1122.974 | 102.3759 | 4.1652 | 1016.4329
2041 | 1130.0832 | 106.9584 | 4.3431 | 1018.7817
*An additional 5 percent of Conservation is applied to account for the 2017 general rate case. This 5 percent does not apply to Codes and Standards.
DSR = Demand Side Resources