## Sheet1
The full Flexibility Analysis (FA) methodology and results can be found in Chapter 5.
In simple terms, this analysis takes the costs from the Day-Ahead simulation and subtracts the costs from the Intra-Hour simulation.
Once the DA and IH runs have been completed, the final costs are compared to the base portfolio.
The difference in costs between the test cases and the base case provides the flexibility benefit of the test case resource.
2025 case – day-ahead system costs ($MM) |  |  | 01_14_2021
2025 PSE System Costs ($MM) | Base Portfolio | CCCT | Frame Peaker | Recip Peaker | Li-Ion 2-hr | Li-Ion 4-hr | Flow 4-hr | Flow 6-hr | Pumped Hydro Storage | DSR | Demand Response
Wind | 23.4127 | 23.2329 | 23.4721 | 23.3597 | 23.3634 | 23.2401 | 23.3663 | 23.3072 | 23.1647 | 23.388 | 23.6011
Hydro | 1.9625 | 1.9579 | 1.9435 | 1.9368 | 1.9623 | 1.9418 | 1.9714 | 1.9637 | 1.9751 | 1.95 | 1.9515
Thermal | 139.8686 | 95.0125 | 127.2279 | 124.5057 | 123.3992 | 121.8974 | 122.4816 | 122.2547 | 121.3772 | 129.2552 | 130.249
Solar | 13.5458 | 13.5458 | 13.5458 | 13.5458 | 13.5458 | 13.5458 | 13.5458 | 13.5458 | 13.5458 | 13.5458 | 13.5458
Contracts | 292.1559 | 292.1559 | 292.1559 | 292.1559 | 292.1559 | 292.1559 | 292.1559 | 292.1559 | 292.1559 | 292.1559 | 292.1559
IRP Resource | 0 | 47.765 | 9.4984 | 12.3711 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Generation | 470.9456 | 473.6701 | 467.8436 | 467.8751 | 454.4267 | 452.7811 | 453.5211 | 453.2273 | 452.2187 | 460.295 | 461.5033
Net Market Purchases/Sales | 93.1892 | 77.2973 | 92.2601 | 90.8791 | 99.5083 | 100.5338 | 100.241 | 100.347 | 100.8389 | 74.3805 | 82.7607
Total ($MM) | 564.1348 | 550.9674 | 560.1037 | 558.7542 | 553.9349 | 553.3149 | 553.762 | 553.5743 | 553.0576 | 534.6755 | 544.264
Change in Cost from Base ($MM) |  | -13.1674 | -4.0311 | -5.3806 | -10.1999 | -10.8199 | -10.3727 | -10.5605 | -11.0772 | -29.4593 | -19.8708
2025 case – intra-hour system costs ($MM)
2025 PSE System Costs ($MM) | Base Portfolio | CCCT | Frame Peaker | Recip Peaker | Li-Ion 2-hr | Li-Ion 4-hr | Flow 4-hr | Flow 6-hr | Pumped Hydro Storage | DSR | Demand Response
Wind | 22.863 | 22.9087 | 22.8569 | 22.9012 | 22.8661 | 22.794 | 22.941 | 22.9714 | 22.8116 | 22.8771 | 22.2467
Hydro | 2.1611 | 2.1258 | 2.0913 | 2.1028 | 2.1414 | 2.12 | 2.1526 | 2.1496 | 2.1411 | 2.1586 | 2.0554
Thermal | 148.3847 | 107.5143 | 131.1509 | 130.1213 | 131.0908 | 130.5498 | 130.363 | 129.9913 | 129.6718 | 138.0177 | 121.2191
Solar | 13.5458 | 13.5458 | 13.5458 | 13.5458 | 13.5458 | 13.5458 | 13.5458 | 13.5458 | 13.5458 | 13.5458 | 13.5458
Contracts | 292.1546 | 292.1546 | 292.1546 | 292.1546 | 292.1546 | 292.1546 | 292.1546 | 292.1546 | 292.1546 | 292.1546 | 292.1546
IRP Resource | 0 | 45.4259 | 10.4894 | 10.5213 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61868
Total Generation | 479.1092 | 483.6752 | 472.2888 | 471.347 | 461.7987 | 461.1642 | 461.157 | 460.8127 | 460.3249 | 468.7539 | 451.8404
Net Market Purchases/Sales | 83.077 | 63.4734 | 80.3087 | 79.9736 | 88.1341 | 88.3575 | 88.353 | 88.4887 | 88.9429 | 63.8237 | 86.9511
Total ($MM) | 562.1862 | 547.1485 | 552.5975 | 551.3206 | 549.9328 | 549.5216 | 549.51 | 549.3014 | 549.2678 | 532.5775 | 538.7915
Change in Cost from Base ($MM) |  | -15.0377 | -9.5887 | -10.8656 | -12.2534 | -12.6646 | -12.6762 | -12.8848 | -12.9184 | -29.6087 | -23.3947
2025 flex benefit
2025 PSE System Costs ($MM) | Base Portfolio | CCCT | Frame Peaker | Recip Peaker | Li-Ion 2-hr | Li-Ion 4-hr | Flow 4-hr | Flow 6-hr | Pumped Hydro Storage | DSR | Demand Response
Wind | 0.54975 | 0.32419 | 0.61524 | 0.45855 | 0.49731 | 0.44615 | 0.42527 | 0.33575 | 0.35309 | 0.51092 | 1.3543
Hydro | -0.19863 | -0.16788 | -0.14778 | -0.16598 | -0.1791 | -0.17817 | -0.18114 | -0.18594 | -0.16598 | -0.20861 | -0.10398
Thermal | -8.5161 | -12.5018 | -3.923 | -5.6155 | -7.6916 | -8.6524 | -7.8814 | -7.7366 | -8.2946 | -8.7625 | 9.0299
Solar | 1.2434e-13 | 1.2434e-13 | 1.2434e-13 | 1.2434e-13 | 1.2434e-13 | 1.2434e-13 | 1.2434e-13 | 1.2434e-13 | 1.2434e-13 | 1.2434e-13 | 1.2434e-13
Contracts | 0.0013174 | 0.0013174 | 0.0013174 | 0.0013174 | 0.0013174 | 0.0013174 | 0.0013174 | 0.0013174 | 0.0013174 | 0.0013174 | 0.0013174
IRP Resource | 0 | 2.3391 | -0.99102 | 1.8498 | 0 | 0 | 0 | 0 | 0 | 0 | -0.61868
Total Generation | -8.1637 | -10.0051 | -4.4452 | -3.4719 | -7.372 | -8.3831 | -7.636 | -7.5855 | -8.1062 | -8.4589 | 9.6629
Net Market Purchases/Sales | 10.1122 | 13.8239 | 11.9514 | 10.9055 | 11.3741 | 12.1763 | 11.888 | 11.8583 | 11.896 | 10.5569 | -4.1903
Total ($MM) | 1.9486 | 3.8188 | 7.5062 | 7.4336 | 4.0021 | 3.7932 | 4.252 | 4.2728 | 3.7898 | 2.098 | 5.4725 | Difference in costs (Intra Hour - Day Ahead) for the test case
Change in Cost from Base ($MM) |  | 1.8703 | 5.5576 | 5.485 | 2.0535 | 1.8447 | 2.3034 | 2.3243 | 1.8412 | 0.14942 | 3.5239 | (Change of Test Case) - (Change of Base Case)
Nameplate (MW) |  | 355 | 237 | 216 | 100 | 100 | 100 | 100 | 100 |  | 100 | Nameplate capacity of resource in MW
$/kw-yr |  | 5.2683 | 23.4499 | 25.3936 | 20.5352 | 18.4466 | 23.0342 | 23.2426 | 18.4122 |  | 35.2394 | The final flexibility benefit
Dollars are converted back to $ from $MM
MW is converted to kW
The data is collected over a 1-year period, so no changes are needed for the per-year portion.