## Readme
This workbook provides a summary of resources added and retired across the WECC which have not been accounted for in the Energy Exemplar WECC Zonal Database v1.0.1.
Objective
The objective of this document is to share information on resources currently in operation or under late-stage development which are absent as well as recently announced retirement dates for operating resources from the WECC Zonal database.
Other Notes:
New additions were screened to include only resources with:
-capacity greater than 100 MW
-currently operating, under construction, or in advanced development
Reference:
|  | S&P Global Capital IQ Pro | S&P Capital IQ Pro ¦ S&P Global Market Intelligence (spglobal.com)
|  | USGS Wind Turbine Database | U.S. Wind Turbine Database (usgs.gov)
|  | Renewable Northwest | Resources Map ¦ Renewable Northwest (renewablenw.org)
|  | Northwest Planning and Conservation Council | Map of coal-powered generation projects ¦ Northwest Power and Conservation Council (nwcouncil.org)
|  | PacifiCorp | Integrated Resource Plan (pacificorp.com)

## Tbl_Resource_Adds_Summary
| Planned Capacity (MW) | Number of Resources
CAMX | 3314.6 | 15
Stand-Alone Battery Storage | 444 | 3
Solar | 1095 | 5
Solar + Storage | 1647.8 | 6
Wind | 127.8 | 1
Dessert Southwest | 4003.9 | 11
Gas | 556 | 1
Solar | 500 | 2
Solar + Storage | 1345 | 2
Wind | 1602.9 | 6
NWPP Central | 1903.76 | 8
Solar | 340 | 2
Solar + Storage | 375 | 1
Wind | 1188.76 | 5
NWPP Northeast | 3304.3 | 14
Wind | 3304.3 | 14
NWPP Northwest | 1295.84 | 7
Solar | 452 | 3
Wind | 843.84 | 4
Grand Total | 13822.4 | 55

## Tbl_Resource_Adds_All
Resource | Planned/ Operating Capacity (MW) | Energy Storage Capacity | Online Year | State | Ownter | Ultimate Parent | EIA Site Code
CAMX | 2744.3 | 570.3
Stand-Alone Battery Storage | 444
Alamitos Energy Center (AES Alamitos Energy Battery Storage Array) | 200 | -- | 2023 | CA | AES Southland, L.L.C. | The AES Corporation | 61204
Daggett 3 BESS Project | 144 | -- | 2022 | CA | Clearway Energy Group LLC | Global Infrastructure Management Participation, LLC | 64852
Luna Battery Storage Project | 100 | -- | 2022 | CA | Multi-Owned | Multi-Owned | 63685
Solar | 1095
Athos III Solar Project | 313 | -- | 2022 | CA | Intersect Power, LLC | Intersect Power, LLC | --
Athos Solar Project | 250 | -- | 2022 | CA | Multi-Owned | Multi-Owned | 63300
Daggett 3 Solar Project | 300 | -- | 2022 | CA | Clearway Energy Group LLC | Clearway Energy Group LLC | 64852
Drew Solar Project | 100 | -- | 2022 | CA | D. E. Shaw Renewable Investments, LLC | D. E. Shaw & Co., L.P. | 63127
Maverick Solar 7 Project | 132 | -- | 2022 | CA | EDF Renewables Inc. | EDF Group | 64106
Solar + Storage | 1077.5 | 570.3
Aratina Solar Center | 200 | 50 | 2023 | CA | 8minute Solar Energy, LLC | 8minute Solar Energy, LLC | 61167
Big Beau Solar+Storage Project | 128 | 60 | 2022 | CA | Multi-Owned | Multi-Owned | 64993
Eland 1 Solar Project | 200 | 150 | 2023 | CA | Capital Dynamics, Inc. | Capital Dynamics Holding AG | 61168
Eland 2 Solar Farm | 200 | 150 | 2023 | CA | Capital Dynamics, Inc. | Capital Dynamics Holding AG | 61169
Rabbitbrush Solar Plus Storage Project | 100 | 20 | 2022 | CA | Leeward Renewable Energy, LLC | OMERS Administration Corporation | 64630
The Slate Solar Project | 249.5 | 140.3 | 2022 | CA | Goldman Sachs Renewable Power LLC | Goldman Sachs Renewable Power LLC | 63727
Wind | 127.8
Solano Phase 3 | 127.8 |  | 2012 | CA | -- | -- | 58092
Dessert Southwest | 3548.9 | 455
Gas | 556
Newman East CT | 556 | -- | 2027 | TX | El Paso Electric Company | JPMorgan Chase & Co. | 3456
Solar | 500
Eagle Shadow Mountain Solar Farm | 300 | -- | 2022 | NV | Capital Dynamics, Inc. | Capital Dynamics Holding AG | 61852
La Paz Solar Tower Power Station | 200 | -- | 2025 | AZ | Enviromission (usa) Inc | Enviromission (usa) Inc | 58652
Solar + Storage | 890 | 455
Arrow Canyon Solar Project (Moapa Solar Energy Center) | 200 | 75 | 2022 | NV | EDF Renewable Development, Inc. | EDF Group | 62248
Gemini Solar + Battery Storage Project | 690 | 380 | 2023 | NV | Primergy Solar, LLC | Quinbrook Infrastructure Partners Pty Ltd. | 63352
Wind | 1602.9
Broadview Energy KW LLC | 142.6 | -- | 2017 | NM | -- | -- | 60152
Grady | 220.5 | -- | 2019 | NM | -- | -- | 60317
Oso Grande | 247.4 | -- | 2020 | NM | -- | -- | 63502
Sagamore Wind | 522.8 | -- | 2020 | NM | -- | -- | 63578
San Juan Mesa | 120 | -- | 2005 | NM | -- | -- | 56304
White Hills | 349.6 | -- | 2020 | AZ | -- | -- | 63114
NWPP Central | 1778.76 | 125
Solar | 340
Coyote Gulch Solar Plant | 140 | -- | 2024 | CO | juwi Solar GmbH | MVV Energie AG | 64857
Sun Mountain Solar Project | 200 | -- | 2022 | CO | Multi-Owned | Multi-Owned | 65032
Solar + Storage | 250 | 125 | 2022
Neptune Solar & Battery Storage Project | 250 | 125 | 2022 | CO | NextEra Energy Resources, LLC | NextEra Energy, Inc. | 63731
Wind | 1188.76
Bronco Plains | 299.36 | -- | 2020 | CO | -- | -- | 63803
Cheyenne Ridge | 496.4 | -- | 2020 | CO | -- | -- | 62952
Crossing Trails | 104 | -- | 2021 | CO | -- | -- | 62489
Evanston (Wyoming Wind Energy Center) | 144 | -- | 2003 | WY | -- | -- | 56093
Panorama Wind Farm | 145 | -- | 2022 | CO | Leeward Renewable Energy, LLC | Captrust Financial Advisors LLC | 64872
NWPP Northeast | 3304.3
Wind | 3304.3
Cedar Springs I | 199.4 | -- | 2020 | WY | -- | -- | 63914
Cedar Springs II | 202.22 | -- | 2020 | WY | -- | -- | 63915
Cedar Springs III | 133.28 | -- | 2020 | WY | -- | -- | 63916
Clearwater Energy Resources | 750 | -- | 2022 | MT | NextEra Energy Resources, LLC | NextEra Energy, Inc. | --
Dunlap | 111 | -- | 2010 | WY | -- | -- | 57299
Ekola Flats | 250.9 | -- | 2020 | WY | -- | -- | 62591
Glenrock | 119.3 | -- | 2008 | WY | -- | -- | 56841
High Plains | 122.1 | -- | 2009 | WY | -- | -- | 57040
Jawbone Wind Power Plant | 235 | -- | 2023 | MT | Triple Oak Power, LLC | Triple Oak Power, LLC | 58175
Pryor Mountain | 239.8 | -- | 2021 | MT | -- | -- | --
Rolling Hills | 115.8 | -- | 2009 | WY | -- | -- | 56842
Seven Mile Hill I & II | 122.1 | -- | 2008 | WY | -- | -- | 56843
TB Flats I & II | 503.2 | -- | 2020 | WY | -- | -- | --
Top of the World | 200.2 | -- | 2010 | WY | -- | -- | 57327
NWPP Northwest | 1295.84
Solar | 452
Daybreak Solar Facility (Bakeoven) | 140 | -- | 2022 | OR | Multi-Owned | Multi-Owned | 64974
Lund Hill Solar Project | 150 | -- | 2022 | WA | Multi-Owned | Multi-Owned | 63509
Montague Solar Facility (Gilliam County Solar) | 162 | -- | 2022 | OR | Multi-Owned | Multi-Owned | 63441
Wind | 843.84
Golden Hills Wind Farm | 200 | -- | 2022 | OR | Multi-Owned | Multi-Owned | 63710
Rattlesnake Flat | 149.9 | -- | 2020 | WA | -- | -- | 62936
Summit Ridge I Wind Farm | 194.4 | -- | 2023 | OR | Aypa Power LLC | Blackstone Inc. | 58894
Wheatridge Wind | 299.54 | -- | 2020 | OR | -- | -- | 62745
Grand Total | 12672.1 | 1150.3

## Fig_Additions
| CAMX | Dessert Southwest | NWPP Central | NWPP Northeast | NWPP Northwest
Natural Gas |  | 556
Stand-Alone Battery Storage | 444
Solar | 1095 | 500 | 340 |  | 452
Solar + Storage | 1647.8 | 1345 | 375
Wind | 127.8 | 1602.9 | 1188.76 | 3304.3 | 843.84

## Fig_Adds_Retires
| CAMX | Dessert Southwest | NWPP Central | NWPP Northeast | NWPP Northwest
Natural Gas |  | 556
Stand-Alone Battery Storage | 444
Solar | 1095 | 500 | 340 |  | 452
Solar + Storage | 1647.8 | 1345 | 375
Wind | 127.8 | 1602.9 | 1188.76 | 3304.3 | 843.84
Coal |  | -5328.5 | -13631 | -5033.2
Natural Gas |  |  | -2579 |  | -725

## Tbl_Retirements_Summary
| Capacity (MW) | Number of Resources
Desert Southwest | 5328.5 | 12
Coal | 5328.5 | 12
NWPP Central | 11925.6 | 35
Coal | 9580.6 | 23
Natural Gas | 2345 | 12
NWPP Northeast | 5033.2 | 17
Coal | 5033.2 | 17
NWPP Northwest | 725 | 4
Natural Gas | 725 | 4
Total | 23012.3 | 68
52

## Tbl_Retirements_All
Resource | Capacity (MW) | Retirement Date | State
Desert Southwest | 5328.5
Coal | 5328.5
Cholla (1) | 113.6 | 2024 | AZ
Cholla (3) | 312.3 | 2024 | AZ
Cholla (4) | 414 | 2020 | AZ
Coronado (CO1) | 410.9 | 2032 | AZ
Coronado (CO2) | 410.9 | 2032 | AZ
Escalante | 257 | 2020 | NM
Four Corners (4) | 818.1 | 2030 | NM
Four Corners (5) | 818.1 | 2030 | NM
San Juan (1) | 369 | 2022 | NM
San Juan (4) | 555 | 2022 | NM
Springerville (1) | 424.8 | 2027 | AZ
Springerville (2) | 424.8 | 2032 | AZ
NWPP Central | 16210
Coal | 13631
Craig (CO) (2) | 446.4 | 2028 | CO
Craig (CO) (3) | 534.8 | 2029 | CO
Dave Johnston (1) | 133.6 | 2027 | WY
Dave Johnston (2) | 133.6 | 2027 | WY
Dave Johnston (3) | 255 | 2027 | WY
Dave Johnston (4) | 400 | 2027 | WY
Escalante | 257 | 2020 | NM
Four Corners (4) | 818.1 | 2030 | NM
Four Corners (5) | 818.1 | 2030 | NM
Hayden (1) | 190 | 2028 | CO
Hayden (2) | 275.4 | 2027 | CO
Hunter 1 | 418 | 2042 | UT
Hunter 2 | 269 | 2042 | UT
Hunter 3 | 471 | 2042 | UT
Huntington 1 | 459 | 2036 | UT
Huntington 2 | 450 | 2036 | UT
Intermountain Power Project (1) | 820 | 2025 | UT
Intermountain Power Project (2) | 820 | 2025 | UT
Jim Bridger (1) | 608.3 | 2023 | WY
Jim Bridger (2) | 617 | 2028 | WY
Jim Bridger (3) | 608.3 | 2037 | WY
Jim Bridger (4) | 608.3 | 2037 | WY
Keephills 1 | 392 | 2022 | AB
Keephills 2 | 393 | 2022 | AB
Keephills 3 | 450 | 2020 | AB
Martin Drake (6) | 75 | 2023 | CO
Martin Drake (7) | 132 | 2023 | CO
Naughton (1) | 192 | 2025 | WY
Naughton (2) | 256 | 2025 | WY
North Valmy (1) | 277.2 | 2021 | NV
Pawnee | 552.3 | 2041 | CO
Rawhide (1) | 293.6 | 2029 | CO
Ray D Nixon (1) | 207 | 2029 | CO
Natural Gas | 2579
Currant Creek | 545 | 2045 | UT
Gadsby 1 | 64 | 2032 | UT
Gadsby 2 | 69 | 2032 | UT
Gadsby 3 | 105 | 2032 | UT
Gadsby 4 | 40 | 2032 | UT
Gadsby 5 | 40 | 2032 | UT
Gadsby 6 | 40 | 2032 | UT
Hermiston | 234 | 2036 | OR
Jim Bridger 1 | 0 | 2037 | WY
Jim Bridger 2 | 0 | 2037 | WY
Lake Side 1 | 551 | 2047 | UT
Lake Side 2 | 644 | 2054 | UT
Naughton 3 | 247 | 2029 | WY
NWPP Northeast | 5033.2
Coal | 5033.2
Battle River 4 | 157 | 2029 | AB
Battle River 5 | 390 | 2029 | AB
Colstrip 3 | 74 | 2025 | MT
Colstrip 4 | 74 | 2025 | MT
Dave Johnston (1) | 133.6 | 2027 | WY
Dave Johnston (2) | 133.6 | 2027 | WY
Dave Johnston (3) | 255 | 2027 | WY
Dave Johnston (4) | 400 | 2027 | WY
Keephills 1 | 392 | 2022 | AB
Keephills 2 | 393 | 2022 | AB
Keephills 3 | 450 | 2020 | AB
Sheerness 1 | 389 | 2029 | AB
Sheerness 2 | 383 | 2029 | AB
Sundance 3 | 371 | 2018 | AB
Sundance 4 | 371 | 2022 | AB
Sundance 6 | 399 | 2022 | AB
Wyodak | 268 | 2039 | WY
NWPP Northwest | 725
Natural Gas | 725
Boulder Park | 0 | 2040 | WA
Chehalis | 491 | 2043 | WA
Hermiston | 234 | 2036 | OR
Northeast CT | 0 | 2035 | WA
Grand Total | 23012.3

## Fig_Retirements
| Desert Southwest | NWPP Central | NWPP Northeast | NWPP Northwest
Coal | 5328.5 | 13631 | 5033.2
Natural Gas |  | 2579 |  | 725

## Fig_Barchart_Time (2)
Sum of Nameplate Capacity
Desert Southwest
Year | Coal | Cumulative Coal
2020 | 671 | 671
2021 | 0 | 671
2022 | 924 | 1595
2023 | 0 | 1595
2024 | 425.9 | 2020.9
2025 | 0 | 2020.9
2026 | 0 | 2020.9
2027 | 424.8 | 2445.7
2028 | 0 | 2445.7
2029 | 0 | 2445.7
2030 | 1636.2 | 4081.9
2031 | 0 | 4081.9
2032 | 1246.6 | 5328.5
2033 | 0 | #N/A
2034 | 0 | #N/A
2035 | 0 | #N/A
2036 | 0 | #N/A
2037 | 0 | #N/A
2038 | 0 | #N/A
2039 | 0 | #N/A
2040 | 0 | #N/A
2041 | 0 | #N/A
2042 | 0 | #N/A
2043 | 0 | #N/A
2044 | 0 | #N/A
2045 | 0 | #N/A
NWPP Central
| Coal | Natural Gas | All Retirements | Cumulative Retirements
2020 | 0 | 0 | 0 | 0
2021 | 277.2 | 0 | 277.2 | 277.2
2022 | 0 | 0 | 0 | 277.2
2023 | 815.3 | 0 | 815.3 | 1092.5
2024 | 0 | 0 | 0 | 1092.5
2025 | 2088 | 0 | 2088 | 3180.5
2026 | 0 | 0 | 0 | 3180.5
2027 | 275.4 | 0 | 275.4 | 3455.9
2028 | 1253.4 | 0 | 1253.4 | 4709.3
2029 | 1035.4 | 247 | 1282.4 | 5991.7
2030 | 0 | 0 | 0 | 5991.7
2031 | 0 | 0 | 0 | 5991.7
2032 | 0 | 358 | 358 | 6349.7
2033 | 0 | 0 | 0 | 6349.7
2034 | 0 | 0 | 0 | 6349.7
2035 | 0 | 0 | 0 | 6349.7
2036 | 909 | 0 | 909 | 7258.7
2037 | 1216.6 | 0 | 1216.6 | 8475.3
2038 | 0 | 0 | 0 | 8475.3
2039 | 0 | 0 | 0 | 8475.3
2040 | 0 | 0 | 0 | 8475.3
2041 | 552.3 | 0 | 552.3 | 9027.6
2042 | 1158 | 0 | 1158 | 10185.6
2043 | 0 | 0 | 0 | 10185.6
2044 | 0 | 0 | 0 | 10185.6
2045 | 0 | 545 | 545 | 10730.6
2047 | 0 | 551 | 551 | 11281.6
2054 | 0 | 644 | 644 | 11925.6
2055 | 0 | 0 | 0 | 11925.6
NWPP Northeast
| Coal | Cumulative
2018 | 371 | 371
2020 | 450 | 821
2021 | 0 | 821
2022 | 1555 | 2376
2023 | 0 | 2376
2024 | 0 | 2376
2025 | 148 | 2524
2026 | 0 | 2524
2027 | 922.2 | 3446.2
2028 | 0 | 3446.2
2029 | 1319 | 4765.2
2030 | 0 | 4765.2
2031 | 0 | 4765.2
2032 | 0 | 4765.2
2033 | 0 | 4765.2
2034 | 0 | 4765.2
2035 | 0 | 4765.2
2036 | 0 | 4765.2
2037 | 0 | 4765.2
2038 | 0 | 4765.2
2039 | 0 | 4765.2
2040 | 268 | 5033.2
2041 | 0 | #N/A
2042 | 0 | #N/A
2043 | 0 | #N/A
2044 | 0 | #N/A
2045 | 0 | #N/A
NWPP Northwest
| Natural Gas | Cumulative
2020 | 0 | 0
2021 | 0 | 0
2022 | 0 | 0
2023 | 0 | 0
2024 | 0 | 0
2025 | 0 | 0
2026 | 0 | 0
2027 | 0 | 0
2028 | 0 | 0
2029 | 0 | 0
2030 | 0 | 0
2031 | 0 | 0
2032 | 0 | 0
2033 | 0 | 0
2034 | 0 | 0
2035 | 0 | 0
2036 | 234 | 234
2037 | 0 | 234
2038 | 0 | 234
2039 | 0 | 234
2040 | 0 | 234
2041 | 0 | 234
2042 | 0 | 234
2043 | 491 | 725
2044 | 0 | 725
2045 | 0 | #N/A
Resource Retirements Over Time by WECC Subregion (2020-2045)

## Fig_Barchart_Time
Sum of Nameplate Capacity
Desert Southwest
Year | Coal | Cumulative Coal
2020 | 671 | 671
2021 | 0 | 671
2022 | 924 | 1595
2023 | 0 | 1595
2024 | 425.9 | 2020.9
2025 | 0 | 2020.9
2026 | 0 | 2020.9
2027 | 424.8 | 2445.7
2028 | 0 | 2445.7
2029 | 0 | 2445.7
2030 | 1636.2 | 4081.9
2031 | 0 | 4081.9
2032 | 1246.6 | 5328.5
2033 | 0 | 5328.5
2034 | 0 | 5328.5
2035 | 0 | 5328.5
2036 | 0 | 5328.5
2037 | 0 | 5328.5
2038 | 0 | 5328.5
2039 | 0 | 5328.5
2040 | 0 | 5328.5
2041 | 0 | 5328.5
2042 | 0 | 5328.5
2043 | 0 | 5328.5
2044 | 0 | 5328.5
2045 | 0 | 5328.5
NWPP Central
| Coal | Natural Gas
2020 | 0
2021 | 277.2 | 0
2022 | 0 | 0
2023 | 815.3 | 0
2024 | 0 | 0
2025 | 2088 | 0
2026 | 0 | 0
2027 | 275.4 | 0
2028 | 1253.4 | 0
2029 | 1035.4 | 247
2030 | 0 | 0
2031 | 0 | 0
2032 | 0 | 358
2033 | 0 | 0
2034 | 0 | 0
2035 | 0 | 0
2036 | 909 | 0
2037 | 1216.6 | 0
2038 | 0 | 0
2039 | 0 | 0
2040 | 0 | 0
2041 | 552.3 | 0
2042 | 1158 | 0
2043 | 0 | 0
2044 | 0 | 0
2045 | 0 | 545
2047 | 0 | 551
2054 | 0 | 644
2055 | 0 | 0
NWPP Northeast
Coal
2018 | 371
2020 | 450
2021 | 0
2022 | 1555
2023 | 0
2024 | 0
2025 | 148
2026 | 0
2027 | 922.2
2028 | 0
2029 | 1319
2030 | 0
2031 | 0
2032 | 0
2033 | 0
2034 | 0
2035 | 0
2036 | 0
2037 | 0
2038 | 0
2039 | 0
2040 | 268
2041 | 0
2042 | 0
2043 | 0
2044 | 0
2045 | 0
NWPP Northwest
Natural Gas
2020 | 0
2021 | 0
2022 | 0
2023 | 0
2024 | 0
2025 | 0
2026 | 0
2027 | 0
2028 | 0
2029 | 0
2030 | 0
2031 | 0
2032 | 0
2033 | 0
2034 | 0
2035 | 0
2036 | 234
2037 | 0
2038 | 0
2039 | 0
2040 | 0
2041 | 0
2042 | 0
2043 | 491
2044 | 0
2045 | 0
Resource Retirements Over Time by WECC Subregion (2020-2045)

## Fig_StackedArea_Time
Sum of Nameplate Capacity
Desert Southwest
Year | Coal | Natural Gas
2020 | 671
2021 | 0
2022 | 924
2023 | 0
2024 | 425.9
2025 | 0
2026 | 0
2027 | 424.8
2028 | 0
2029 | 0
2030 | 1636.2
2031 | 0
2032 | 1246.6
2033 | 0
2034 | 0
2035 | 0
2036 | 0
2037 | 0
2038 | 0
2039 | 0
2040 | 0
2041 | 0
2042 | 0
2043 | 0
2044 | 0
2045 | 0
NWPP Central
| Coal | Natural Gas
2020
2021 | 277.2
2023 | 815.3
2025 | 2088
2027 | 275.4
2028 | 1253.4
2029 | 1035.4 | 247
2032 |  | 358
2036 | 909
2037 | 1216.6
2041 | 552.3
2042 | 1158
2043 | 0
2045 |  | 545
2047 |  | 551
2054 |  | 644
2055 |  | 0
NWPP Northeast
Coal
2018 | 371
2020 | 450
2022 | 1555
2025 | 148
2027 | 922.2
2029 | 1319
2039 | 268
2040 | 0
NWPP Northwest
Natural Gas
2035
2036 | 234
2040
2043 | 491
2044 | 0
Resource Retirements by WECC Subregion (2020-2045)