## Read Me
File Desc
To support PSE's 2023 IRP, Cadmus developed technical and achievable solar PV potential for the residential and commercial sectors. This file contains a summary of the technical and achievable potential from 2024 through 2050 with detailed data by building type. Cadmus used the National Renewable Energy Lab's Distributed Generation Market Demand Model (DGEN - https://www.nrel.gov/analysis/dgen/) to estimate technical and achievable potential. DGEN relies on LIDAR data to determine developable building rooftop square footage estimates and a bass diffusion model to simulate market adoption based on customer payback periods.
Key Assumptions
| Model Input | Value | Notes/Source
Residential
| Federal ITC | 2020–2022: 26%; 2023: 22%; after 2023: 30% | U.S. Department of Energy - Taking the Inflation Reduction Act into account
| PSE Incentives | 0 | PSE
| Loan term | 30 years | Modified from NREL 2021 Annual Technology Baseline (ATB) assumption
| Interest rate | 1.463% | NREL 2021 ATB
| Real discount rate | 1.835% | NREL 2021 ATB
| Down payment fraction | 24.2% | NREL 2021 ATB assumption
| Billing Type | Net metering through 2050 | PSE
| Solar costs (2021) | $3,197 per kilowatt | 2021 costs are based on historical PSE program costs. Costs decline according to NREL 2021 ATB “moderate” estimates
| Coefficient: p (innovation) | 0.001 | Developed based on calibration to historic PSE residential adoption
| Coefficient: q (imitation) | 0.25
Residential Vulnerable Population Adjustment
| Real discount rate | 3.671% | Modified from NREL 2021 ATB assumption following income-qualified research
| Coefficient: p (innovation) | 0.0002 | Developed based on calibration to historic PSE residential vulnerable population adoption. Vulnerable population adoption was infered from the 2021 Residential Customer Survey (RCS) responses about solar adoption relative to income level.
| Coefficient: q (imitation) | 0.005
| Historical Adoption | 4% of residential historic adoption | Based on 2021 RCS solar adoption for respondants with annual gross earnings less than $49,000 who adopted solar
Commercial
| Federal ITC | 2020–2022: 26%; 2023: 22%; after 2023: 30% | U.S. Department of Energy - Taking the Inflation Reduction Act into account
| PSE incentives | 0 | PSE
| Loan term | 30 years | NREL 2021 ATB
| Interest rate | 1.463% | NREL 2021 ATB
| Real discount rate | 1.83% | NREL 2021 ATB
| Down payment fraction | 24.1% | NREL 2021 ATB
| Billing Type | Net metering through 2050 | PSE
| Solar costs (2021) | $1,677 per kilowatt | 2021 costs are based on NREL 2021 ATB reporting. Costs decline according to NREL 2020 ATB “moderate” estimates
| Coefficient: p (innovation) | 0.0012 | Developed based on calibration to historic PSE residential adoption
| Coefficient: q (imitation) | 0.16
a The primary difference between net billing and net metering arrangements is how excess customer generation is valued. Under a net billing scenario, dGen assumes that each month’s excess generation is valued at the wholesale power rate. Under the net metering arrangement, excess generation is carried over as credits to following months, which can be applied to reduce the customer utility bill. The dGen model limits system sizing to not produce more energy annually than is consumed by a customer. Therefore, the investigated net metering scenario effectively reflects an annual true-up.

## Solar PV Summary
Notes:
All data is with degradation factor of 0.5%
All capacity values are nameplate capacity
Cumulative Solar PV Achievable Potential Comparison to 2021 IRP
| Sector | 2021 IRP 24-year Cumulative BAU Achievable Potential (MW) | 2023 IRP 27-year Cumulative Achievable Potential (MW) | 2023 IRP 24-year Cumulative Achievable Potential (MW)
| Residential | 80.1424 | 1084.183 | 961.4556
| Commercial | 229.0529 | 779.2267 | 518.9796
| Total | 309.1954 | 1863.4097 | 1480.4352
Rooftop Square Footage Assumptions by Segment
| Segment | Total Technically Available Rooftop Square Feet in 2022
Residential
| Single Family | 379700644.6775
| Multifamily | 25505631.783
| Manufactured | 41108530.7748
Commercial
| Hospital | 2934097.1016
| Large Hotel | 1331334.4071
| Large Office | 4348069.5059
| Medium Office | 6484097.5211
| Outpatient | 6666046.2418
| Primary School | 15160931.8282
| Restaurant | 2500462.15
| Retail | 34346713.099
| Secondary School | 19292691.664
| Small Hotel | 2739566.3695
| Small Office | 8045262.8041
| Strip Mall | 35727554.5679
| Warehouse | 87389825.1822
Installed PV Costs by Sector
PV Technical Potential (2024-2050)
| Sector | Total 2024 aMW | Installed Capacity 2024 MW | Total 2050 aMW | Installed Capacity 2050 MW
| Residential | 628.2081 | 5353.7255 | 952.4764 | 8158.0578
| Residential Vulnerable Population | 328.498 | 2809.508 | 500.1839 | 4281.1549
| Commercial | 493.7751 | 4144.6887 | 960.1339 | 8058.8533
| Total | 1450.4812 | 12307.9222 | 2412.7942 | 20498.0661
Solar PV Capacity Total Cumulative Achievable Potential by Sector (MW)
| Sector | 2022 | 2024 | 2026 | 2028 | 2030 | 2032 | 2034 | 2036 | 2038 | 2040 | 2042 | 2044 | 2046 | 2048 | 2050
| Residential |  | 30.0985 | 64.3664 | 133.0529 | 238.2847 | 349.2445 | 460.0706 | 561.7919 | 653.1166 | 734.5176 | 807.6272 | 876.2535 | 940.2699 | 992.5172 | 1055.2824
| Residential Vulnerable Population |  | 2.292 | 2.548 | 2.9095 | 3.54 | 4.4352 | 5.6455 | 7.1594 | 9.1107 | 11.4221 | 14.2444 | 17.4777 | 21.1857 | 24.4923 | 28.9006
| Commercial |  | 5.655 | 13.8927 | 25.7651 | 42.5398 | 64.9727 | 94.6532 | 133.3564 | 182.5405 | 244.4212 | 320.4441 | 412.0742 | 518.9796 | 642.5091 | 779.2267
| Total | 0 | 38.0456 | 80.8072 | 161.7275 | 284.3645 | 418.6524 | 560.3692 | 702.3078 | 844.7678 | 990.3608 | 1142.3157 | 1305.8054 | 1480.4352 | 1659.5186 | 1863.4097
Solar PV Total Cumulative Achievable Potential by Sector (aMW) 2024-2050
| Sector | 2022: 2050 (aMW); 2024: Installed Capacity 2050 MW (Nameplate)
| Residential | 2022: 122.8621; 2024: 1055.2824
| Residential Vulnerable Population | 2022: 3.3553; 2024: 28.9006
| Commercial | 2022: 92.843; 2024: 779.2267
| Total | 2022: 219.0605; 2024: 1863.4097
Residential Cumulative Achievable Capacity Adoption Relative to Historical Adoption (MW)
| Year | 2022: Residential Historical (MW); 2024: Residential Cumulative Achievable Capacity Potential (MW)
| 2004 | 2022: 0.04332
| 2006 | 2022: 0.237
| 2008 | 2022: 0.92067
| 2010 | 2022: 2.5119
| 2012 | 2022: 5.5114
| 2014 | 2022: 13.0579
| 2016 | 2022: 31.0642
| 2018 | 2022: 51.3552
| 2020 | 2022: 78.0311
| 2022 | 2022: 116.3108; 2024: 116.3108
| 2024 | 2024: 148.7014
| 2026 | 2024: 183.2253
| 2028 | 2024: 252.2732
| 2030 | 2024: 358.1356
| 2032 | 2024: 469.9905
| 2034 | 2024: 582.0268
| 2036 | 2024: 685.2622
| 2038 | 2024: 778.5381
| 2040 | 2024: 862.2505
| 2042 | 2024: 938.1824
| 2044 | 2024: 1010.042
| 2046 | 2024: 1077.7665
| 2048 | 2024: 1133.3203
| 2050 | 2024: 1200.4938
Commercial Cumulative Achievable Capacity Adoption Relative to Historical Adoption (MW)
| Year | 2022: Commercial Historical (MW); 2024: Commercial Cumulative Achievable Capacity Potential (MW)
| 2004 | 2022: 0.00558
| 2006 | 2022: 0.07949
| 2008 | 2022: 0.23451
| 2010 | 2022: 0.67727
| 2012 | 2022: 1.8434
| 2014 | 2022: 3.3769
| 2016 | 2022: 6.4761
| 2018 | 2022: 11.2007
| 2020 | 2022: 17.5506
| 2022 | 2022: 26.8551; 2024: 26.8551
| 2024 | 2024: 32.5101
| 2026 | 2024: 40.7478
| 2028 | 2024: 52.6201
| 2030 | 2024: 69.3948
| 2032 | 2024: 91.8278
| 2034 | 2024: 121.5083
| 2036 | 2024: 160.2115
| 2038 | 2024: 209.3956
| 2040 | 2024: 271.2762
| 2042 | 2024: 347.2992
| 2044 | 2024: 438.9293
| 2046 | 2024: 545.8347
| 2048 | 2024: 669.3641
| 2050 | 2024: 806.0818
Note on D13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Used to determine technical potential and takes into account viability of solar adoption on rooftops based on tilt, azimuth, and other limiting rooftop features
Note on E99: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Note that cumulative totals differ from above, because we are including years starting in 2004 in cumulative
Note on D109: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Includes forecast for 2022
Note on E126: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Note that cumulative totals differ from above, because we are including years starting in 2004 in cumulative
Note on D136: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Includes forecast for 2022