## Read_Me
Demand Forecast
This workbook contains the annual demand forecast data for the Electric System.
Electric Demand
The annual base electric demand for the PSE service territory in aMW.
The calculation includes base demand, EV demand, and savings from DSR including behind the meter solar
Electric Peak
The annual peak electric winter and summer demand for the PSE service territory in MW.
The calculation includes base demand, EV demand, and savings from DSR including behind the meter solar.

## Electric Demand
Puget Sound Energy 2023 IRP Electric Demand Forecast
| Base Forecast without EVs (aMW) | EVs (aMW) | Base Demand Forecast before DSR (aMW) (b)+(c) | 2023 IRP Conservation, Codes and Standards, Combined Heat and Power, and Distribution Efficiency (aMW) | 5 percent additional Conservation* (aMW) | Solar (aMW) | Base Demand Forecast after DSR (aMW) (d)-(e)-(f)-(g)
2024 | 2527.4364 | 23.2057 | 2550.6421 | 12.0008 | 0.37495 | 2.2204 | 2536.0459
2025 | 2558.5337 | 34.5595 | 2593.0932 | 37.3144 | 1.1998 | 5.1839 | 2549.395
2026 | 2585.1252 | 48.3209 | 2633.4461 | 66.9084 | 2.0518 | 6.3594 | 2558.1266
2027 | 2602.4454 | 64.4615 | 2666.907 | 98.5079 | 2.9328 | 7.8813 | 2557.5851
2028 | 2620.8947 | 82.864 | 2703.7587 | 126.8178 | 3.848 | 9.7665 | 2563.3264
2029 | 2644.2837 | 103.0864 | 2747.3701 | 164.3991 | 4.7903 | 13.2298 | 2564.9509
2030 | 2673.9492 | 125.0321 | 2798.9813 | 205.0187 | 5.7747 | 18.2977 | 2569.8902
2031 | 2705.5878 | 148.514 | 2854.1018 | 238.326 | 6.8164 | 23.4113 | 2585.5481
2032 | 2734.1791 | 173.5476 | 2907.7267 | 285.2516 | 7.8647 | 28.5382 | 2586.0721
2033 | 2755.9831 | 199.9661 | 2955.9492 | 334.1008 | 8.888 | 34.0463 | 2578.9141
2034 | 2787.9449 | 227.8596 | 3015.8045 | 362.6724 | 9.5863 | 39.7672 | 2603.7786
2035 | 2819.2182 | 256.9301 | 3076.1483 | 384.4485 | 9.9304 | 45.558 | 2636.2114
2036 | 2851.4211 | 287.0513 | 3138.4724 | 406.9955 | 10.3108 | 51.3511 | 2669.8151
2037 | 2879.8975 | 318.1624 | 3198.0599 | 430.9749 | 10.777 | 57.6604 | 2698.6475
2038 | 2903.0809 | 350.3311 | 3253.412 | 455.1641 | 11.276 | 64.1558 | 2722.816
2039 | 2931.5042 | 383.4773 | 3314.9815 | 479.7952 | 11.7934 | 70.9401 | 2752.4528
2040 | 2960.0608 | 417.7377 | 3377.7985 | 504.5391 | 12.3154 | 77.9116 | 2783.0323
2041 | 2988.4516 | 452.7708 | 3441.2224 | 527.367 | 12.7597 | 85.6612 | 2815.4344
2042 | 3008.7234 | 488.3672 | 3497.0906 | 550.5562 | 13.2427 | 93.6746 | 2839.6171
2043 | 3044.8187 | 524.5231 | 3569.3418 | 575.8004 | 13.7973 | 102.1342 | 2877.6099
2044 | 3070.7744 | 561.2157 | 3631.9901 | 600.8921 | 14.3071 | 110.8783 | 2905.9126
2045 | 3100.4719 | 598.2896 | 3698.7615 | 623.6464 | 14.7376 | 120.6597 | 2939.7178
*An additional 5 percent of Conservation, Combined Heat and Power, and Distribution Efficiency is applied to account for the 2013 general rate case Global Settlement. This 5 percent does not apply to Codes and Standards.
DSR = Demand Side Resources

## Electric Peak
Puget Sound Energy 2023 IRP December Electric Peak Forecast | [7 empty] | Puget Sound Energy 2023 IRP August Electric Peak Forecast
| Base Forecast without EVs (MW) | EVs (MW) | Base Demand Forecast before DSR (MW) (b)+(c) | 2023 IRP Conservation, Codes and Standards, Combined Heat and Power, and Distribution Efficiency (MW) | 5 percent additional Conservation* (MW) | Solar (MW) | Base Demand Forecast after DSR (MW) (d)-(e)-(f)-(g) |  | Base Forecast without EVs (MW) | EVs (MW) | Base Demand Forecast before DSR (MW) (b)+(c) | 2023 IRP Conservation, Codes and Standards, Combined Heat and Power, and Distribution Efficiency (MW) | 5 percent additional Conservation* (MW) | Solar (MW) | Base Demand Forecast after DSR (MW) (d)-(e)-(f)-(g)
2024 | 4681 | 72 | 4753 | 33.3438 | 0.95513 | 0.53706 | 4718.1641 | 2024 | 3762 | 58 | 3820 | 22.0435 | 0.56089 | 2.2093 | 3795.1863
2025 | 4702 | 101 | 4803 | 65.3106 | 1.9468 | 0.7698 | 4734.9728 | 2025 | 3835 | 82 | 3917 | 59.7055 | 1.5888 | 4.2622 | 3851.4435
2026 | 4746 | 132 | 4878 | 109.4103 | 2.9679 | 0.97979 | 4764.642 | 2026 | 3894 | 110 | 4004 | 103.7101 | 2.6484 | 5.6109 | 3892.0305
2027 | 4783 | 168 | 4951 | 144.9229 | 4.0337 | 0.98412 | 4801.0593 | 2027 | 3950 | 142 | 4092 | 147.8969 | 3.747 | 7.3483 | 3933.0078
2028 | 4814 | 207 | 5021 | 180.5968 | 5.1358 | 1.1011 | 4834.1664 | 2028 | 4001 | 177 | 4178 | 188.3833 | 4.8927 | 8.2757 | 3976.4483
2029 | 4855 | 249 | 5104 | 240.8717 | 6.2745 | 1.6053 | 4855.2485 | 2029 | 4086 | 214 | 4300 | 242.1275 | 6.0511 | 11.3101 | 4040.5113
2030 | 4904 | 293 | 5197 | 281.6947 | 7.4927 | 2.425 | 4905.3876 | 2030 | 4148 | 253 | 4401 | 295.8099 | 7.2738 | 14.8808 | 4083.0355
2031 | 4956 | 340 | 5296 | 323.4251 | 8.7651 | 3.4623 | 4960.3476 | 2031 | 4210 | 295 | 4505 | 341.9662 | 8.5586 | 19.2444 | 4135.2307
2032 | 4999 | 389 | 5388 | 401.3525 | 10.0212 | 3.4666 | 4973.1597 | 2032 | 4266 | 339 | 4605 | 409.9777 | 9.8422 | 26.4906 | 4158.6894
2033 | 5046 | 439 | 5485 | 444.5672 | 11.2526 | 3.3762 | 5025.804 | 2033 | 4325 | 384 | 4709 | 472.4872 | 11.1081 | 29.5802 | 4195.8245
2034 | 5097 | 491 | 5588 | 471.9492 | 11.669 | 4.3579 | 5100.0239 | 2034 | 4414 | 431 | 4845 | 511.4041 | 11.9011 | 33.3984 | 4288.2964
2035 | 5148 | 545 | 5693 | 500.8602 | 12.1287 | 4.926 | 5175.0851 | 2035 | 4474 | 479 | 4953 | 542.1252 | 12.3 | 37.7597 | 4360.8151
2036 | 5196 | 599 | 5795 | 530.1472 | 12.6551 | 7.2368 | 5244.9609 | 2036 | 4531 | 528 | 5059 | 575.4387 | 12.7603 | 41.7702 | 4429.0307
2037 | 5248 | 654 | 5902 | 561.879 | 13.3672 | 8.5725 | 5318.1813 | 2037 | 4592 | 577 | 5169 | 610.1996 | 13.2807 | 50.4289 | 4495.0908
2038 | 5286 | 709 | 5995 | 593.7052 | 14.0404 | 7.4792 | 5379.7752 | 2038 | 4643 | 627 | 5270 | 643.9899 | 13.7902 | 58.7945 | 4553.4255
2039 | 5330 | 766 | 6096 | 626.0201 | 14.7305 | 6.8145 | 5448.4348 | 2039 | 4697 | 678 | 5375 | 678.3524 | 14.3739 | 61.1215 | 4621.1522
2040 | 5375 | 823 | 6198 | 657.3527 | 15.3638 | 8.2912 | 5516.9923 | 2040 | 4752 | 729 | 5481 | 711.6226 | 14.9794 | 64.4436 | 4689.9544
2041 | 5423 | 881 | 6304 | 683.5062 | 15.8481 | 10.4223 | 5594.2235 | 2041 | 4807 | 781 | 5588 | 745.0629 | 15.4982 | 68.0946 | 4759.3443
2042 | 5469 | 938 | 6407 | 717.2056 | 16.7913 | 12.98 | 5660.0232 | 2042 | 4861 | 832 | 5693 | 779.0538 | 16.0558 | 75.7034 | 4822.187
2043 | 5514 | 995 | 6509 | 755.0043 | 17.6913 | 15.0111 | 5721.2933 | 2043 | 4914 | 883 | 5797 | 815.5567 | 16.6451 | 89.053 | 4875.7452
2044 | 5558 | 1052 | 6610 | 789.3811 | 18.4721 | 10.5755 | 5791.5713 | 2044 | 4966 | 934 | 5900 | 850.8074 | 17.1918 | 95.5563 | 4936.4445
2045 | 5608 | 1109 | 6717 | 818.325 | 19.0693 | 12.8488 | 5866.757 | 2045 | 5021 | 984 | 6005 | 883.6882 | 17.691 | 100.5608 | 5003.0601
*An additional 5 percent of Conservation, Combined Heat and Power, and Distribution Efficiency is applied to account for the 2013 general rate case Global Settlement. This 5 percent does not apply to Codes and Standards.
DSR = Demand Side Resources
Demand Response is not considered a demand side resourse, it is considered a supply side resource, therefore it was not subtracted off demand as a demand side resource.