## Flex Benefits
PSE 2023 ERP Flexibility Benefits
Please see Appendix H for more details about PSE's flexibility analysis model and benefit calculations.
All units in Table 1 of Flex Benefits sheet are in millions of 2029 dollars, except where otherwise specified.
Scenario: |  |  | Base portfolio or pivot case
Gen Cost Difference FMM - RT: |  |  | Sum of: start-up costs, fuel costs, variable O&M, and direct emissions (FMM model)
- Sum of: start-up costs, fuel costs, variable O&M, and direct emissions (RT model)
FMM Load Imbalance Energy Cost: |  |  | Sum of: (FMM Load - RT Load) * (PSE FMM LMP) / 4
FMM Gen Imbalance Energy Cost: |  |  | Sum of: (-1) * (FMM Energy - RT Energy) * (PSE FMM LMP) / 4
FMM Congestion Rent Return: |  |  | Sum of: (1/2) * (FMM Dynamic ETSR Net Interchange) * (PSE FMM LMP - EIM FMM LMP) / 4
Total Subhourly Cost Adder: |  |  | Sum of:
Gen Cost Difference FMM - RT
FMM Load Imbalance Energy Cost
FMM Gen Imbalance Energy Cost
FMM Congestion Rent Return
Diff from Base 2029: |  |  | Total Subhourly Cost Adder by Scenario - Total Subhourly Cost Adder of Base
Nameplate Capacity [MW]: |  |  | Capacity of resource for flex cost/(benefit) calculation
Flex Cost/(Benefit) [$/kW-yr, 2029 $]: |  |  | [(Diff from Base 2029) * 1e6] / [(Nameplate Capacity) * 1e3]
Flexibility Cost/Benefit Calculation Components
Scenario | Gen Cost Difference FMM - RT | FMM Load Imbalance Energy Cost | FMM Gen Imbalance Energy Cost | FMM Congestion Rent Return | Total Subhourly Cost Adder | Diff from Base 2029 | Nameplate Capacity [MW] | Flex Cost/ (Benefit) [$/kW-yr, 2029 $] | Scenario
Base | 1.6359 | 38.5057 | -20.2633 | -3.0738 | 16.8044
Battery 2hr | -0.31223 | 35.8218 | -16.8856 | -2.7474 | 15.8766 | -0.92783 | 100 | -9.2783 | Battery 2hr
Battery 4hr | -2.1556 | 40.342 | -23.8541 | -3.4242 | 10.9081 | -5.8963 | 100 | -58.9634 | Battery 4hr
Battery 6hr | -0.23045 | 39.653 | -20.7714 | -2.9191 | 15.732 | -1.0724 | 100 | -10.7241 | Battery 6hr
PHES | 0.18842 | 38.0153 | -18.8353 | -2.916 | 16.4525 | -0.35198 | 100 | -3.5198 | PHES
DR | -0.1353 | 30.8916 | -13.807 | -2.5657 | 14.3836 | -2.4208 | 100 | -24.2084 | DR
CCCT | 2.3155 | 31.69 | -17.0871 | -2.2854 | 14.633 | -2.1714 | 336 | -6.4625 | CCCT
CT | -1.2644 | 23.1305 | -6.3113 | -1.4615 | 14.0933 | -2.7111 | 225 | -12.0494 | CT
Recip | 0.78998 | 36.0001 | -17.3437 | -3.2745 | 16.1718 | -0.63259 | 18 | -35.144 | Recip
Table 1. Components used to estimate flexibility cost/benefit by resource addition.

## Flex Up Violations
PSE 2023 ERP Flexibility Benefits
Please see Appendix H for more details about PSE's flexibility analysis model and benefit calculations.
Table 1 contains for each case in hydro year 2029:
Flex Up Violations, FMM Intervals: |  |  | Total number of FMM intervals with flex up violations
Operating Hours with Flex Up Violations(s): |  |  | Total number of distinct operating hours containing at least one flex up violation
Hours/Day with Flex Up Violation: |  |  | Total number of distinct operating hours containing at least one flex up violation / 365 days
Table 2 contains the total number of operating hours with flex up violation by month in hydro year 2029.
Figure 1 is a graph of Table 2, showing number of operating hours with flex up violations by month.
Flex Up Violation Metrics
Scenario | Flex Up Violations, FMM Intervals | Operating Hours with Flex Up Violation(s) | Hours/Day with Flex Up Violation
Base | 1617 | 665 | 1.8219
Battery 2hr | 1448 | 638 | 1.7479
Battery 4hr | 1511 | 633 | 1.7342
Battery 6hr | 1432 | 618 | 1.6932
PHES | 1402 | 607 | 1.663
DR | 1247 | 539 | 1.4767
CCCT | 1280 | 541 | 1.4822
CT | 1285 | 557 | 1.526
Recip | 1629 | 673 | 1.8438
Table 1. Flex up violations by FMM interval, operating hours with any flex up violation, and distinct operating hours per day with flex up violations.
Operating Hours with Flex Up Violation by Month
Scenario | 2028-10-01 | 2028-11-01 | 2028-12-01 | 2029-01-01 | 2029-02-01 | 2029-03-01 | 2029-04-01 | 2029-05-01 | 2029-06-01 | 2029-07-01 | 2029-08-01 | 2029-09-01
Base | 19 | 19 | 35 | 61 | 30 | 17 | 22 | 13 | 17 | 166 | 138 | 128
Battery 2hr | 28 | 25 | 52 | 63 | 29 | 20 | 14 | 22 | 22 | 131 | 114 | 118
Battery 4hr | 30 | 31 | 50 | 63 | 34 | 27 | 26 | 11 | 17 | 133 | 104 | 107
Battery 6hr | 25 | 19 | 41 | 66 | 25 | 17 | 18 | 27 | 17 | 146 | 115 | 102
PHES | 20 | 22 | 47 | 58 | 27 | 16 | 12 | 30 | 13 | 139 | 113 | 110
DR | 16 | 14 | 33 | 52 | 26 | 19 | 18 | 14 | 9 | 121 | 116 | 101
CCCT | 21 | 11 | 38 | 54 | 32 | 14 | 16 | 14 | 12 | 133 | 125 | 71
CT | 20 | 22 | 27 | 54 | 20 | 13 | 21 | 15 | 12 | 147 | 121 | 85
Recip | 23 | 21 | 38 | 66 | 24 | 20 | 19 | 16 | 14 | 160 | 138 | 134
Table 2. Distinct operating hours with flex up violations by month.
Figure 1. Distinct operating hours with flex up violations by month.