## ChangeLog (hidden)
Change Log
Date | Details | Changed By
2025-02-11 | Removed external links from file (TBD) | Austin Doutre
Removed redundant named cells
Replaced PSE Logo on Incentive page to conform with guidelines
2025-03-25 | updated IncentiveEst cell I37 to "=H37/(B8+AdjCost)" Updated IncentiveEst cell E57 & E58 to be =IF(F58<1,0,IF(A50="Initial Grant Calc.",MIN(D58,AnnualTherms*0.8),IF(C38*0.8>D58,D58,C38*0.8))) so amount does not exceed real potential savings | Austin Doutre
2025-04-15 | updated IncentiveEst cell I37 to "=H37/(B8+AdjCost)" Updated IncentiveEst cell E53 & E54 to be =IF(F53<1,0,IF(A50="Initial Grant Calc.",MIN(D53,AnnualkWhs*0.05),IF(D37*0.05>D53,D53,D37*0.05))) so amount does not exceed achievable savings | Austin Doutre
2025-04-17 | Updated formulas on EEI SummaryTable, and consolidated the Hidden tables tied performance incentive rates to cells on Hidden tab Updated headers to reference Incentive & Screening sheet | Austin Doutre
2025-04-22 | Adding CBPS EUIt table for reference Also updated the AutoFund tables to the latest version (minor impact as calculation involves a ratio) Fixed Errors in Named cells | Austin Doutre
2025-04-25 | Updated term "Base" to "Implementation" to align with website. Updated measure cost formula to be proportional to the Total Cost, not max incentive. Set the grant/max incentive fields to be based on min of max energy savings or cost. | Austin Doutre
2025-04-28 | Updated formulas to remove "=+" at the start and replace with just "=" Fixed some spelling errors "perfromance" | Austin Doutre
2025-04-30 | Fixed some grant calculating formulas to multiply by project type, regardless of input for usage Reverted initial grant calculation to be equal to the measure cost. Will likely add a pop-up to inform user the maximum incentive per fuel type. | Austin Doutre
2025-05-01 | Added a note for when usage x incentive rates is lower than the project cost, thus limiting the maximum incentive And brought both chart calculation formulas to the side | Austin Doutre
2025-05-02 | Updated several formulas to merge MBCx and EBCx calculators Replaced Date field with CxPath field | Austin Doutre
2025-05-05 | Considering aligning the Economic calculations to follow Yr 0 covering all work before the performance begins, then Yr = 1st year post installation… | Austin Doutre
2025-05-07 | Adjusted conditional formatting and convention of Y0, Y1, Y2 etc. | Austin Doutre
2025-05-09 | Replaced lengthy text in formulas of looking up customer type to reference a named cell | Austin Doutre
2025-05-14 | Added a dynamic header for all sheets to reflect which Cx path is chosen Updated footer to be generic Updated formulas for name references/CxPath Updating Building type selection to reference CBPS list | Austin Doutre
2025-05-20 | Added Performance_Checks tab for persistence checks (may/may not be needed, but I figured I'd include it for reference) | Austin Doutre
2025-05-29 | Added the TRC formula added "PSE" to the chart title of incentives | Austin Doutre
2025-06-09 | Inserting SOW and setting form templates with '(REF)' in tab name | Austin Doutre
2025-07-18 | Changed EEI to EEM | Austin Doute
??Update Incentive values? Color-code tabs (REF-Red (hidden?), Prescreen & IncentiveEst-Green, anything else-Gray?)??
2025-07-31 | Removed links within Conditional Formatting to old Tune-up workbook | Austin Doutre
2025-09-18 | Fixed some MBCx formulas | Austin Doutre

## Hidden (hidden)
List for Program Grant Amounts | [13 empty] | 2019 CBSA Data - Typical PSE Comparison | [8 empty] | Table 7-2a Building Activity Site Energy Targets (EUIt1)(I-P Units)
Customer Type | MBCx Implementation Cost & Rate $/sf | EBCx Implementation Cost $/sf | EBCx Implementation Rate $/sf | Assessment | gas | elec | elec savings | gas savings |  | PSE Cx Path |  | Full Description | repeat acronym | PSE Electric EUI (kWh/SF) |  |  |  | PSE Gas EUI (therms) | [5 empty] | Building Activity Type1,2 |  |  | Climate Zone 4C or 5C | Climate Zone 5B or 6B | Corresponding CBSA Building Type | Filtered List
All PSE (gas/elec) | 0.15 | 0.15 | 0.35 | 5000 | 1 | 1 | 5% | 5% |  | EBCx | Existing Building Cx | Existing Building Commissioning (EBCx) | EBCx | Type | Median | Q1 | Q3 | Type | Median | Q1 | Q3 |  | No. | Portfolio Manager Types | Portfolio Manager | Notes | EUIt | EUIt |  | Ambulatory Surgical Center | 0 | 90 | 96 | Office
All PSE (all elec) | 0.15 | 0.15 | 0.35 | 5000 | 0 | 1 | 5% | 0% |  | MBCx | Monitoring-Based Cx | Monitoring-Based Commissioning (MBCx) | MBCx | Assembly | 7.9287 | 2.4 | 16 | Assembly | 0.44444 | 0.19 | 0.43 |  |  |  | Sub-Types/Detailed |  |  |  |  | Bank Branch | 0 | 69 | 71 | Office
PSE elec/other gas | 0.1 | 0.1 | 0.25 | 4000 | 0 | 1 | 5% | 0% |  | EBCx+MBCx | Existing Bldg + Monitoring Based Cx | Existing Building + Monitoring-Based Commissioning (EBCx+MBCx) | EBCx+MBCx | Grocery | 40.2307 | 41 | 73 | Grocery | 0.57326 | 0.42 | 0.61 |  |  |  | Select Building Activity Type → |  | - | - |  | Financial Office | 0 | 69 | 71 | Office
PSE gas/other elec | 0.05 | 0.1 | 0.15 | 2000 | 1 | 0 | 0% | 10% | [5 empty] | Lodging | 10.8867 | 11 | 14 | Lodging | 0.43015 | 0.27 | 0.48 | Office | 3 | Education | Adult Education |  | 49 | 51 | School | Medical Office - Healthcare | 3 | 60 | 65 | Office
[9 empty] | * SCL Tuneup requirement to end in 2026, can revert to PSE gas and other elec |  |  |  |  | Office | 11.8439 | 7.8 | 18 | Office | 0.16486 | 0.13 | 0.34 | Office | 50 | Healthcare | Ambulatory Surgical Center |  | 90 | 96 | Office | Medical Office - Office | 3 | 60 | 65 | Office
[14 empty] | Other | 6.3892 | 4.8 | 22 | Other | 0.36156 | 0.42 | 0.83 | School | 10 | Entertainment/public assembly | Aquarium |  | 55 | 59 | Assembly | Office (Admin/professional office) | 0 | 63 | 66 | Office
|  | Performance Rate | [5 empty] | EEI SummaryTable |  |  | Dynamic Input |  |  | Residential Care | 14.7362 | 11 | 24 | Residential Care | 0.41015 | 0.23 | 0.4 | School | 86 | Retail | Automobile Dealership |  | 59 | 66 | Retail | Office (Bank/other financial) | 0 | 69 | 71 | Office
Therm Incentive |  | 2 | per therm |  | therm | Initial Grant Calc. |  | Y |  |  | PSE Gas | 1 |  | Food Service | 39.613 | 20 | 39 | Food Service | 2.4757 | 0.86 | 1.7 | School | 1 | Banking/financial services | Bank Branch |  | 69 | 71 | Office | Office (Government office) | 0 | 66 | 69 | Office
kWh Incentive |  | 0.1 | per kWh |  | kWh | Performance Calc. |  | N |  |  | PSE Electric | 1 |  | Retail | 9.5914 | 4 | 14 | Retail | 0.29059 | 0.2 | 0.33 | School | 11 | Entertainment/public assembly | Bar/Nightclub - Entertainment/public assembly |  | 55 | 59 | Assembly | Office (Medical office (diagnostic)) | 3 | 60 | 65 | Office
[14 empty] | School | 7.392 | 6.7 | 10 | School | 0.22459 | 0.37 | 0.51 | School | 35 | Food sales and service | Bar/Nightclub - Food sales and service |  | 361 | 378 | Restaurant | Office (Other office) | 0 | 66 | 68 | Office
[14 empty] | Warehouse | 3.716 | 1.2 | 3.6 | Warehouse | 0.14154 | 0.054 | 0.21 | School | 58 | Lodging/residential | Barracks |  | 88 | 90 | Lodging | Other - Office | 0 | 66 | 68 | Office
Copy/Paste (Values only) PSE Avoided Costs and Rate Schedules from latest release of AutoFund, only references Green cell | [13 empty] | Hospital |  |  |  | Hospital |  |  |  | School | 12 | Entertainment/public assembly | Bowling Alley |  | 73 | 78 | Assembly | Outpatient Rehabilitation/Physical Therapy | 0 | 90 | 96 | Office
Electric Cost Effectiveness Standard (¢ per kWh) 2026/2027 | [7 empty] | Gas Conservation Cost Effectiveness Standard ($/therm) 2026/2027 | [5 empty] | Restaurant |  |  |  | Restaurant |  |  |  | Assembly | 13 | Entertainment/public assembly | Casino |  | 55 | 59 | Assembly | Urgent Care/Clinic/Other Outpatient | 0 | 90 | 96 | Office
Updated: 12/29/25 | [7 empty] | Updated: 12/29/25 | [13 empty] | Assembly | 4 | Education | College/University |  | 102 | 102 | School | Veterinary Office | 0 | 90 | 96 | Office
Measure Life | Elec Space Htg | Summer Clg | Hot Water (DHW) | Refrigeration | Misc. | Lighting (Horticulture Only) |  | Measure Life | NG Space Htg | Hot Water (DHW) | Process | [10 empty] | Assembly | 36 | Food sales and service | Convenience Store with Gas Station |  | 244 | 253 | Grocery
1 | 24.3527 | 26.5258 | 17.362 | 15.4118 | 16.0305 | 15.8979 |  | 1 | 1.8912 | 1.6483 | 1.6477 | [10 empty] | Assembly | 87 | Retail | Convenience Store with Gas Station |  | 260 | 269 | Grocery
2 | 47.1359 | 51.3652 | 33.6119 | 29.8294 | 31.0334 | 30.7712 |  | 2 | 3.6494 | 3.1795 | 3.1785 | [10 empty] | Assembly | 37 | Food sales and service | Convenience Store without Gas Station |  | 260 | 269 | Grocery
3 | 68.269 | 74.391 | 48.6149 | 43.0905 | 44.8578 | 44.483 |  | 3 | 5.2877 | 4.6188 | 4.6168 | [10 empty] | Assembly | 88 | Retail | Convenience Store without Gas Station |  | 244 | 253 | Grocery
4 | 87.7816 | 95.7989 | 62.4237 | 55.2856 | 57.5729 | 57.0854 |  | 4 | 6.8166 | 5.9813 | 5.9788 | [10 empty] | Assembly | 14 | Entertainment/public assembly | Convention Center |  | 50 | 52 | Assembly
5 | 105.8063 | 115.7666 | 75.0717 | 66.5203 | 69.2657 | 68.6451 |  | 5 | 8.4408 | 7.4503 | 7.4473 | [10 empty] | Assembly | 76 | Public services | Courthouse |  | 101 | 106 | Other
Note: These costs include Energy, Capacity, Social Cost of Carbon, Renewable Premium and Equity Premium AND the 10% conservation Credit to energy and capacity | [7 empty] | Note: These costs include energy, capacity, social cost of carbon and CCA price, and the 10% conservation credit. | [13 empty] | Assembly | 100 | Technology/science | Data Center | 6 | No EUIt | No EUIt | Other
| SCL Rates |  |  | Demand ($ / kW) | [17 empty] | Assembly | 111 | Warehouse/storage | Distribution Center |  | 36 | 44 | Warehouse
| Small GS |  | 0.0973 | [18 empty] | Assembly | 89 | Retail | Enclosed Mall | 5 | 58 | 64 | Retail
| Medium GS |  | 0.077513 | [18 empty] | Assembly | 108 | Utility | Energy/Power Station | 7 | see footnote 7 | see footnote 7
| Large GS |  | 0.089286 | [18 empty] | Assembly | 38 | Food sales and service | Fast Food Restaurant |  | 427 | 454 | Restaurant
| High Demand GS |  | 0.0809 | [18 empty] | Assembly | 2 | Banking/financial services | Financial Office |  | 69 | 71 | Office
Sch_Elec (10-01-23) | PSE Rates | Rates_Elec (¢ / kWh) |  |  | Sch_NG (10-01-23) | Rates_NG ($ / therm) | [15 empty] | Assembly | 77 | Public services | Fire Station |  | 65 | 68 | Other
| Sch 8 | 10.9569 | 0.10957 |  | Sch 31 | 1.3987 |  | Implementation Cost | [13 empty] | Assembly | 15 | Entertainment/public assembly | Fitness Center/Health Club/Gym |  | 73 | 78 | Assembly
| Sch 11 (<20,000 kWh/mo) | 10.6685 | 0.10669 |  | Sch 41 < 5,000 | 0.96008 |  | 0.05 | [13 empty] | Assembly | 40 | Food sales and service | Food Sales (Convenience store with gas) |  | 260 | 269 | Grocery
| Sch 11 (>20,000 kWh/mo) | 8.5141 | 0.085141 |  | Sch 41 > 5,000 | 0.94388 |  | 0.1 | [13 empty] | Assembly | 41 | Food sales and service | Food Sales (Convenience store) |  | 244 | 253 | Grocery
| Sch 12 - Primary | 6.9988 | 0.069988 |  | Sch 85 Interruptible <25k | 0.98515 |  | 0.15 | [13 empty] | Assembly | 39 | Food sales and service | Food Sales (Grocery/food market) |  | 191 | 198 | Grocery
| Sch 12 - Secondary | 7.139 | 0.07139 |  | Sch 85 Interruptible 25-50k | 0.91708 | [15 empty] | Assembly | 42 | Food sales and service | Food Sales (Other food sales) |  | 184 | 189 | Grocery
| Sch 24 | 11.6258 | 0.11626 |  | Sch 85 Interruptible >50k | 0.91271 | [15 empty] | Assembly | 43 | Food sales and service | Food Service (Fast food) |  | 427 | 454 | Restaurant
| Sch 25 (<20,000 kWh/mo) | 11.3374 | 0.11337 |  | Sch 86 Interruptible <1,000 | 1.0383 | [15 empty] | Assembly | 45 | Food sales and service | Food Service (Other food service) |  | 293 | 308 | Restaurant
| Sch 25 (>20,000 kWh/mo) | 9.183 | 0.09183 |  | Sch 86 Interruptible >1,000 | 0.98985 | [15 empty] | Assembly | 44 | Food sales and service | Food Service (Restaurant/cafeteria) |  | 361 | 378 | Restaurant
| Sch 26 - Primary | 7.6677 | 0.076677 |  | Sch 87 Interruptible <25k | 1.0911 | [15 empty] | Assembly | 51 | Healthcare | Hospital (General Medical & Surgical)* |  | 215 | 215 | Hospital
| Sch 26 - Secondary | 7.8079 | 0.078079 |  | Sch 87 Interruptible 25-50k | 0.99498 | [15 empty] | Assembly | 59 | Lodging/residential | Hotel |  | 68 | 72 | Lodging
| Sch 29 (<20,000 kWh/mo) | 9.9064 | 0.099064 |  | Sch 87 Interruptible 50-100k | 0.9416 | [15 empty] | Restaurant | 60 | Lodging/residential | Hotel (Motel or inn) |  | 74 | 77 | Lodging
| Sch 29 (>20,000 kWh/mo) | 8.3537 | 0.083538 |  | Sch 87 Interruptible 100-200k | 0.90808 | [15 empty] | Grocery | 16 | Entertainment/public assembly | Ice/Curling Rink |  | 73 | 78 | Assembly
| Sch 31 | 7.4155 | 0.074155 |  | Sch 87 Interruptible 200-500k | 0.8913 | [15 empty] | Grocery | 17 | Entertainment/public assembly | Indoor Arena |  | 67 | 70 | Assembly
| Sch 40-HV | 5.0739 | 0.050739 |  | Sch 87 Interruptible >500k | 0.87459 | [15 empty] | Restaurant | 5 | Education | K-12 School (Elementary/middle school) |  | 49 | 50 | School
| Sch 40-Primary | 5.1729 | 0.051729 | [18 empty] | Grocery | 6 | Education | K-12 School (High school) |  | 48 | 49 | School
| Sch 40-Secondary | 5.3848 | 0.053848 | [18 empty] | Grocery | 101 | Technology/science | Laboratory |  | 237 | 249 | Hospital
| Sch 43 | 7.539 | 0.07539 | [18 empty] | Grocery | 78 | Public services | Library |  | 56 | 59 | Other
| Sch 46 | 6.2345 | 0.062345 | [18 empty] | Grocery | 93 | Retail | Lifestyle Center | 4 |  |  | Retail
| Sch 49 | 6.524 | 0.06524 | [18 empty] | Restaurant | 90 | Retail | Lifestyle Center (Enclosed mall) | 5 | 58 | 64 | Retail
[22 empty] | Restaurant | 91 | Retail | Lifestyle Center (Other retail) |  | 55 | 62 | Retail
[22 empty] | Restaurant | 92 | Retail | Lifestyle Center (Retail store) |  | 68 | 75 | Retail
[22 empty] | Restaurant | 79 | Public services | Mailing Center/Post Office |  | 51 | 54 | Other
| New Construction - Electric | New Construction - Natural Gas | Retrofit - Electric | Retrofit - Natural Gas | [17 empty] | Restaurant | 52 | Healthcare | Medical Office - Healthcare | 3 | 60 | 65 | Office
Discount Rate | 6.8% | 6.8% | 6.8% | 6.8% | [17 empty] | Grocery | 68 | Office | Medical Office - Office | 3 | 60 | 65 | Office
Admin (% of MC) | 15% | 15% | 15% | 15% | [16 empty] | see footnote 4 | Retail | 67 | Mixed use | Mixed Use Property | 4 | Mixed | Mixed | Other
[22 empty] | Office | 18 | Entertainment/public assembly | Movie Theater |  | 67 | 70 | Assembly
Annual Maint. Commitment ($$): |  | 1000 | [19 empty] | Hospital | 61 | Lodging/residential | Multifamily Housing |  | 32 | 33 | Lodging
[22 empty] | Office | 19 | Entertainment/public assembly | Museum |  | 67 | 70 | Assembly
[22 empty] | Hospital | 112 | Warehouse/storage | Nonrefrigerated Warehouse |  | 36 | 44 | Warehouse
[22 empty] | Office | 69 | Office | Office (Admin/professional office) |  | 63 | 66 | Office
[22 empty] | Residential Care | 70 | Office | Office (Bank/other financial) |  | 69 | 71 | Office
[22 empty] | Residential Care | 71 | Office | Office (Government office) |  | 66 | 69 | Office
[22 empty] | Office | 72 | Office | Office (Medical office (diagnostic)) | 3 | 60 | 65 | Office
[22 empty] | Lodging | 73 | Office | Office (Other office) |  | 66 | 68 | Office
[22 empty] | Lodging | 9 | Education | Other - Education |  | 49 | 51 | School
[22 empty] | Lodging | 28 | Entertainment/public assembly | Other - Entertainment/Public Assembly (Entertainment/culture) |  | 67 | 70 | Assembly
[22 empty] | Lodging | 30 | Entertainment/public assembly | Other - Entertainment/Public Assembly (Other public assembly) |  | 55 | 59 | Assembly
[22 empty] | Lodging | 31 | Entertainment/public assembly | Other - Entertainment/Public Assembly (Recreation) |  | 73 | 78 | Assembly
[22 empty] | Lodging | 32 | Entertainment/public assembly | Other - Entertainment/Public Assembly (Social/meeting) |  | 50 | 52 | Assembly
[22 empty] | Lodging | 29 | Entertainment/public assembly | Other - Entertainment/Public Assembly Library (Entertainment/culture) |  | 56 | 59 | Assembly
[22 empty] | Residential Care | 66 | Lodging/residential | Other - Lodging/Residential |  | 71 | 74 | Lodging
[22 empty] | Residential Care | 75 | Office | Other - Office |  | 66 | 68 | Office
[22 empty] | Other | 84 | Public services | Other - Public Service |  | 66 | 69 | Other
[22 empty] | Office | 33 | Entertainment/public assembly | Other - Recreation |  | 73 | 78 | Assembly
[22 empty] | Office | 49 | Food sales and service | Other - Restaurant/Bar |  | 361 | 378 | Restaurant
[21 empty] | see footnote 4 | Office | 99 | Retail | Other - Retail/Mall | 4 | Mixed | Mixed | Retail
[22 empty] | Office | 98 | Retail | Other - Retail/Mall (Enclosed mall) | 5 | 58 | 64 | Retail
[22 empty] | Office | 107 | Services | Other - Services |  | 66 | 69 | Retail
[22 empty] | Office | 57 | Healthcare | Other - Specialty Hospital |  | 196 | 196 | Hospital
[22 empty] | Office | 34 | Entertainment/public assembly | Other - Stadium |  | 67 | 70 | Assembly
[22 empty] | Office | 102 | Technology/science | Other - Technology/Science (Other service) |  | 66 | 69 | Other
[22 empty] | Other | 109 | Utility | Other - Utility | 7 | see footnote 7 | see footnote 7
[22 empty] | Other | 53 | Healthcare | Outpatient Rehabilitation/Physical Therapy |  | 90 | 96 | Office
[22 empty] | Other | 20 | Entertainment/public assembly | Performing Arts |  | 55 | 59 | Assembly
[22 empty] | Other | 103 | Services | Personal Services (Health/Beauty, Dry Cleaning, etc.) |  | 66 | 69 | Retail
[22 empty] | Other | 80 | Public services | Police Station |  | 65 | 68 | Other
[22 empty] | Other | 7 | Education | Preschool/Daycare |  | 59 | 59 | School
[22 empty] | Other | 62 | Lodging/residential | Prison/Incarceration |  | 101 | 106 | Lodging
[22 empty] | Other | 81 | Public services | Prison/Incarceration |  | 101 | 106 | Other
[22 empty] | Other | 21 | Entertainment/public assembly | Race Track |  | 67 | 70 | Assembly
[22 empty] | Assembly | 113 | Warehouse/storage | Refrigerated Warehouse |  | 121 | 126 | Warehouse
[22 empty] | Retail | 104 | Services | Repair Services (Repair shop) |  | 36 | 39 | Retail
[22 empty] | Grocery | 105 | Services | Repair Services (Vehicle service/repair shop) |  | 60 | 64 | Retail
[22 empty] | Grocery | 106 | Services | Repair Services (Vehicle storage/maintenance.) |  | 41 | 44 | Retail
[22 empty] | Retail | 63 | Lodging/residential | Residence Hall/Dormitory |  | 88 | 90 | Lodging
[22 empty] | Retail | 54 | Healthcare | Residential Care Facility |  | 78 | 82 | Residential Care
[22 empty] | Retail | 64 | Lodging/residential | Residential Care Facility |  | 78 | 82 | Residential Care
[22 empty] | Retail | 46 | Food sales and service | Restaurant |  | 361 | 378 | Restaurant
[22 empty] | Retail | 94 | Retail | Retail Store |  | 68 | 75 | Retail
[22 empty] | Retail | 22 | Entertainment/public assembly | Roller Rink |  | 73 | 78 | Assembly
[22 empty] | Retail | 110 | Warehouse/storage | Self-Storage Facility |  | 36 | 44 | Warehouse
[22 empty] | Retail | 55 | Healthcare | Senior Care Community |  | 78 | 82 | Residential Care
[22 empty] | Retail | 65 | Lodging/residential | Senior Care Community |  | 78 | 82 | Residential Care
[22 empty] | Gorcery | 23 | Entertainment/public assembly | Social/Meeting Hall |  | 50 | 52 | Assembly
[22 empty] | Retail | 82 | Public services | Social/Meeting Hall |  | 50 | 52 | Other
[22 empty] | Retail | 24 | Entertainment/public assembly | Stadium (Closed) |  | 67 | 70 | Assembly
[22 empty] | Retail | 25 | Entertainment/public assembly | Stadium (Open) |  | 67 | 70 | Assembly
[21 empty] | see footnote 4 | Retail | 95 | Retail | Strip Mall | 4 | Mixed | Mixed | Retail
[22 empty] | Retail | 47 | Food sales and service | Supermarket/Grocery Store |  | 191 | 198 | Grocery
[22 empty] | Retail | 96 | Retail | Supermarket/Grocery Store |  | 191 | 198 | Grocery
[22 empty] | Other | 26 | Entertainment/public assembly | Swimming Pool |  | 73 | 78 | Assembly
[22 empty] | Hospital | 83 | Public services | Transportation Terminal/Station |  | 55 | 59 | Other
[22 empty] | Other | 56 | Healthcare | Urgent Care/Clinic/Other Outpatient |  | 90 | 96 | Office
[22 empty] | Other | 74 | Office | Veterinary Office |  | 90 | 96 | Office
[22 empty] | Other | 8 | Education | Vocational School |  | 49 | 51 | School
[22 empty] | Warehouse | 48 | Food sales and service | Wholesale Club/Supercenter |  | 68 | 75 | Retail
[22 empty] | Warehouse | 97 | Retail | Wholesale Club/Supercenter |  | 68 | 75 | Retail
[22 empty] | Warehouse | 85 | Religious worship | Worship Facility |  | 39 | 42 | Assembly
[22 empty] | Warehouse | 27 | Entertainment/public assembly | Zoo |  | 55 | 59 | Assembly
[23 empty] | Notes: | 1. Select the most specific building activity type that applies.
2. For building type definitions see Energy Star portfolio manager definitions except as follows:
Data center: Is an activity space designed and equipped to meet the needs of high density computing equipment, such as server racks, used for data storage and processing, including dedicated uninterruptible power supplies and cooling systems and require a constant power load of 75 kW or more. Gross floor area shall only include space within the building including raised floor computing space, server rack aisles, storage silos, control console areas, battery rooms and mechanical rooms for dedicated cooling equipment. Gross floor area shall not include a server closet, telecommunications equipment closet, computer training area, office, elevator, corridors, or other auxiliary space.
Urgent care center/clinic/other outpatient office means the buildings used to diagnose and treat patients, usually on an unscheduled, walk-in basis, who have an injury or illness that requires immediate care but is not serious enough to warrant a visit to an emergency department. Includes facilities that provide same-day surgical, diagnostic and preventive care.
3. All medical offices considered to be diagnostic type.
4. Must use of Section 7.2.3 method for mixed use buildings.
5. Suggest considering use of Section 7.2.3 method for mixed use buildings.
6. This is a building or activity without an energy target. Included to provide definition only.
7. This is a building or activity without an energy target. This may be exempt from the standard, see Section Z4.1 2, d.
Note on C56: Jason Hyatt: Additional cost accrued each year in order to verify efficient operation (persistence checks).

## Project Path
How do I know if my project is a controls project versus EBCx, MBCx, HVAC Capital, O&M, or P4P?
HVAC Controls is suitable if you are adding or improving sequences of operation and ensuring that all sequences meet the 2021 Washington State Energy Code (WSEC) Requirements (in section C403). New controls hardware is typically included but not required. A base incentive correlated to 3-5% annual building consumption is paid upon project completion and verification. There is a 1-year performance period, with a performance incentive paid if final savings exceed base savings.
Existing Building Commissioning (EBCx) is suitable if you are going through a whole-building Cx process with plans to implement the < 2-year payback measures identified. An assessment incentive is paid upon initial investigation/walk-through of the building to identify opportunities. A $/sqft implementation incentive is paid upon implementation of the measures, delivery of the final investigation report and all verification documentation. There is a 1-year performance period, with a performance incentive paid if final savings exceed 6% of annual metered consumption. This may identify new or improved sequences of operations without requiring all sequences being brought up to code; however, if a full controls upgrade is identified and warranted, PSE can transition the project to HVAC Controls.
Monitoring-Based Commissioning (MBCx) is suitable if you are implementing a technological path for an ongoing commissioning process by deploying an FDD software application to continually monitor, identify, and fix issues with the building's operation. This may include adds/improves to isolated sequences of operations without requiring all sequences being brought up to code. A $/sqft implementation incentive is paid upon project completion and once all verification documentation is provided. There are two 1-year performance periods, each with a performance incentive paid if final savings exceed 6% of annual metered consumption.
HVAC Capital Upgrade is suitable if you are adding HVAC hardware and/or controls function but are not bringing all sequences up to code. Qualifying measures are funded at $0.45/kWh and $8/Therm, up to 70% of the cost. The project will be analyzed using one of the following two options: A custom-calculated option is available for measures which can have savings calculated reliably (e.g. DCV, fan VFD). The incentive is paid upon project completion and verification. There is no performance incentive. A performance-only option is available for measures with at least 3% estimated annual metered savings. The incentive is paid after a 1-year performance period if the savings meet or exceed 3%. There is no base incentive.
HVAC Operations & Maintenance (O&M) is suitable if you are tuning and/or fixing existing hardware and/or functions but are not utilizing a formal assessment or approved implementer, and you are not bringing all sequences up to code. Qualifying measures are funded at $0.10/kWh and $2/Therm, up to 100% of the cost. The project will be analyzed using one of the following two options: A custom-calculated option is available for O&M measures which can have savings calculated reliably (e.g. lighting and/or basic HVAC schedule adjustments). The incentive is paid upon project completion and verification. There is no performance incentive. A performance-only option is available for measures with at least 3% estimated annual metered savings. The incentive is paid after a 1-year performance period if the savings meet or exceed 3%. There is no base incentive.
Pay for Performance (P4P) is suitable if you are pursuing at least two capital measures (one of which can be HVAC controls) to be installed within a 12-month period with anticipated site savings over 15% (or 10% if PSE gas only). An implementation incentive correlated to 5% annual building consumption is paid upon project completion and verification. There are two 1-year performance periods, each with a performance incentive paid if final savings exceed previously claimed savings.

## Instructions
Process Steps for the Contractor or Commissioning Project Lead | Process Steps for PSE
Setting Up the Assessment Grant (-NA for MBCx projects-) | Setting Up the Assessment Grant (-NA for MBCx projects-)
1. Obtain signed data release form from the customer for all affected accounts. | 1. Conduct Scope Review meeting with the contractor and review the submitted "Pre-screen+Assessment" page if one has been submitted.
2. Ensure that you are using the most recent version of the Workbook by downloading it from the PSE webpage. | 2. If building is approved, create the Assessment QC Packet. Use SoW template within Cx "M&V" folder H: drive
3. Fill out the "Pre-Screen+Assessment" tab, inputting information into all yellow cells.
4. Schedule Scope Review meeting with PSE to go over the project and determine the most likely incentive pathway (commissioning@pse.com) | Paying the Assessment Grant (-NA for MBCx projects-)
5. If moving forward, submit a PSE Grant Application. | 1. Receive the final Assessment invoices and Assessment Report from the contractor.
6. Work with the assigned PSE Energy Management Engineer to answer any other questions and execute the grant agreement. | 2. Review the submitted information and confirm that the requirements are met.
3. Assemble a payment request for the Assessment grant.
Getting the Assessment Grant Paid (-NA for MBCx projects-)
Send the following to PSE:
1. Final invoices for Assessment scope | Setting Up the Commissioning Grant
2. Assessment Report | 1. Request additional site info to confirm the values on the "IncentiveEst" tab.
3. Send PSE a draft of the Cx Investigation Plan for reference | 2. Email the customer and contractor the Implementation + Performance incentive estimates from the "IncentiveEst" tab.
3. Schedule a kick-off meeting with PSE and customer to go over incentive potential and next steps
4. With the go-ahead to proceed, create the QC packet. Use SoW template within Cx "M&V" folder H: drive
Setting up the Commissioning Grant
1. Confirm with PSE and customer that continuing on with Commissioning is the best incentive path forward | Paying the Implementation Phase
2. Fill out the "IncentiveEst" tab, inputting information into all yellow cells. Send a copy to PSE. | 1. Receive the final invoices, Facility Guide, (MBCx -MBCx Plan and 1st Quarterly report) from Cx Provider
2. Review the submitted information and confirm that the requirements have been met.
Getting the Implementation Phase Paid | 3. Assemble a partial payment request for the Implementation grant.
Send the following to PSE: | 4. Mark your Outlook calendar for 6 months and 12 months after the date when the controls were fully commissioned for the mid-year savings
1. Final invoices (Commissioning Provider's fee, Implementation work, in-house staff hours, *MBCx software) | check-in and final performance analysis, respectively. (MBCx - additional check-ins at 18 and 24 months)
2. Facility Guide document (contains elements of Final Cx Report)
3. (MBCx) MBCx Plan | Paying the Performance Phase(s)
1. Perform a mid-year check-in at the 6 month (MBCx - and 18 month) mark to see savings trends and allow time for correction if needed.
Getting the Performance Phase(s) Paid | 2. When one year since the project was fully commissioned has passed, determine any building changes that occurred.
1. Wait for 1 year to pass after the project is complete and fully commissioned. (MBCx - additional year) | 3. Perform a weather normalized savings analysis using a PSE regression tool.
2. Notify PSE of any changes to the building you are aware of (occupancy, space use type, major equipment changes, etc). | 4. If savings are much lower than expected (< 5%), contact a PSE Commissioning SME.
3. Customer to provide PSE with completed Persistence Check forms/reports | 5. If savings are reasonable (> 6%), notify the customer and contractor of the final savings and associated performance grant amount.
4. (MBCx) Contractor to provide PSE with compilation of the Performance year Quarterly Reports | 6. With customer/contractor approval, submit the performance payment request for QC review regardless of size.
5. Any additional implementation invoices since Implementation Grant Payment
6. PSE will provide a calculation of savings using billing data, and will provide the associated performance incentive amount. | *Notes For All* - Light green tabs are example PSE templates for deliverable components (feel free to use another format to deliver the same content)
7. Review the final incentive amount with the customer and give PSE approval to proceed with the performance grant payment. | - PSE may publish changes to this workbook and incentive rates from time to time, please refer to our Commissioning webpages for the latest version.
- Link to landing page: https://www.pse.com/en/business-incentives/commissioning-programs

## SoW
EBCx Deliverables & Requirements | MBCx Deliverables & Requirements
Assessment Report minimum required content: | MBCx Commissioning Plan and Implementation documentation minimum requirements:
• Executive Summary • Analysis of building energy use by energy type and comparison with typical buildings • Description of facility systems and conditions (HVAC, lighting and envelope minimally) • High level estimate of potential energy savings and how they will be realized • Recommendation on proceeding with Cx program -OR- Pursue another PSE efficiency program with consideration to potential for savings, O&M staff participation, and Owner commitment to implement findings with less than a 2-year payback in a timely manner. Also provide: • Pre & Post documentation of quick fixes discovered and already implemented to save energy | • Finalized MBCx Plan o Project scope (building(s), systems) o Project team o Project schedule o Current Facility (Owner’s) Requirements o Monitoring Action Plan o EMIS/FDD application specification • Document configuration of EMIS/FDD application o Calibration of critical sensors o Validate quality of BAS data supplied to FDD application o Configure fault reporting and tracking • Utilize software to identify and correct faults o Submit reports generated by MBCx process showing issues identified and resolved for at least 3 months after configuration is completed. • Training and O&M time** • Documentation of Monitoring-Based Commissioning project costs: o Commissioning Provider's costs during first 3 months o MBCx software costs o Customer Implementation costs** (i.e. Building system or equipment upgrades/repairs, simple adjustments)
Facility Guide minimum required content:
• Energy Efficient Operations & EEI Persistence Checks** (i.e. key elements to monitor) • Energy Use (i.e. EUI benchmarks, goals/estimate for PSE bonus, energy tracking) • Description of Systems (HVAC, lighting, other energy using systems) including o Schematics (one-line diagrams) o Sequences of Operations o Setpoints & settings (optimized with reasoning and impacts of changing setpoints) • Current Facility Requirements (i.e. schedules, setpoints, ventilation, pressure etc.) • Commissioning Results o EEI summary table o Cx investigation details with updated results o List of resolved and unresolved findings • Documentation of staff training and O&M time** Additional Deliverables • Implementation cost tracking** • Non-Cx building changes impacting energy use**
MBCx Quarterly Reporting minimum requirements (may be submitted together annually):
• Quarterly Reports (with sample of one week of data per report): o Identification of priority issues and faults corrected using EMIS/FDD o Investigation of root cause for prioritized issues o Identification and implementation of corrective actions • Documentation of additional project costs
Fault Detection & Diagnostic (FDD) software minimum functionality and reporting capabilities:
• Continuously monitor systems controlled by the Building Automation System (BAS) • Apply algorithms and rules to identify operational inefficiencies or “faults” • Recommend corrective action to resolve faults • Track resolved faults over time • Provide exportable reports (CSV or Excel) that summarize corrected faults. • FDD Application must be able to identify and recommend corrective actions for the most common operational issues: o Equipment scheduling issues o Economizer and ventilation issues o Simultaneous heating and cooling o Control-related pressurization issues o BAS sensor errors/faults o Space cooling/heating issues (over/under-shooting, etc.)
** Contractor/Customer may use provided PSE templates (light green tabs) or your own format

## Pre-screen+Assessment
v v Select PSE Commissioning path below v v
Existing Building Commissioning (EBCx)
Facility: | [9 empty] | Submission Date:
Owner:
Senior Operations: | [7 empty] | Management:
Building Details
|  |  | Space type: | Office |  | Total Area: | 200000 |  | Annual Usage: | 1537118 |  | kWh
|  |  | Activity Sub-type: | Medical Office - Office | [5 empty] | 75852 |  | therms
This document serves as an initial screening tool to determine whether the building(s) would be a good candidate for this program or other programs within the PSE energy efficiency portfolio. Please mark the statements below that apply and submit to your PSE representative along with a PSE Application (see 'Instructions' tab) for consideration.
Minimum Qualifications: |  |  |  |  | FALSE |  | FALSE
|  | Building(s) use |  |  | PSE Electric |  | PSE Gas
PSE gas only customers must use gas for space heating (e.g.: uses a condensing boiler, ventilation or make-up air heated by gas, not just for tempering the supply air)
Building(s) collectively have ≥ 50,000 conditioned square footage
Building(s) at least 75% occupied
|  | Building(s) managed by automated controls (BAS) |  |  |  |  | Last upgrade:
No plans for controls replacement or other major system upgrades within the next 5 years
Building-level metering exists (PSE does offer a sub-metering incentive)
Building energy use is higher than average for typical building of this type. Be sure to consider whether high use is controllable (associated with HVAC) or not (may include server rooms, DHW, Laundry, or other process loads).
Management Commitment:
Customer understands there is a $/sq.ft. requirement to implement building fixes with a 2 year payback or less.
|  | Current Building EUI: |  |  | 64.1492 | Total kBTU/sq.ft. |  | 7.6856 | kWh/sq.ft. | 0.37926 | Therms/sq.ft
|  | Anticipated WA CBPS EUIt: |  |  | 60 | Total kBTU/sq.ft. |  | 11.8439 | kWh/sq.ft.* | 0.16486 | Therms/sq.ft.*
*PSE average 'Office' building
Additional Notes:
List any significant base/process loads like refrigeration, a pool, a data center, large DHW, etc.:
What is the baseline year % occupancy? Is this anticipated to change?
What is the anticipated timeline for Commissioning to begin?
Other Comments/Notes:
General Assessment Conditions:
Building has had several changes in use, or several different tenants since it was constructed.
Building does NOT have some of the energy efficient control sequences listed below (mark missing features):
|  |  | Duct static/discharge air temp/HW/CW/CHW reset based on load | [5 empty] | Optimum start/stop
|  |  | Staging of chiller or boilers based on unit efficiency | [5 empty] | VFDs
Deadband for room temp setpoints
Other?
Building has never been commissioned by a third party (new or existing).
[6 empty] | If it has, date of last commissioning (Cx): |  |  | Cx Agent:
Ventilation rate has never been checked and there are no indoor air problems.
Building has had a lot of comfort, other issues, and/or does not seem to work right.
HVAC/lighting controls are not regularly tested, only basic maintenance has been done (e.g. change filters/belts).
Main HVAC system is NOT single zone packaged RTUs with wall stats.
HVAC systems are complex systems:
|  |  | Central hot water (boiler plant) |  |  |  |  | Variable Air Volume (VAV)
|  |  | Central chilled water (chiller plant) |  |  |  |  | Multi-zone RTU
Other?
Major Reasons to Proceed with Existing Building Cx:
List other reasons this building(s) is a good candidate. Include HVAC/lighting/controls issues building has had, findings from walk-through:
Give basic description of facility: # of buildings/systems in project, general hours of operation, HVAC type, lighting controls type, use of building, are there a lot of computers used, % of space for server rooms.
List changes in use or equipment in the past year and expected for the next 5 years. Explain briefly how one would easily adjust for this change in a billing savings analysis:
Other PSE Program that would help customer save energy:
Other Comments/Notes:
Note on A61: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Not a vital piece of the Pre-screen, but useful as a minimum Assessment Report

## IncentiveEst
Existing Building Cx Incentive Calculator - Ver 2026.1 | [6 empty] | 2026-01-05 15:11
INSTRUCTIONS: Fill in yellow highlighted cells in order to determine the estimated savings and incentive for your project. If there are any process loads within the building that are largerer than 1% of the annual energy use, they must be accounted for below in the section labeled "Calculate Major Process Loads".
Project Name: | PSE Customer, Building Name - EBCx
PSE Customer: | PSE Customer
Address: | 1234
Bellevue, WA 98004
Customer Type: | All PSE (gas/elec) | *Project Type: | EBCx
Electric Rate: | Sch 25 (>20,000 kWh/mo) | Gas Rate: | Sch 31
Assessment Cost: | 5000
Provider Cost: | 126000 | Bldg(s) sq.ft.: | 280000
Implementation Cost: | 42000 | 0.15
Utility Data
Annual kWhs: | 1537118 | 5.4897 | kWh/sq.ft./yr.
Annual Therms: | 75852 | 0.2709 | therm/sq.ft./yr.
Total Building EUI: |  | 45.8209 | kBTU/sq.ft./yr.
Graph of Cash Flow MAX/MIN Est.: |  | MIN | >>
Guaranteed Incentives
Assessment | Implementation ($0.35/sq.ft.)* | Implementation Incentive Cap
5000 | 94500 | *up to 75% of Cx Provider costs
| 75% | << current percent of CxP costs
Performance Incentive Estimates
| Percent Savings | kWh Savings (gross) | Therm Savings (gross) | kBTU | Performance Incentive | Performance Incentive Cap (may be limited by site energy consumption)
Savings MIN Target | 6% | 92227.08 | 4551.12 | 769790.797 | 18324.948
Proposed Savings | 7.886% | 150000 | 5000 | 1011800 | 25000 | 73500 | *up to 100% of eligible costs
| 8.4% | 140000 | 6000 | 1077680 | 0 | 0
Calculate Major Process Loads (Loads > 1%) | [6 empty] | Baseline Energy Use
Process Load Type |  | Annual Use | UOM | Description |  |  | Total Use (Actual)
Data Center | [6 empty] | Electric | 1537118
Large DHW | [6 empty] | Gas | 75852
Refrigeration
Other (describe)
Economic Analysis
|  |  |  | Annual Cost Savings | Simple Payback (SPB) | Internal Rate of Return (IRR) | Accounting Rate of Return (ARR) | Net Present Value (NPV)*
|  |  | MIN Estimate | 14834.7278 | 3.2694 | 2.336% | 6.341% | -7636.0066
|  |  | MAX Estimate | 20767.85 | 2.6568 | 42.74% | 13.23% | 47726.6313
*NPV assumes a $1000 Annual Maintenance cost for ensuring operational persistence, a 6.8% discount rate for the energy savings, and a 3% inflation in energy cost throughout the 5 year measure life beginning in year 2 (net 4.8% decrease).
Project Notes:
Initial Grant Calc. | PSE Internal Use Only - Allocation by Measure
Measure Description |  |  | Measure Cost | PSE Grant | Savings (net) | Load Type | TRC | Baseline Use
EBCx (elec) Assessment |  |  | 3122.3762 | 3122.3762 | 0 | Misc. | 0 | 1537118
EBCx (elec) Implementation |  |  | 59012.9102 | 59012.9102 | 76855.9 | Misc. | 0.75032 | 1537118
EBCx (elec) Performance |  |  | 52268.4434 | 52268.4434 | 73144.1 | Misc. | 0.92716 | 1537118
0
[6 empty] | Elec Avg TRC > | 0.86869
EBCx (gas) Assessment |  |  | 1877.6238 | 1877.6238 | 0 | Heating | 0 | 75852
EBCx (gas) Implementation |  |  | 35487.0898 | 35487.0898 | 3792.6 | Heating | 0.75032 | 75852
EBCx (gas) Performance |  |  | 21231.5566 | 21231.5566 | 1207.4 | Heating | 0.39925 | 75852
0
Totals |  |  | 173000 | 173000 |  | Gas Avg TRC > | 0.59907
H:\4-Energy Efficiency\BEM\_Grants\250- CI Retro\_Commissioning\01_Onboarding\[PSE_Cx_Workbook_2026v1.xlsx]Pre-screen+Assessment
Data Center
Large DHW |  | Yr 0 - Assessment (Cost and incentive)
Refrigeration |  | Yr 1 - Implementation (Cost and Incentive)
Pool |  | Yr 2 - Performance Year 1
Other (describe) |  | Yr 3 - Performance Year 2
HIDE TEXT>> | CHART DATA (Dynamic from tables below depending on Cx Path)
|  | Project Cash Flow (MIN Estimate) |  |  |  |  | SPB
|  | Years | Invested | PSE Incentive | Energy Savings |  | x | y
|  | Yr 0 | -5000 | 5000 | 14.8496 |  | 4.2694 | 0
|  | Yr 1 | -168000 | 94500 | 14849.5625 |  | 4.2694 | 1
|  | Yr 2 | -2000 | 18324.948 | 14136.7835
|  | Yr 3 | -1000 | 0 | 13458.2179
|  | Yr 4 | -1000 | 0 | 12812.2234
|  | Yr 5 | -1000 | 0 | 12197.2367
MBCx Calculation
Years | Invested | Incentive | Energy Savings | Net Annual | PV Rate |  | Initial investment | IRR Calc MIN
Yr 0 | 0 | 0 | 0 |  |  |  | 168000 | -48500
Yr 1 | -105000 | 94500 | 20767.85 | 10267.85 | 9614.0918 |  | Incentive | 10267.85
Yr 2 | -63000 | 25000 | 21248.22 | -16751.78 | -14686.5049 |  | 119500 | -16751.78
Yr 3 | -2000 | 0 | 21248.22 | 19248.22 | 15800.7178 |  |  | 19248.22
Yr 4 | -1000 |  | 21248.22 | 20248.22 | 15563.3054 |  |  | 20248.22
Yr 5 | -1000 |  | 21248.22 | 20248.22 | 14572.3833 |  |  | 20248.22
40863.9934
EBCx Calculations
Years | Invested | Incentive | Energy Savings | Net Annual (MIN) | PV Rate (MIN) |  | Initial investment | IRR Calc MIN
Yr 0 | -5000 | 5000 | 14.8496 |  |  |  | 173000 | -55175.052
Yr 1 | -168000 | 94500 | 14849.5625 | 14864.4121 | 13917.9888 |  | Incentive | 14864.4121
Yr 2 | -2000 | 18324.948 | 14136.7835 | 30461.7315 | 26706.199 |  | 117824.948 | 30461.7315
Yr 3 | -1000 |  | 13458.2179 | 12458.2179 | 10226.8565 |  | 124500 | 12458.2179
Yr 4 | -1000 |  | 12812.2234 | 11812.2234 | 9079.1803 |  |  | 11812.2234
Yr 5 | -1000 |  | 12197.2367 | 11197.2367 | 8058.5072 |  |  | 11197.2367
67988.7318
Years | Invested | Incentive | Energy Savings | Net Annual (MAX) | PV Rate (MAX) |  |  | IRR Calc MAX
Yr 0 | -5000 | 5000 | 14.8496 |  |  |  |  | -48500
Yr 1 | -168000 | 94500 | 20788.6178 | 20803.4674 | 19478.9021 |  |  | 20803.4674
Yr 2 | -2000 | 25000 | 19790.7642 | 42790.7642 | 37515.2234 |  |  | 42790.7642
Yr 3 | -1000 |  | 18840.8075 | 17840.8075 | 14645.3835 |  |  | 17840.8075
Yr 4 | -1000 |  | 17936.4488 | 16936.4488 | 13017.7924 |  |  | 16936.4488
Yr 5 | -1000 |  | 17075.4992 | 16075.4992 | 11569.3299 |  |  | 16075.4992
96226.6313
Note on B13: Doutre, Austin: Overwrite with final/actual implementation costs upon payment request
Note on H38: Jason Hyatt: AVE net cash inflow / Initial investment
Note on A41: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 6.8% comes from AutoFund, but NPV calc references cell C15. And where does the 3% inflation in energy cost come from? Can we also make that dynamic?
Note on E55: Jason Hyatt: PSE grant is based on the $0.05/kWh and $0.80/therm incentive rate and the "gross" savings.
Note on F55: Jason Hyatt: "net" savings are recorded savings by PSE.
Note on B100: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Why does adjusted cost (implementation) only factor in when PSE G&E? Shouldn't it be regardless since the amount already takes into account the project type? Reply: Also need to make sure split of cost disregards non-PSE fuel type/savings.
Note on H101: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: MIN Estimate
Note on H102: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: MAX Estimate

## Cx_Schedule
PSE Existing Building Commissioning (EBCx)
Facility: |  |  |  | Date:
Directions: Add in dates based on max requirements; add notes as needed, complete participant information, update with actual completion dates.
TASKS | DATES OF COMPLETION |  |  | Suggested & Maximum Time Frames / Notes (*PSE Review Max 2 weeks after submittal)
| Cx Provider | PSE Review* | Owner
1. Proposal |  |  |  | Prior to grant
a. Scope of Work (incl. cost)
b. Initial Cx Plan
2. Install sub-metering if needed |  |  |  | Min 2 months prior to Investigation
3. Assessment & Initial Cx Plan |  |  |  | 1 month after grant is signed
b. Revise Scope (if needed) |  |  |  | Prior to Cx Grant
4. Investigation |  |  |  | 3 months
a. On site work |  |  |  | 2 months unless seasonal testing is needed
b. Informal training |  |  |  | During Investigation
c. Report with recommendations |  |  |  | Max 30 days after on-site work
d. Pre-conditions verification/site visit |  |  |  | Max 2 weeks after report review
5. Implementation Phase |  |  |  | Min 3 months (quarterly/iterative)
a. Identify issues and opportunities |  |  |  | All items 'a' through 'd' are discussed during the quarterly meetings
b. Investigate and analyze |  |  |  | meetings and tracked
c. Identify and implement actions
d. Verify improvements |  |  |  | 1 month after implementation (includes onsite work & informal training)
6. Facility Guide |  |  |  | Max 1 month after first verification cycle
a. Updated Cx plan
b. Reporting (TBD)
7. Formal Training |  |  |  | 0.5 months after Facility Guide
8. Post-conditions verification/site visit |  |  |  | Max 2 weeks after report review
9. 1st Year Performance Bonus |  |  |  | During 1st & 2nd year after Facility Guide completion and prior to performance payments
a. Issues/anomalies log
b. Quarterly meeting/reporting
c. Bonus Documentation Reports |  |  |  | Includes Persistence Checks, Performance Changes & additional Implementation Costs
PARTICIPANTS
Role |  | Name & Title |  | Contact Info (phone & e-mail)
PSE Engineer:
Cx Professional Lead:
Cx Professional Other:
Owner Lead:
Owner Training Participants:
Owner Training Participants:
Owner Training Participants:
Owner Training Participants:

## EEI_SummaryTable
PSE Existing Building Commissioning (EBCx)
[7 empty] | INVESTIGATION |  | REPORT
| Date: | [11 empty] | Energy Rates $ | kWh: | 0.09183 | Schedule: | Sch 25 (>20,000 kWh/mo)
[7 empty] | kWh Savings | kWh std. dev. | Therm Savings | Therm std. dev. |  |  |  | Therm: | 1.3987 | Schedule: | Sch 31
| Facility: | [5 empty] | 0 | 0 | 0 | 0
| Cx Provider (individual/company): | [14 empty] | Schedule
Owner Max Required Implementation Cost: |  |  | required $/sqft | 0.15 |  |  |  |  | Facility Conditioned Sqft | 280000 | [5 empty] | Max Required Implementation Cost | 42000
MEASURE |  |  |  |  | ESTIMATED SAVINGS | [10 empty] | IMPLEMENTATION |  |  | VERIFIED?
[7 empty] | Electric Savings |  |  |  | Gas Savings | [9 empty] | Electric Stats |  |  |  | Gas Stats
EEI # | Description | Existing Condition (Pre) | Proposed Condition (Post) |  | SPB (yrs) | Calc. (Y/N) | Pessimistic est. (kWhs) | Optimistic est. (kWhs) | Most Likely est. (kWhs) | Expected Value (kWhs) | Pessimistic est. (therms) | Optimistic est. (therms) | Most Likely est. (therms) | Expected Value (therms) | Cost Savings ($) | Cost ($) | Date Done | Y/N | Y/N | Date | kWh Savings | Std. Deviation (σ) | Variance (σ²) | Therm Savings | Std. Deviation (σ) | Variance (σ²)
[10 empty] | 0 |  |  |  | 0 | 0 | [7 empty] | 0 |  |  | 0
[10 empty] | 0 |  |  |  | 0 | 0 | [7 empty] | 0 |  |  | 0
[10 empty] | 0 |  |  |  | 0 | 0 | [7 empty] | 0 |  |  | 0
[10 empty] | 0 |  |  |  | 0 | 0 | [7 empty] | 0 |  |  | 0
[10 empty] | 0 |  |  |  | 0 | 0 | [7 empty] | 0 |  |  | 0
[10 empty] | 0 |  |  |  | 0 | 0 | [7 empty] | 0 |  |  | 0
[10 empty] | 0 |  |  |  | 0 | 0 | [7 empty] | 0 |  |  | 0
[10 empty] | 0 |  |  |  | 0 | 0 | [7 empty] | 0 |  |  | 0
[10 empty] | 0 |  |  |  | 0 | 0 | [7 empty] | 0 |  |  | 0
[10 empty] | 0 |  |  |  | 0 | 0 | [7 empty] | 0 |  |  | 0
[10 empty] | 0 |  |  |  | 0 | 0 | [7 empty] | 0 |  |  | 0
[10 empty] | 0 |  |  |  | 0 | 0 | [7 empty] | 0 |  |  | 0
[10 empty] | 0 |  |  |  | 0 | 0 | [7 empty] | 0 |  |  | 0
[10 empty] | 0 |  |  |  | 0 | 0 | [7 empty] | 0 |  |  | 0
[10 empty] | 0 |  |  |  | 0 | 0 | [7 empty] | 0 |  |  | 0
[10 empty] | 0 |  |  |  | 0 | 0 | [7 empty] | 0 |  |  | 0
[10 empty] | 0 |  |  |  | 0 | 0 | [7 empty] | 0 |  |  | 0
[10 empty] | 0 |  |  |  | 0 | 0 | [7 empty] | 0 |  |  | 0
[10 empty] | 0 |  |  |  | 0 | 0 | [7 empty] | 0 |  |  | 0
[10 empty] | 0 |  |  |  | 0 | 0 | [7 empty] | 0 |  |  | 0
[10 empty] | 0 |  |  |  | 0 | 0 | [7 empty] | 0 |  |  | 0
[10 empty] | 0 |  |  |  | 0 | 0 | [7 empty] | 0 |  |  | 0
[10 empty] | 0 |  |  |  | 0 | 0 | [7 empty] | 0 |  |  | 0
[10 empty] | 0 |  |  |  | 0 | 0 | [7 empty] | 0 |  |  | 0
[10 empty] | 0 |  |  |  | 0 | 0 | [7 empty] | 0 |  |  | 0
[10 empty] | 0 |  |  |  | 0 | 0 | [7 empty] | 0 |  |  | 0
[10 empty] | 0 |  |  |  | 0 | 0 | [7 empty] | 0 |  |  | 0
[10 empty] | 0 |  |  |  | 0 | 0 | [7 empty] | 0 |  |  | 0
SUMMARY |  |  |  |  | 0 | [7 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  | 0 | 0 |  | 0
SUPPORTING DATA FOR SPREADSHEET:
Drop Down Lists
| REPORT TYPE | PSE $/sqft requirement |  | PSE utilities
| INVESTIGATION | 0.15 |  | All PSE
| FINAL | 0.1 |  | PSE elec (other gas)
|  | 0.1 |  | PSE gas (other elec)
UPGRADES
Y
N
Note on E10: All PSE customer: $0.15/sqft PSE elec (gas other): $0.10/sqft PSE gas (elec other): $0.10/sqft SCL elec (no gas): $0.10/sq.ft. PSE and SCL: $0.15/sq.ft PSE only (Seattle): $0.05/sq.ft.

## Persistence_Checks
PSE Existing Building Commissioning (EBCx)
Facility:
EEI #: |  | Description: |  |  |  |  | Savings / Yr:
|  | Frequency: | Annual |  | Bi-Annual | Quarterly |  | Other
Procedure to check improvement is still in place:
Documentation required for PSE (specific trends, screenshots, etc.)
Date | Completed by |  | OK? | Result/Notes
EEI #: |  | Description: |  |  |  |  | Savings / Yr:
|  | Frequency: | Annual |  | Bi-Annual | Quarterly |  | Other
Procedure to check improvement is still in place:
Documentation required for PSE (specific trends, screenshots, etc.)
Date | Completed by |  | OK? | Result/Notes
EEI #: |  | Description: |  |  |  |  | Savings / Yr:
|  | Frequency: | Annual |  | Bi-Annual | Quarterly |  | Other
Procedure to check improvement is still in place:
Documentation required for PSE (specific trends, screenshots, etc.)
Date | Completed by |  | OK? | Result/Notes
EEI #: |  | Description: |  |  |  |  | Savings / Yr:
|  | Frequency: | Annual |  | Bi-Annual | Quarterly |  | Other
Procedure to check improvement is still in place:
Documentation required for PSE (specific trends, screenshots, etc.)
Date | Completed by |  | OK? | Result/Notes
EEI #: |  | Description: |  |  |  |  | Savings / Yr:
|  | Frequency: | Annual |  | Bi-Annual | Quarterly |  | Other
Procedure to check improvement is still in place:
Documentation required for PSE (specific trends, screenshots, etc.)
Date | Completed by |  | OK? | Result/Notes
EEI #: |  | Description: |  |  |  |  | Savings / Yr:
|  | Frequency: | Annual |  | Bi-Annual | Quarterly |  | Other
Procedure to check improvement is still in place:
Documentation required for PSE (specific trends, screenshots, etc.)
Date | Completed by |  | OK? | Result/Notes
EEI #: |  | Description: |  |  |  |  | Savings / Yr:
|  | Frequency: | Annual |  | Bi-Annual | Quarterly |  | Other
Procedure to check improvement is still in place:
Documentation required for PSE (specific trends, screenshots, etc.)
Date | Completed by |  | OK? | Result/Notes
EEI #: |  | Description: |  |  |  |  | Savings / Yr:
|  | Frequency: | Annual |  | Bi-Annual | Quarterly |  | Other
Procedure to check improvement is still in place:
Documentation required for PSE (specific trends, screenshots, etc.)
Date | Completed by |  | OK? | Result/Notes
EEI #: |  | Description: |  |  |  |  | Savings / Yr:
|  | Frequency: | Annual |  | Bi-Annual | Quarterly |  | Other
Procedure to check improvement is still in place:
Documentation required for PSE (specific trends, screenshots, etc.)
Date | Completed by |  | OK? | Result/Notes

## Implementation_Cost
PSE Existing Building Commissioning (EBCx)
Facility:
1. Eligible CxP and Implementation costs include building system upgrades, equipment repairs and simple adjustments. Review guidelines for what is considered an eligible improvement item/expenses
2. Track the cost of implementing the improvements
3. Attach appropriate invoices to match costs for each item listed & note associated EEI #
4. Note if item was already in owner's/ O&M stock
NOTE: Up to pre-determined maximum cost* is required
*Maximum Required Cost: |  |  | 42000 | Facility sqft: | 280000 | Required $/sqft: | 0.15
EEI# | Cost ($) | Item in Stock | Description |  |  |  |  | Drop Down Lists
[8 empty] | UPGRADES | PSE $/sqft requirement | PSE utilities
[8 empty] | Y | 0.15 | All PSE
[8 empty] | N | 0.1 | PSE elec (other gas)
[9 empty] | 0.05 | PSE gas (other elec)
0.16
TOTAL | 0 | CUSTOMER IMPLEMENTATION COST
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: What are the "eligible" upgrades?
Note on A8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Does this statement mean costs must exceed the Maximum Required Cost estimate, or can be up to and OK?

## Performance_Changes
PSE Existing Building Commissioning (EBCx)
Directions: Note changes with a major impact on energy use, and not a result of the commissioning (Cx) process.
Facility: |  |  | Owner:
Date of This Report: |  |  | Person Completing Report:
|  | Start Date of Cx Process: |  | Date of Final Cx Report:
End Date of 1st year Performance:
1 | Date or Date Range:
Description of Change or Event (e.g. occupancy changes, new equipment or tenant loads, production schedule, occupied hours etc.)
Describe how the change or event affects energy use. Estimate energy use impact (kWh/yr, Therms/yr)
2 | Date or Date Range:
Description of Change or Event (e.g. occupancy changes, new equipment or tenant loads, production schedule, occupied hours etc.)
Describe how the change or event affects energy use. Estimate energy use impact (kWh/yr, Therms/yr)
3 | Date or Date Range:
Description of Change or Event (e.g. occupancy changes, new equipment or tenant loads, production schedule, occupied hours etc.)
Describe how the change or event affects energy use. Estimate energy use impact (kWh/yr, Therms/yr)
4 | Date or Date Range:
Description of Change or Event (e.g. occupancy changes, new equipment or tenant loads, production schedule, occupied hours etc.)
Describe how the change or event affects energy use. Estimate energy use impact (kWh/yr, Therms/yr)
5 | Date or Date Range:
Description of Change or Event (e.g. occupancy changes, new equipment or tenant loads, production schedule, occupied hours etc.)
Describe how the change or event affects energy use. Estimate energy use impact (kWh/yr, Therms/yr)

## Training_Tracking
PSE Existing Building Commissioning (EBCx)
Project Name/Facility:
Trainer(s)
Hands on Training -OR- Other O&M Staff Time
Date | Hours | Staff Name (First/Last) | Title | Activity/Topic | Training Met Needs (Y/N)
Facility Guide Training
Date | Hours | Staff Name (First/Last) | Title | Activity/Topic | Training Met Needs (Y/N)