## Output - Summary
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less - Net Output Delivered to PSE's Distribution System
Summary - Levelized
Levelized
Baseload - 5 year | 30.7228
Baseload - 10 year | 30.8911
Baseload - 15 year | 31.8048
Levelized
Wind - 10 year | 26.4344
Wind - 15 year | 27.3737
Levelized
Solar - 10 year | 22.0757
Solar - 15 year | 23.0401
Summary - Escalating @ 2.5%
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036
Baseload - 5 year | 1 2020: 29.3275; 2 2021: 30.0607; 3 2022: 30.8122; 4 2023: 31.5825; 5 2024: 32.3721; 6 2025: 33.1814; 7 2026: 34.0109
Baseload - 10 year | 27.9743 | 28.6737 | 29.3905 | 30.1253 | 30.8784 | 31.6504 | 32.4416 | 33.2527 | 34.084 | 34.9361 | 35.8095 | 36.7047
Baseload - 15 year | 27.4832 | 28.1703 | 28.8746 | 29.5964 | 30.3363 | 31.0947 | 31.8721 | 32.6689 | 33.4856 | 34.3228 | 35.1808 | 36.0604 | 36.9619 | 37.8859 | 38.8331 | 39.8039 | 40.799
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036
Wind - 10 year | 23.9385 | 24.5369 | 25.1503 | 25.7791 | 26.4236 | 27.0842 | 27.7613 | 28.4553 | 29.1667 | 29.8959 | 30.6433 | 31.4093
Wind - 15 year | 23.6543 | 24.2456 | 24.8518 | 25.4731 | 26.1099 | 26.7626 | 27.4317 | 28.1175 | 28.8204 | 29.5409 | 30.2795 | 31.0365 | 31.8124 | 32.6077 | 33.4229 | 34.2584 | 35.1149
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036
Solar - 10 year | 19.9913 | 20.4911 | 21.0034 | 21.5284 | 22.0667 | 22.6183 | 23.1838 | 23.7634 | 24.3575 | 24.9664 | 25.5906 | 26.2303
Solar - 15 year | 19.9095 | 20.4072 | 20.9174 | 21.4403 | 21.9763 | 22.5257 | 23.0889 | 23.6661 | 24.2578 | 24.8642 | 25.4858 | 26.123 | 26.776 | 27.4454 | 28.1316 | 28.8348 | 29.5557

## Output - 5yr Baseload
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less
Baseload
| Annual Energy Savings in kWh | Measure Life | Capacity Factor | Measure Type | Avoided Cost of Energy | Avoided Cost of Capacity | Total Avoided Cost | $/kWh | $/MWh
|  | 5 | 100% | Flat | 0.02135 | 0.010323 | 0.031673 | 0.031673 | 31.673
[5 empty] | 21.3497 | 10.3232 | 31.673 | 31.673 | 30.7228 | 3% | "Contingency Reserves" per WECC 10/1/2014
checksum
| Constant Nominal |  | 30.7228 | 30.7228 | 30.7228 | 30.7228 | 30.7228 |  |  |  |  | 124.6649 | 30.7228
| Escalated Rate @ 2.5% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7
|  |  | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 |  |  | checksum
| Schedule 91 Rates for Purchase of Energy - Baseload |  | 29.3275 | 30.0607 | 30.8122 | 31.5825 | 32.3721 | 33.1814 | 34.0109 |  |  | 124.6649 | 30.7228
Equivalent w/ 2.5% Increase
checksum
| 2.5 Percent Increase |  | 100 | 102.5 | 105.0625 | 107.6891 | 110.3813 |  |  |  |  | 425.0784 | 104.7576
| 2.5 Percent Index |  | 0.95459 | 0.97845 | 1.0029 | 1.028 | 1.0537 |  |  |  |  | 4.0577 | 1
Notes
1 | This Schedule 91 standard rate model is based upon the cost effectiveness standard model that has been used for evaluating individual measures of PSE's Energy Efficiency Services program.
2 | Power prices have been updated to be consistent with PSE's 2021 IRP using the Mid-C prices for the “Base” scenario, and includes the 2020 power price forecast from Aurora.
3 | This model accounts for both avoided energy costs and avoided capacity costs.
4 | There are separate calculations for Baseload, Wind and Solar resources which have different capacity values as provided in the 2018 RFP (2020-2022 firm peaker and ELCC) and the 2017 IRP (2023-2040 firm resources, NCF, and hours of operation)
5 | The value of a measure increases with its measured life. The Power Purchase Agreement (PPA) length under Schedule 91 are five, ten and fifteen years, analogous to a five, ten and fifteen year measure life respectively.
6 | For each type of resource the final output of this calculation is a levelized price that does not vary from year to year (see cell L5).
7 | Unlike a conservation project, a PPA requires spinning reserves which are deducted above at the rate of 3% (see cell M6).
8 | PSE currently makes no deduction for balancing related costs as such costs could not be currently identified.
9 | The final levelized price is adjusted to create a Fixed Price option that increases by 2.5% each year, which maintains the same value to PSE while increasing the value to the customer-generator over time.
10 | The proposed strip is highlighted in yellow above.
11 | An additional two years are added to the strip to accommodate projects that sign the PPA in the year following the "current year."

## Output - 10yr Baseload
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less
Baseload
| Annual Energy Savings in kWh | Measure Life | Capacity Factor | Measure Type | Avoided Cost of Energy | Avoided Cost of Capacity | Total Avoided Cost | $/kWh | $/MWh
|  | 10 | 100% | Flat | 0.022001 | 0.0098453 | 0.031846 | 0.031846 | 31.8465
[5 empty] | 22.0011 | 9.8453 | 31.8465 | 31.8465 | 30.8911 | 3% | "Contingency Reserves" per WECC 10/1/2014
checksum
| Constant Nominal |  | 30.8911 | 30.8911 | 30.8911 | 30.8911 | 30.8911 | 30.8911 | 30.8911 | 30.8911 | 30.8911 | 30.8911 |  |  | 213.108 | 30.8911
| Escalated Rate @ 2.5% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  |  | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | checksum
| Schedule 91 Rates for Purchase of Energy - Baseload |  | 27.9743 | 28.6737 | 29.3905 | 30.1253 | 30.8784 | 31.6504 | 32.4416 | 33.2527 | 34.084 | 34.9361 | 35.8095 | 36.7047 | 213.108 | 30.8911
Equivalent w/ 2.5% Increase
checksum
| 2.5 Percent Increase |  | 100 | 102.5 | 105.0625 | 107.6891 | 110.3813 | 113.1408 | 115.9693 | 118.8686 | 121.8403 | 124.8863 |  |  | 761.7986 | 110.4265
| 2.5 Percent Index |  | 0.90558 | 0.92822 | 0.95142 | 0.97521 | 0.99959 | 1.0246 | 1.0502 | 1.0764 | 1.1034 | 1.1309 |  |  | 6.8987 | 1
Notes
1 | This Schedule 91 standard rate model is based upon the cost effectiveness standard model that has been used for evaluating individual measures of PSE's Energy Efficiency Services program.
2 | Power prices have been updated to be consistent with PSE's 2021 IRP using the Mid-C prices for the “Base” scenario, and includes the 2020 power price forecast from Aurora.
3 | This model accounts for both avoided energy costs and avoided capacity costs.
4 | There are separate calculations for Baseload, Wind and Solar resources which have different capacity values as provided in the 2018 RFP (2020-2022 firm peaker and ELCC) and the 2017 IRP (2023-2040 firm resources, NCF, and hours of operation)
5 | The value of a measure increases with its measured life. The Power Purchase Agreement (PPA) length under Schedule 91 are five, ten and fifteen years, analogous to a five, ten and fifteen year measure life respectively.
6 | For each type of resource the final output of this calculation is a levelized price that does not vary from year to year (see cell L5).
7 | Unlike a conservation project, a PPA requires spinning reserves which are deducted above at the rate of 3% (see cell M6).
8 | PSE currently makes no deduction for balancing related costs as such costs could not be currently identified.
9 | The final levelized price is adjusted to create a Fixed Price option that increases by 2.5% each year, which maintains the same value to PSE while increasing the value to the customer-generator over time.
10 | The proposed strip is highlighted in yellow above.
11 | An additional two years are added to the strip to accommodate projects that sign the PPA in the year following the "current year."

## Output - 15yr Baseload
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less
Baseload
| Annual Energy Savings in kWh | Measure Life | Capacity Factor | Measure Type | Avoided Cost of Energy | Avoided Cost of Capacity | Total Avoided Cost | $/kWh | $/MWh
|  | 15 | 100% | Flat | 0.023 | 0.0097887 | 0.032788 | 0.032788 | 32.7884
[5 empty] | 22.9997 | 9.7887 | 32.7884 | 32.7884 | 31.8048 | 3% | "Contingency Reserves" per WECC 10/1/2014
checksum
| Constant Nominal |  | 31.8048 | 31.8048 | 31.8048 | 31.8048 | 31.8048 | 31.8048 | 31.8048 | 31.8048 | 31.8048 | 31.8048 | 31.8048 | 31.8048 | 31.8048 | 31.8048 | 31.8048 |  |  | 282.6724 | 31.8048
| Escalated Rate @ 2.5% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
|  |  | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | checksum
| Schedule 91 Rates for Purchase of Energy - Baseload |  | 27.4832 | 28.1703 | 28.8746 | 29.5964 | 30.3363 | 31.0947 | 31.8721 | 32.6689 | 33.4856 | 34.3228 | 35.1808 | 36.0604 | 36.9619 | 37.8859 | 38.8331 | 39.8039 | 40.799 | 282.6724 | 31.8048
Equivalent w/ 2.5% Increase
checksum
| 2.5 Percent Increase |  | 100 | 102.5 | 105.0625 | 107.6891 | 110.3813 | 113.1408 | 115.9693 | 118.8686 | 121.8403 | 124.8863 | 128.0085 | 131.2087 | 134.4889 | 137.8511 | 141.2974 |  |  | 1028.527 | 115.7243
| 2.5 Percent Index |  | 0.86412 | 0.88573 | 0.90787 | 0.93057 | 0.95383 | 0.97768 | 1.0021 | 1.0272 | 1.0529 | 1.0792 | 1.1062 | 1.1338 | 1.1621 | 1.1912 | 1.221 |  |  | 8.8877 | 1
Notes
1 | This Schedule 91 standard rate model is based upon the cost effectiveness standard model that has been used for evaluating individual measures of PSE's Energy Efficiency Services program.
2 | Power prices have been updated to be consistent with PSE's 2021 IRP using the Mid-C prices for the “Base” scenario, and includes the 2020 power price forecast from Aurora.
3 | This model accounts for both avoided energy costs and avoided capacity costs.
4 | There are separate calculations for Baseload, Wind and Solar resources which have different capacity values as provided in the 2018 RFP (2020-2022 firm peaker and ELCC) and the 2017 IRP (2023-2040 firm resources, NCF, and hours of operation)
5 | The value of a measure increases with its measured life. The Power Purchase Agreement (PPA) length under Schedule 91 are five, ten and fifteen years, analogous to a five, ten and fifteen year measure life respectively.
6 | For each type of resource the final output of this calculation is a levelized price that does not vary from year to year (see cell L5).
7 | Unlike a conservation project, a PPA requires spinning reserves which are deducted above at the rate of 3% (see cell M6).
8 | PSE currently makes no deduction for balancing related costs as such costs could not be currently identified.
9 | The final levelized price is adjusted to create a Fixed Price option that increases by 2.5% each year, which maintains the same value to PSE while increasing the value to the customer-generator over time.
10 | The proposed strip is highlighted in yellow above.
11 | An additional two years are added to the strip to accommodate projects that sign the PPA in the year following the "current year."

## Output - 10yr Wind
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less
Wind
| Annual Energy Savings in kWh | Measure Life | Capacity Factor | Measure Type | Avoided Cost of Energy | Avoided Cost of Capacity | Total Avoided Cost | $/kWh | $/MWh
|  | 10 | 16% | Flat | 0.022001 | 0.0052508 | 0.027252 | 0.027252 | 27.252
[5 empty] | 22.0011 | 5.2508 | 27.252 | 27.252 | 26.4344 | 3% | "Contingency Reserves" per WECC 10/1/2014
checksum
| Constant Nominal |  | 26.4344 | 26.4344 | 26.4344 | 26.4344 | 26.4344 | 26.4344 | 26.4344 | 26.4344 | 26.4344 | 26.4344 |  |  | 182.3629 | 26.4344
| Escalated Rate @ 2.5% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  |  | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | checksum
| Schedule 91 Rates for Purchase of Energy - Wind |  | 23.9385 | 24.5369 | 25.1503 | 25.7791 | 26.4236 | 27.0842 | 27.7613 | 28.4553 | 29.1667 | 29.8959 | 30.6433 | 31.4093 | 182.3629 | 26.4344
Equivalent w/ 2.5% Increase
checksum
| 2.5 Percent Increase |  | 100 | 102.5 | 105.0625 | 107.6891 | 110.3813 | 113.1408 | 115.9693 | 118.8686 | 121.8403 | 124.8863 |  |  | 761.7986 | 110.4265
| 2.5 Percent Index |  | 0.90558 | 0.92822 | 0.95142 | 0.97521 | 0.99959 | 1.0246 | 1.0502 | 1.0764 | 1.1034 | 1.1309 |  |  | 6.8987 | 1
Notes
1 | This Schedule 91 standard rate model is based upon the cost effectiveness standard model that has been used for evaluating individual measures of PSE's Energy Efficiency Services program.
2 | Power prices have been updated to be consistent with PSE's 2021 IRP using the Mid-C prices for the “Base” scenario, and includes the 2020 power price forecast from Aurora.
3 | This model accounts for both avoided energy costs and avoided capacity costs.
4 | There are separate calculations for Baseload, Wind and Solar resources which have different capacity values as provided in the 2018 RFP (2020-2022 firm peaker and ELCC) and the 2017 IRP (2023-2040 firm resources, NCF, and hours of operation)
5 | The value of a measure increases with its measured life. The Power Purchase Agreement (PPA) length under Schedule 91 are five, ten and fifteen years, analogous to a five, ten and fifteen year measure life respectively.
6 | For each type of resource the final output of this calculation is a levelized price that does not vary from year to year (see cell L5).
7 | Unlike a conservation project, a PPA requires spinning reserves which are deducted above at the rate of 3% (see cell M6).
8 | PSE currently makes no deduction for balancing related costs as such costs could not be currently identified.
9 | The final levelized price is adjusted to create a Fixed Price option that increases by 2.5% each year, which maintains the same value to PSE while increasing the value to the customer-generator over time.
10 | The proposed strip is highlighted in yellow above.
11 | An additional two years are added to the strip to accommodate projects that sign the PPA in the year following the "current year."

## Output - 15yr Wind
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less
Wind
| Annual Energy Savings in kWh | Measure Life | Capacity Factor | Measure Type | Avoided Cost of Energy | Avoided Cost of Capacity | Total Avoided Cost | $/kWh | $/MWh
|  | 15 | 16% | Flat | 0.023 | 0.0052206 | 0.02822 | 0.02822 | 28.2203
[5 empty] | 22.9997 | 5.2206 | 28.2203 | 28.2203 | 27.3737 | 3% | "Contingency Reserves" per WECC 10/1/2014
checksum
| Constant Nominal |  | 27.3737 | 27.3737 | 27.3737 | 27.3737 | 27.3737 | 27.3737 | 27.3737 | 27.3737 | 27.3737 | 27.3737 | 27.3737 | 27.3737 | 27.3737 | 27.3737 | 27.3737 |  |  | 243.2905 | 27.3737
| Escalated Rate @ 2.5% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
|  |  | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | checksum
| Schedule 91 Rates for Purchase of Energy - Wind |  | 23.6543 | 24.2456 | 24.8518 | 25.4731 | 26.1099 | 26.7626 | 27.4317 | 28.1175 | 28.8204 | 29.5409 | 30.2795 | 31.0365 | 31.8124 | 32.6077 | 33.4229 | 34.2584 | 35.1149 | 243.2905 | 27.3737
Equivalent w/ 2.5% Increase
checksum
| 2.5 Percent Increase |  | 100 | 102.5 | 105.0625 | 107.6891 | 110.3813 | 113.1408 | 115.9693 | 118.8686 | 121.8403 | 124.8863 | 128.0085 | 131.2087 | 134.4889 | 137.8511 | 141.2974 |  |  | 1028.527 | 115.7243
| 2.5 Percent Index |  | 0.86412 | 0.88573 | 0.90787 | 0.93057 | 0.95383 | 0.97768 | 1.0021 | 1.0272 | 1.0529 | 1.0792 | 1.1062 | 1.1338 | 1.1621 | 1.1912 | 1.221 |  |  | 8.8877 | 1
Notes
1 | This Schedule 91 standard rate model is based upon the cost effectiveness standard model that has been used for evaluating individual measures of PSE's Energy Efficiency Services program.
2 | Power prices have been updated to be consistent with PSE's 2021 IRP using the Mid-C prices for the “Base” scenario, and includes the 2020 power price forecast from Aurora.
3 | This model accounts for both avoided energy costs and avoided capacity costs.
4 | There are separate calculations for Baseload, Wind and Solar resources which have different capacity values as provided in the 2018 RFP (2020-2022 firm peaker and ELCC) and the 2017 IRP (2023-2040 firm resources, NCF, and hours of operation)
5 | The value of a measure increases with its measured life. The Power Purchase Agreement (PPA) length under Schedule 91 are five, ten and fifteen years, analogous to a five, ten and fifteen year measure life respectively.
6 | For each type of resource the final output of this calculation is a levelized price that does not vary from year to year (see cell L5).
7 | Unlike a conservation project, a PPA requires spinning reserves which are deducted above at the rate of 3% (see cell M6).
8 | PSE currently makes no deduction for balancing related costs as such costs could not be currently identified.
9 | The final levelized price is adjusted to create a Fixed Price option that increases by 2.5% each year, which maintains the same value to PSE while increasing the value to the customer-generator over time.
10 | The proposed strip is highlighted in yellow above.
11 | An additional two years are added to the strip to accommodate projects that sign the PPA in the year following the "current year."

## Output - 10yr Solar
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less
Solar
| Annual Energy Savings in kWh | Measure Life | Capacity Factor | Measure Type | Avoided Cost of Energy | Avoided Cost of Capacity | Total Avoided Cost | $/kWh | $/MWh
|  | 10 | 2% | Flat | 0.022001 | 0.00075733 | 0.022758 | 0.022758 | 22.7585
[5 empty] | 22.0011 | 0.75733 | 22.7585 | 22.7585 | 22.0757 | 3% | "Contingency Reserves" per WECC 10/1/2014
checksum
| Constant Nominal |  | 22.0757 | 22.0757 | 22.0757 | 22.0757 | 22.0757 | 22.0757 | 22.0757 | 22.0757 | 22.0757 | 22.0757 |  |  | 152.2935 | 22.0757
| Escalated Rate @ 2.5% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  |  | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | checksum
| Schedule 91 Rates for Purchase of Energy - Solar |  | 19.9913 | 20.4911 | 21.0034 | 21.5284 | 22.0667 | 22.6183 | 23.1838 | 23.7634 | 24.3575 | 24.9664 | 25.5906 | 26.2303 | 152.2935 | 22.0757
Equivalent w/ 2.5% Increase
checksum
| 2.5 Percent Increase |  | 100 | 102.5 | 105.0625 | 107.6891 | 110.3813 | 113.1408 | 115.9693 | 118.8686 | 121.8403 | 124.8863 |  |  | 761.7986 | 110.4265
| 2.5 Percent Index |  | 0.90558 | 0.92822 | 0.95142 | 0.97521 | 0.99959 | 1.0246 | 1.0502 | 1.0764 | 1.1034 | 1.1309 |  |  | 6.8987 | 1
Notes
1 | This Schedule 91 standard rate model is based upon the cost effectiveness standard model that has been used for evaluating individual measures of PSE's Energy Efficiency Services program.
2 | Power prices have been updated to be consistent with PSE's 2021 IRP using the Mid-C prices for the “Base” scenario, and includes the 2020 power price forecast from Aurora.
3 | This model accounts for both avoided energy costs and avoided capacity costs.
4 | There are separate calculations for Baseload, Wind and Solar resources which have different capacity values as provided in the 2018 RFP (2020-2022 firm peaker and ELCC) and the 2017 IRP (2023-2040 firm resources, NCF, and hours of operation)
5 | The value of a measure increases with its measured life. The Power Purchase Agreement (PPA) length under Schedule 91 are five, ten and fifteen years, analogous to a five, ten and fifteen year measure life respectively.
6 | For each type of resource the final output of this calculation is a levelized price that does not vary from year to year (see cell L5).
7 | Unlike a conservation project, a PPA requires spinning reserves which are deducted above at the rate of 3% (see cell M6).
8 | PSE currently makes no deduction for balancing related costs as such costs could not be currently identified.
9 | The final levelized price is adjusted to create a Fixed Price option that increases by 2.5% each year, which maintains the same value to PSE while increasing the value to the customer-generator over time.
10 | The proposed strip is highlighted in yellow above.
11 | An additional two years are added to the strip to accommodate projects that sign the PPA in the year following the "current year."

## Output - 15yr Solar
Schedule 91 -- Purchases from Qualifying Facilities of Five Megawatts or Less
Solar
| Annual Energy Savings in kWh | Measure Life | Capacity Factor | Measure Type | Avoided Cost of Energy | Avoided Cost of Capacity | Total Avoided Cost | $/kWh | $/MWh
|  | 15 | 2% | Flat | 0.023 | 0.00075298 | 0.023753 | 0.023753 | 23.7527
[5 empty] | 22.9997 | 0.75298 | 23.7527 | 23.7527 | 23.0401 | 3% | "Contingency Reserves" per WECC 10/1/2014
checksum
| Constant Nominal |  | 23.0401 | 23.0401 | 23.0401 | 23.0401 | 23.0401 | 23.0401 | 23.0401 | 23.0401 | 23.0401 | 23.0401 | 23.0401 | 23.0401 | 23.0401 | 23.0401 | 23.0401 |  |  | 204.7743 | 23.0401
| Escalated Rate @ 2.5% |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
|  |  | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | checksum
| Schedule 91 Rates for Purchase of Energy - Solar |  | 19.9095 | 20.4072 | 20.9174 | 21.4403 | 21.9763 | 22.5257 | 23.0889 | 23.6661 | 24.2578 | 24.8642 | 25.4858 | 26.123 | 26.776 | 27.4454 | 28.1316 | 28.8348 | 29.5557 | 204.7743 | 23.0401
Equivalent w/ 2.5% Increase
checksum
| 2.5 Percent Increase |  | 100 | 102.5 | 105.0625 | 107.6891 | 110.3813 | 113.1408 | 115.9693 | 118.8686 | 121.8403 | 124.8863 | 128.0085 | 131.2087 | 134.4889 | 137.8511 | 141.2974 |  |  | 1028.527 | 115.7243
| 2.5 Percent Index |  | 0.86412 | 0.88573 | 0.90787 | 0.93057 | 0.95383 | 0.97768 | 1.0021 | 1.0272 | 1.0529 | 1.0792 | 1.1062 | 1.1338 | 1.1621 | 1.1912 | 1.221 |  |  | 8.8877 | 1
Notes
1 | This Schedule 91 standard rate model is based upon the cost effectiveness standard model that has been used for evaluating individual measures of PSE's Energy Efficiency Services program.
2 | Power prices have been updated to be consistent with PSE's 2021 IRP using the Mid-C prices for the “Base” scenario, and includes the 2020 power price forecast from Aurora.
3 | This model accounts for both avoided energy costs and avoided capacity costs.
4 | There are separate calculations for Baseload, Wind and Solar resources which have different capacity values as provided in the 2018 RFP (2020-2022 firm peaker and ELCC) and the 2017 IRP (2023-2040 firm resources, NCF, and hours of operation)
5 | The value of a measure increases with its measured life. The Power Purchase Agreement (PPA) length under Schedule 91 are five, ten and fifteen years, analogous to a five, ten and fifteen year measure life respectively.
6 | For each type of resource the final output of this calculation is a levelized price that does not vary from year to year (see cell L5).
7 | Unlike a conservation project, a PPA requires spinning reserves which are deducted above at the rate of 3% (see cell M6).
8 | PSE currently makes no deduction for balancing related costs as such costs could not be currently identified.
9 | The final levelized price is adjusted to create a Fixed Price option that increases by 2.5% each year, which maintains the same value to PSE while increasing the value to the customer-generator over time.
10 | The proposed strip is highlighted in yellow above.
11 | An additional two years are added to the strip to accommodate projects that sign the PPA in the year following the "current year."

## Electric EES CE Std Energy
Levelized Cost Effectiveness Standard-Energy
Including
T&D Line Loss Reduction [4] |  | 2.7%
Nominal Discount Rate |  | 7.39%
Measure Life | Flat ($/MWh) | Flat ($/kWh)
1 | 20.006 | 0.020006
2 | 21.6748 | 0.021675
3 | 21.7019 | 0.021702
4 | 21.5636 | 0.021564
5 | 21.3497 | 0.02135
6 | 21.2021 | 0.021202
7 | 21.123 | 0.021123
8 | 21.3818 | 0.021382
9 | 21.6855 | 0.021686
10 | 22.0011 | 0.022001
11 | 22.2323 | 0.022232
12 | 22.408 | 0.022408
13 | 22.5851 | 0.022585
14 | 22.7932 | 0.022793
15 | 22.9997 | 0.023
16 | 23.2084 | 0.023208
17 | 23.4371 | 0.023437
18 | 23.6294 | 0.023629
19 | 23.7962 | 0.023796
20 | 23.939 | 0.023939
21 | 24.0718 | 0.024072

## FlatLoadShapeEnergy_perMWh
|  |  | Year | Measure Life | Annual Weighted Average of Hourly Price | T&D Line Loss Reduction | Planning Adjustment | Avoided Renewable Benefits | Conservation Credit | Present Value-Energy | Cumulative Present Value -Energy | Levelized Cost Effectiveness Standard-Energy
|  |  |  | (years) | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh) | ($/MWh)
| T&D Line Loss Reduction [4] | 2.7% | [1] | [2] | [3] | [4] | [5] | [6] | [7] | [8] | [9] | [10]
| Nominal Discount Rate | 7.39% | 2020 | 1 | 19.48 | 0.52596 | 0 | 0 | 0 | 18.6293 | 18.6293 | 20.006
| GDP Inflation | 2.5% | 2021 | 2 | 22.85 | 0.61695 | 0 | 0 | 0 | 20.3483 | 38.9776 | 21.6748
|  |  | 2022 | 3 | 21.19 | 0.57213 | 0 | 0 | 0 | 17.5715 | 56.5491 | 21.7019
|  |  | 2023 | 4 | 20.53 | 0.55431 | 0 | 0 | 0 | 15.8527 | 72.4019 | 21.5636
|  |  | 2024 | 5 | 19.79 | 0.53433 | 0 | 0 | 0 | 14.2297 | 86.6316 | 21.3497
|  |  | 2025 | 6 | 19.75 | 0.53325 | 0 | 0 | 0 | 13.2237 | 99.8554 | 21.2021
|  |  | 2026 | 7 | 19.97 | 0.53919 | 0 | 0 | 0 | 12.4509 | 112.3063 | 21.123
|  |  | 2027 | 8 | 23.19 | 0.62613 | 0 | 0 | 0 | 13.4636 | 125.7699 | 21.3818
|  |  | 2028 | 9 | 24.42 | 0.65934 | 0 | 0 | 0 | 13.2021 | 138.9719 | 21.6855
|  |  | 2029 | 10 | 25.44 | 0.68688 | 0 | 0 | 0 | 12.8071 | 151.779 | 22.0011
|  |  | 2030 | 11 | 25.05 | 0.67635 | 0 | 0 | 0 | 11.7429 | 163.5219 | 22.2323
|  |  | 2031 | 12 | 24.78 | 0.66906 | 0 | 0 | 0 | 10.817 | 174.3388 | 22.408
|  |  | 2032 | 13 | 25.38 | 0.68526 | 0 | 0 | 0 | 10.3165 | 184.6553 | 22.5851
|  |  | 2033 | 14 | 26.69 | 0.72063 | 0 | 0 | 0 | 10.1024 | 194.7578 | 22.7932
|  |  | 2034 | 15 | 27.4 | 0.7398 | 0 | 0 | 0 | 9.6575 | 204.4152 | 22.9997
|  |  | 2035 | 16 | 28.25 | 0.76275 | 0 | 0 | 0 | 9.2719 | 213.6871 | 23.2084
|  |  | 2036 | 17 | 29.71 | 0.80217 | 0 | 0 | 0 | 9.08 | 222.7671 | 23.4371
|  |  | 2037 | 18 | 29.43 | 0.79461 | 0 | 0 | 0 | 8.3755 | 231.1427 | 23.6294
|  |  | 2038 | 19 | 29.33 | 0.79191 | 0 | 0 | 0 | 7.7727 | 238.9153 | 23.7962
|  |  | 2039 | 20 | 29.12 | 0.78624 | 0 | 0 | 0 | 7.186 | 246.1013 | 23.939
|  |  | 2040 | 21 | 29.38 | 0.79326 | 0 | 0 | 0 | 6.7512 | 252.8525 | 24.0718
[4] | Transmission losses updated as per section 15.7 Real Power Losses, PSE Current Effective OATT 8.7.18.
http://www.oatioasis.com/webSmartOASIS/HomePage?ProviderName=PSEI&Homepage=1

## Baseload Avoided Capacity Calcs
|  |  | Year | Measure Life | Total Annual Capital & Fixed Costs of Capacity | NPV - Capacity | Cumulative Present Value CES-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Deferred T&D | Conservation Credit | NPV - Capacity | Cumulative Present Value CES-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity
|  |  |  | (years) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | $ / MWh | $ / kWh | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | $ / MWh | $ / kWh | $ / MWh | $ / kWh
| Deferred T&D Cost Credit ($/kw-yr) (4): | 0 | [1] | [2] | [3] | [6] | [7] | [8] | [9] | [10] | [4] | [5] | [6] | [7] | [8] | [9] | [10] | [9] | [10]
| NW Power Act Regional Credit (5): | 0% | 2020 | 1 | 89 | 82.8755 | 82.8755 | 89 | 10.1598 | 0.01016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.1598 | 0.01016
| Nominal Discount Rate (*): | 7.39% | 2021 | 2 | 89 | 77.1725 | 160.048 | 89 | 10.1598 | 0.01016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.1598 | 0.01016
| GDP Inflation (**): | 2.5% | 2022 | 3 | 89 | 71.8619 | 231.9098 | 89 | 10.1598 | 0.01016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.1598 | 0.01016
|  |  | 2023 | 4 | 93 | 69.9242 | 301.834 | 89.8957 | 10.234 | 0.010234 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.234 | 0.010234
| Deferred T&D Cost Credit ($/kw-yr) (4): | Note 2 | 2024 | 5 | 93 | 65.1124 | 366.9464 | 90.4313 | 10.3232 | 0.010323 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.3232 | 0.010323
| 2012 | 0 | 2025 | 6 | 80 | 52.1563 | 419.1028 | 88.9874 | 10.1584 | 0.010158 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.1584 | 0.010158
| 2020 | 0 | 2026 | 7 | 80 | 48.5672 | 467.67 | 87.9611 | 10.0412 | 0.010041 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.0412 | 0.010041
|  |  | 2027 | 8 | 80.4779 | 45.4953 | 513.1652 | 87.242 | 9.9319 | 0.0099319 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.9319 | 0.0099319
|  | 0 | 2028 | 9 | 80.4779 | 42.3645 | 555.5297 | 86.6863 | 9.8957 | 0.0098957 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8957 | 0.0098957
|  |  | 2029 | 10 | 80.4779 | 39.4492 | 594.979 | 86.2452 | 9.8453 | 0.0098453 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8453 | 0.0098453
|  |  | 2030 | 11 | 80.4779 | 36.7345 | 631.7135 | 85.8873 | 9.8045 | 0.0098045 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8045 | 0.0098045
|  |  | 2031 | 12 | 84.1571 | 35.7705 | 667.484 | 85.7928 | 9.7669 | 0.0097669 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.7669 | 0.0097669
|  |  | 2032 | 13 | 84.1571 | 33.3089 | 700.7929 | 85.7136 | 9.7847 | 0.0097847 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.7847 | 0.0097847
|  |  | 2033 | 14 | 84.1571 | 31.0168 | 731.8097 | 85.6464 | 9.777 | 0.009777 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.777 | 0.009777
|  |  | 2034 | 15 | 88.3068 | 30.3066 | 762.1163 | 85.7492 | 9.7887 | 0.0097887 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.7887 | 0.0097887
|  |  | 2035 | 16 | 88.3068 | 28.221 | 790.3373 | 85.8379 | 9.7721 | 0.0097721 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.7721 | 0.0097721
|  |  | 2036 | 17 | 91.0895 | 27.1071 | 817.4444 | 86.0024 | 9.8176 | 0.0098176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8176 | 0.0098176
|  |  | 2037 | 18 | 91.0895 | 25.2417 | 842.6861 | 86.1465 | 9.8341 | 0.0098341 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8341 | 0.0098341
|  |  | 2038 | 19 | 91.0895 | 23.5047 | 866.1908 | 86.2735 | 9.8486 | 0.0098486 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8486 | 0.0098486
|  |  | 2039 | 20 | 91.0895 | 21.8873 | 888.0781 | 86.3861 | 9.8345 | 0.0098345 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8345 | 0.0098345
|  |  | 2040 | 21 | 91.0895 | 20.3811 | 908.4591 | 86.4863 | 9.8729 | 0.0098729 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8729 | 0.0098729
Note 1: The 7th Northwest Power Plan used monetary values of avoided transmission and distribution capacity which were recommended by the Regional Technical Forum. The values of transmission and distribution in the 7th Northwest Power Plan are in 2012 prices. To obtain a current year value, the price in 2012 was inflated using 2.5% per year, consistent with EES methodology.

## Wind Avoided Capacity Calcs
|  |  | Year | Measure Life | Total Annual Capital & Fixed Costs of Capacity | NPV - Capacity | Cumulative Present Value CES-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Deferred T&D | Conservation Credit | NPV - Capacity | Cumulative Present Value CES-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity
|  |  |  | (years) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | $ / MWh | $ / kWh | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | $ / MWh | $ / kWh | $ / MWh | $ / kWh
| Deferred T&D Cost Credit ($/kw-yr) (4): | 0 | [1] | [2] | [3] | [6] | [7] | [8] | [9] | [10] | [4] | [5] | [6] | [7] | [8] | [9] | [10] | [9] | [10]
| NW Power Act Regional Credit (5): | 0% | 2020 | 1 | 14.24 | 13.2601 | 13.2601 | 14.24 | 5.4186 | 0.0054186 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.4186 | 0.0054186
| Nominal Discount Rate (*): | 7.39% | 2021 | 2 | 14.24 | 12.3476 | 25.6077 | 14.24 | 5.4186 | 0.0054186 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.4186 | 0.0054186
| GDP Inflation (**): | 2.5% | 2022 | 3 | 14.24 | 11.4979 | 37.1056 | 14.24 | 5.4186 | 0.0054186 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.4186 | 0.0054186
|  |  | 2023 | 4 | 14.88 | 11.1879 | 48.2934 | 14.3833 | 5.4581 | 0.0054581 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.4581 | 0.0054581
| Deferred T&D Cost Credit ($/kw-yr) (4): | Note 2 | 2024 | 5 | 14.88 | 10.418 | 58.7114 | 14.469 | 5.5057 | 0.0055057 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.5057 | 0.0055057
| 2012 | 0 | 2025 | 6 | 12.8 | 8.345 | 67.0564 | 14.238 | 5.4178 | 0.0054178 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.4178 | 0.0054178
| 2020 | 0 | 2026 | 7 | 12.8 | 7.7708 | 74.8272 | 14.0738 | 5.3553 | 0.0053553 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.3553 | 0.0053553
|  |  | 2027 | 8 | 12.8765 | 7.2792 | 82.1064 | 13.9587 | 5.297 | 0.005297 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.297 | 0.005297
|  |  | 2028 | 9 | 12.8765 | 6.7783 | 88.8848 | 13.8698 | 5.2777 | 0.0052777 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2777 | 0.0052777
|  |  | 2029 | 10 | 12.8765 | 6.3119 | 95.1966 | 13.7992 | 5.2508 | 0.0052508 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2508 | 0.0052508
|  |  | 2030 | 11 | 12.8765 | 5.8775 | 101.0742 | 13.742 | 5.2291 | 0.0052291 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2291 | 0.0052291
|  |  | 2031 | 12 | 13.4651 | 5.7233 | 106.7974 | 13.7268 | 5.209 | 0.005209 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.209 | 0.005209
|  |  | 2032 | 13 | 13.4651 | 5.3294 | 112.1269 | 13.7142 | 5.2185 | 0.0052185 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2185 | 0.0052185
|  |  | 2033 | 14 | 13.4651 | 4.9627 | 117.0896 | 13.7034 | 5.2144 | 0.0052144 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2144 | 0.0052144
|  |  | 2034 | 15 | 14.1291 | 4.849 | 121.9386 | 13.7199 | 5.2206 | 0.0052206 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2206 | 0.0052206
|  |  | 2035 | 16 | 14.1291 | 4.5154 | 126.454 | 13.7341 | 5.2118 | 0.0052118 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2118 | 0.0052118
|  |  | 2036 | 17 | 14.5743 | 4.3371 | 130.7911 | 13.7604 | 5.2361 | 0.0052361 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2361 | 0.0052361
|  |  | 2037 | 18 | 14.5743 | 4.0387 | 134.8298 | 13.7834 | 5.2448 | 0.0052448 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2448 | 0.0052448
|  |  | 2038 | 19 | 14.5743 | 3.7608 | 138.5905 | 13.8038 | 5.2526 | 0.0052526 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2526 | 0.0052526
|  |  | 2039 | 20 | 14.5743 | 3.502 | 142.0925 | 13.8218 | 5.2451 | 0.0052451 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2451 | 0.0052451
|  |  | 2040 | 21 | 14.5743 | 3.261 | 145.3535 | 13.8378 | 5.2655 | 0.0052655 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2655 | 0.0052655
Note 1: The 7th Northwest Power Plan used monetary values of avoided transmission and distribution capacity which were recommended by the Regional Technical Forum. The values of transmission and distribution in the 7th Northwest Power Plan are in 2012 prices. To obtain a current year value, the price in 2012 was inflated using 2.5% per year, consistent with EES methodology.

## Solar Avoided Capacity Calcs
|  |  | Year | Measure Life | Total Annual Capital & Fixed Costs of Capacity | NPV - Capacity | Cumulative Present Value CES-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Deferred T&D | Conservation Credit | NPV - Capacity | Cumulative Present Value CES-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity | Levelized Cost Effectiveness Standard-Capacity
|  |  |  | (years) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | $ / MWh | $ / kWh | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | ($/kw-yr) | $ / MWh | $ / kWh | $ / MWh | $ / kWh
| Deferred T&D Cost Credit ($/kw-yr) (4): | 0 | [1] | [2] | [3] | [6] | [7] | [8] | [9] | [10] | [4] | [5] | [6] | [7] | [8] | [9] | [10] | [9] | [10]
| NW Power Act Regional Credit (5): | 0% | 2020 | 1 | 1.78 | 1.6575 | 1.6575 | 1.78 | 0.78152 | 0.00078152 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78152 | 0.00078152
| Nominal Discount Rate (*): | 7.39% | 2021 | 2 | 1.78 | 1.5434 | 3.201 | 1.78 | 0.78152 | 0.00078152 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78152 | 0.00078152
| GDP Inflation (**): | 2.5% | 2022 | 3 | 1.78 | 1.4372 | 4.6382 | 1.78 | 0.78152 | 0.00078152 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78152 | 0.00078152
|  |  | 2023 | 4 | 1.86 | 1.3985 | 6.0367 | 1.7979 | 0.78723 | 0.00078723 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78723 | 0.00078723
| Deferred T&D Cost Credit ($/kw-yr) (4): | Note 1 | 2024 | 5 | 1.86 | 1.3022 | 7.3389 | 1.8086 | 0.79409 | 0.00079409 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79409 | 0.00079409
| 2012 | 0 | 2025 | 6 | 1.6 | 1.0431 | 8.3821 | 1.7797 | 0.78141 | 0.00078141 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78141 | 0.00078141
| 2020 | 0 | 2026 | 7 | 1.6 | 0.97134 | 9.3534 | 1.7592 | 0.7724 | 0.0007724 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7724 | 0.0007724
|  |  | 2027 | 8 | 1.6096 | 0.90991 | 10.2633 | 1.7448 | 0.76399 | 0.00076399 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76399 | 0.00076399
|  |  | 2028 | 9 | 1.6096 | 0.84729 | 11.1106 | 1.7337 | 0.76121 | 0.00076121 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76121 | 0.00076121
|  |  | 2029 | 10 | 1.6096 | 0.78898 | 11.8996 | 1.7249 | 0.75733 | 0.00075733 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.75733 | 0.00075733
|  |  | 2030 | 11 | 1.6096 | 0.73469 | 12.6343 | 1.7177 | 0.75419 | 0.00075419 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.75419 | 0.00075419
|  |  | 2031 | 12 | 1.6831 | 0.71541 | 13.3497 | 1.7159 | 0.7513 | 0.0007513 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7513 | 0.0007513
|  |  | 2032 | 13 | 1.6831 | 0.66618 | 14.0159 | 1.7143 | 0.75267 | 0.00075267 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.75267 | 0.00075267
|  |  | 2033 | 14 | 1.6831 | 0.62034 | 14.6362 | 1.7129 | 0.75208 | 0.00075208 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.75208 | 0.00075208
|  |  | 2034 | 15 | 1.7661 | 0.60613 | 15.2423 | 1.715 | 0.75298 | 0.00075298 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.75298 | 0.00075298
|  |  | 2035 | 16 | 1.7661 | 0.56442 | 15.8067 | 1.7168 | 0.7517 | 0.0007517 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7517 | 0.0007517
|  |  | 2036 | 17 | 1.8218 | 0.54214 | 16.3489 | 1.72 | 0.7552 | 0.0007552 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7552 | 0.0007552
|  |  | 2037 | 18 | 1.8218 | 0.50483 | 16.8537 | 1.7229 | 0.75647 | 0.00075647 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.75647 | 0.00075647
|  |  | 2038 | 19 | 1.8218 | 0.47009 | 17.3238 | 1.7255 | 0.75758 | 0.00075758 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.75758 | 0.00075758
|  |  | 2039 | 20 | 1.8218 | 0.43775 | 17.7616 | 1.7277 | 0.7565 | 0.0007565 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7565 | 0.0007565
|  |  | 2040 | 21 | 1.8218 | 0.40762 | 18.1692 | 1.7297 | 0.75945 | 0.00075945 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.75945 | 0.00075945
Note 1: The 7th Northwest Power Plan used monetary values of avoided transmission and distribution capacity which were recommended by the Regional Technical Forum. The values of transmission and distribution in the 7th Northwest Power Plan are in 2012 prices. To obtain a current year value, the price in 2012 was inflated using 2.5% per year, consistent with EES methodology.

## Energy Prices
Forecast Mid-C Power Prices for Base Scenario (Nominal $/MWh) - The 2020-2040 Avoided Energy Costs are based on PSE’s current forecast of market prices for the Mid-C Market in PSE’s 2021 Integrated Resource Plan ("IRP"), pursuant to WAC 480-106-040(a)
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Ave
MONTHS
1 | 2020 | 25.99 | 26.25 | 6.31 | 9.87 | 6.91 | 11.33 | 19.98 | 23.73 | 23.67 | 24.02 | 25.91 | 30.05 | 19.48
2 | 2021 | 27.69 | 28.82 | 21.13 | 17.18 | 10.79 | 13.67 | 22.61 | 25.02 | 25.99 | 25.91 | 26.7 | 28.98 | 22.85
3 | 2022 | 26.56 | 27.65 | 20.55 | 15.1 | 9.49 | 11.31 | 21.01 | 22.88 | 24.31 | 23.59 | 24.69 | 27.53 | 21.19
4 | 2023 | 25.24 | 26.5 | 19.77 | 14.79 | 9.7 | 10.29 | 20.13 | 21.93 | 23.68 | 23.11 | 24.42 | 27.09 | 20.53
5 | 2024 | 24.49 | 25.82 | 18.79 | 13.88 | 7.17 | 9.23 | 18.46 | 22.35 | 24 | 22.97 | 24.39 | 26.06 | 19.79
6 | 2025 | 24.49 | 25.82 | 18.97 | 12.83 | 7.53 | 9.73 | 18.21 | 22.47 | 24.22 | 22.79 | 23.8 | 26.5 | 19.75
7 | 2026 | 24.38 | 26.73 | 18.2 | 13.87 | 7.99 | 9.55 | 18.67 | 22.57 | 24.01 | 23.09 | 23.99 | 26.99 | 19.97
8 | 2027 | 28.08 | 28.91 | 19.71 | 15.44 | 9.14 | 10.75 | 22.01 | 26.84 | 28.62 | 28.87 | 29 | 31.2 | 23.19
9 | 2028 | 28.71 | 29.47 | 19.64 | 16.52 | 9.08 | 11.2 | 23.79 | 28.14 | 32.15 | 31.02 | 30.01 | 33.37 | 24.42
10 | 2029 | 29.33 | 31.29 | 19.63 | 20.07 | 8.87 | 11.5 | 23.61 | 30.2 | 35.24 | 32.07 | 28.96 | 34.85 | 25.44
11 | 2030 | 29.05 | 30.29 | 18.28 | 18.75 | 8.06 | 10.96 | 22.71 | 29.93 | 34.66 | 32.94 | 30.73 | 34.61 | 25.05
12 | 2031 | 28.42 | 30.42 | 18.22 | 18.19 | 8.55 | 11.12 | 22.13 | 29.98 | 34.53 | 32.65 | 29.03 | 34.49 | 24.78
13 | 2032 | 28.24 | 29.21 | 18.31 | 19.43 | 10.21 | 10.67 | 23.05 | 29.05 | 33.67 | 34.86 | 32.28 | 35.65 | 25.38
14 | 2033 | 29.08 | 31.54 | 19.17 | 19.67 | 9.61 | 11.64 | 24.84 | 29.95 | 34.57 | 37.49 | 36.03 | 37.07 | 26.69
15 | 2034 | 29.79 | 32.26 | 19.17 | 19.69 | 10.51 | 12.34 | 27.12 | 30.25 | 36.25 | 37.68 | 35.17 | 38.81 | 27.4
16 | 2035 | 31 | 35.33 | 19.95 | 22.93 | 11.6 | 12.6 | 27.03 | 32.04 | 37.97 | 36.64 | 32.09 | 40.27 | 28.25
17 | 2036 | 31.9 | 35.4 | 20.49 | 21.57 | 11.51 | 13.52 | 29.25 | 34.32 | 39.07 | 38.76 | 38.04 | 42.85 | 29.71
18 | 2037 | 32.89 | 35.55 | 19.9 | 20.06 | 11.58 | 12.92 | 30.46 | 34.47 | 38.51 | 38.58 | 35.59 | 42.87 | 29.43
19 | 2038 | 33.05 | 34.31 | 19.61 | 20.59 | 12.34 | 12.73 | 30.02 | 34.49 | 38.54 | 38.11 | 34.6 | 43.72 | 29.33
20 | 2039 | 31.29 | 33.46 | 18.2 | 19.01 | 10.72 | 12.48 | 30.87 | 34.28 | 40.25 | 38.63 | 36.81 | 43.64 | 29.12
21 | 2040 | 31.22 | 33.69 | 17.21 | 18.62 | 10 | 12.67 | 30.73 | 33.44 | 41.9 | 38.88 | 37.62 | 46.67 | 29.38
|  | 12: 20-year levelized | 23.3097
|  | 12: 15-year levelized | 22.395

## Capacity Delivered
|  | Indicative Avoided Capacity Costs for Resources Delivered to PSE's System |  | Delivered to PSE Capacity Value ($/kW-yr) |  |  |  |  | Delivered to PSE Capacity Value ($/MWh)
|  | Capacity Resource Addition | (a) Levelized Net $/kW-yr Delivered To PSE | (b)=(a)*1.000 Baseload Resource ELCC=100.0% | (c)=(a)*0.16 Wind Resource ELCC=16% | (d)=(a)*0.020 Solar Resource ELCC=2.0% | (e) Year | (f) Total Hours in Year | (g)=(f)*1.000 Baseload Resource NCF=100% | (h)=(b)*(g) Baseload Resource | (i)=(f)*0.300 Wind Resource NCF=30.0% | (j)=(c)*(i) Wind Resource | (k)=(f)*0.260 Solar Resource NCF=26.0% | (l)=(d)*(k) Wind Resource
|  |  |  | 100% | 16% | 2% |  |  | 100% |  | 30% |  | 26%
|  |  | $/kW-yr | $/kW-yr | $/kW-yr | $/kW-yr |  |  | Hours Available | $/MWh | Hours Available | $/MWh | Hours Available | $/MWh
1 | 2020 | Frame Peaker | 89 | 89 | 14.24 | 1.78 | 2020 | 8784 | 8784 | 10.1321 | 2635.2 | 5.4038 | 2283.84 | 0.77939
2 | 2021 |  | 89 | 89 | 14.24 | 1.78 | 2021 | 8760 | 8760 | 10.1598 | 2628 | 5.4186 | 2277.6 | 0.78152
3 | 2022 |  | 89 | 89 | 14.24 | 1.78 | 2022 | 8760 | 8760 | 10.1598 | 2628 | 5.4186 | 2277.6 | 0.78152
4 | 2023 | Flow Battery-4 hr | 93 | 93 | 14.88 | 1.86 | 2023 | 8760 | 8760 | 10.6164 | 2628 | 5.6621 | 2277.6 | 0.81665
5 | 2024 | Flow Battery-4 hr | 93 | 93 | 14.88 | 1.86 | 2024 | 8784 | 8784 | 10.5874 | 2635.2 | 5.6466 | 2283.84 | 0.81442
6 | 2025 | Frame Peaker | 80 | 80 | 12.8 | 1.6 | 2025 | 8760 | 8760 | 9.1324 | 2628 | 4.8706 | 2277.6 | 0.70249
7 | 2026 | Frame Peaker | 80 | 80 | 12.8 | 1.6 | 2026 | 8760 | 8760 | 9.1324 | 2628 | 4.8706 | 2277.6 | 0.70249
8 | 2027 | Frame Peaker | 80.4779 | 80.4779 | 12.8765 | 1.6096 | 2027 | 8760 | 8760 | 9.187 | 2628 | 4.8997 | 2277.6 | 0.70669
9 | 2028 |  | 80.4779 | 80.4779 | 12.8765 | 1.6096 | 2028 | 8784 | 8784 | 9.1619 | 2635.2 | 4.8863 | 2283.84 | 0.70476
10 | 2029 |  | 80.4779 | 80.4779 | 12.8765 | 1.6096 | 2029 | 8760 | 8760 | 9.187 | 2628 | 4.8997 | 2277.6 | 0.70669
11 | 2030 |  | 80.4779 | 80.4779 | 12.8765 | 1.6096 | 2030 | 8760 | 8760 | 9.187 | 2628 | 4.8997 | 2277.6 | 0.70669
12 | 2031 | Frame Peaker | 84.1571 | 84.1571 | 13.4651 | 1.6831 | 2031 | 8760 | 8760 | 9.607 | 2628 | 5.1237 | 2277.6 | 0.739
13 | 2032 |  | 84.1571 | 84.1571 | 13.4651 | 1.6831 | 2032 | 8784 | 8784 | 9.5807 | 2635.2 | 5.1097 | 2283.84 | 0.73698
14 | 2033 |  | 84.1571 | 84.1571 | 13.4651 | 1.6831 | 2033 | 8760 | 8760 | 9.607 | 2628 | 5.1237 | 2277.6 | 0.739
15 | 2034 | Frame Peaker | 88.3068 | 88.3068 | 14.1291 | 1.7661 | 2034 | 8760 | 8760 | 10.0807 | 2628 | 5.3764 | 2277.6 | 0.77544
16 | 2035 |  | 88.3068 | 88.3068 | 14.1291 | 1.7661 | 2035 | 8760 | 8760 | 10.0807 | 2628 | 5.3764 | 2277.6 | 0.77544
17 | 2036 | Frame Peaker | 91.0895 | 91.0895 | 14.5743 | 1.8218 | 2036 | 8784 | 8784 | 10.3699 | 2635.2 | 5.5306 | 2283.84 | 0.79769
18 | 2037 |  | 91.0895 | 91.0895 | 14.5743 | 1.8218 | 2037 | 8760 | 8760 | 10.3983 | 2628 | 5.5458 | 2277.6 | 0.79987
19 | 2038 |  | 91.0895 | 91.0895 | 14.5743 | 1.8218 | 2038 | 8760 | 8760 | 10.3983 | 2628 | 5.5458 | 2277.6 | 0.79987
20 | 2039 |  | 91.0895 | 91.0895 | 14.5743 | 1.8218 | 2039 | 8760 | 8760 | 10.3983 | 2628 | 5.5458 | 2277.6 | 0.79987
21 | 2040 |  | 91.0895 | 91.0895 | 14.5743 | 1.8218 | 2040 | 8784 | 8784 | 10.3699 | 2635.2 | 5.5306 | 2283.84 | 0.79769
22 | 2041 |  | 91.0895 | 91.0895 | 14.5743 | 1.8218 | 2041 | 8760 | 8760 | 10.3983 | 2628 | 5.5458 | 2277.6 | 0.79987
- Basis for table is PSE's 2017 IRP and 2018 RFP
- Highlighted cells in yellow Source: 2018 RFP
- 2020-2022 represents the capacity cost from the 2018 RFP results.
The Wind and Solar ELCC of 6.4% and 1.0% is based in the assumption used in the 2018 RFP.
- Not highlighted in Yellow Source: 2017 PSE IRP; Appendix N: Electical Analysis; Page N-67; Figure N-37: Indicative Avoided Capacity Resource Costs for Resources Delivered to PSE (Base + CAR Only Scenario)
- The source table provided cost from 2023 to 2037 so additional years and capacity costs were added for 2038-2041 in order to align with the current energy price forecast table. It is assumed that either a Frame Peaker or a Flow Battery is the incremental capacity resource in these years, therefore the "projected fixed costs of a simple-cycle combustion turbine" is used for cost.
- "Hours Available" are calculated as the total hours in a year for which the resource type is projected to operate, as determined by the Net Capacity Factor (NCF) for the generic resource for which the ELCC is based multiplied by the Total Hours in the Year.
- Source: 2017 PSE IRP; Appendix N: Electical Analysis; Page N-67; Figure N-18: New Resource Cost Assumptions
- Wind Resource NCF is based on the generic resource "Wind Plant - Washington"
- Solar Resouce NCF is based on the generic resource "Central Station Solar Tracking PV"

## Cost of Capital
As Used in UE-190529 and UG-190530
PUGET SOUND ENERGY-ELECTRIC
PRO FORMA COST OF CAPITAL APPROVED IN UE-190529/UG-190530
FOR THE TWELVE MONTHS ENDED DECEMBER 31, 2018
LINE |  | PRO FORMA |  | COST OF
NO. | DESCRIPTION | CAPITAL % | COST % | CAPITAL
1 | SHORT & LONG TERM DEBT | 51.5% | 5.5% | 2.83%
2 | EQUITY | 48.5% | 9.4% | 4.56%
3 | TOTAL COST OF CAPITAL | 100% |  | 7.39%
4
5 | AFTER TAX DEBT | 51.5% | 5.5% | 2.24%
6 | EQUITY | 48.5% | 9.4% | 4.56%
7 | TOTAL AFTER TAX COST OF CAPITAL | 100% |  | 6.8%