## All Source RFP Inbox Q&As (W)
| 2022 DER RFP Q&A through | DERRFPmailbox@pse.com
# | Question/comment to be posted on website | PSE response
1 | Good morning, I was wondering if there was an update regarding this RFI/RFP? We are interested in how the responses have been utilized. | We appreciate all proposals provided for the 2021 RFI for DERs. The proposals received for the RFI helped provide PSE with a snapshot of market offerings for DERs, which aided in drafting the 2022 DER RFP. The 2022 Draft DER RFP may be found in docket UE-210878 (https://www.utc.wa.gov/casedocket/2021/210878). More information about the DER RFP, including the schedule and upcoming meetings, can be found on PSE’s RFP website (https://www.pse.com/rfp).
2 | We submitted a response to the 2021 Distributed Energy Resources RFI in June. According to this page (https://www.pse.com/en/pages/energy-supply/acquiring-energy) PSE will be issuing an RFP for DER in early 2022. Is that still the correct timeline? | The 2022 Draft DER RFP may be found in docket UE-210878 (https://www.utc.wa.gov/casedocket/2021/210878). Pending WUTC approval, PSE will issue the final DER RFP on February 7, 2022. More information about the DER RFP, including the schedule and upcoming meetings, can be found on PSE’s RFP website (https://www.pse.com/rfp).
3 | We are a battery system manufacturer capable of deploying energy storage systems, at high volume, in the 11 kWh to 2 MWh range. I would like to better understand how manufacturers might play a role in this RFP and whether you recommend OEMs submitting an RFP bid/response – under Category A and/or B. I look forward to hearing from you. Thank you for your time and consideration. | Manufacturers are welcome to submit proposals for the DER RFP. Whether a manufacturer is better suited for a Category A or Category B proposal is dependent on its abilities and interests. Category A proposals are intended for complete turnkey resources, while Category B proposals are intended for Vendor Service Components, which in the case of a manufacturer might be equipment installation and O&M services.
4 | We received the notice about the upcoming DER RFP early next year. Per instructions, please add this email to the distribution list. Also, if you are able to answer: it says comments are accepted through December 30th of this year. Is there a desired format/protocol for submitting these comments or should they be emailed to this inbox? | Please refer to the instructions posted on November 19, 2021 under Notice - Opportunity to file Written Comment on the DER RFP docket UE-210878 (https://www.utc.wa.gov/casedocket/2021/210878/docsets), and also attached to this email.
5 | Would geothermal - battery storage fall under the use for the 2022 RFP? If so, please add us to the distribution list. | PSE prefers lithium ion technology, but will evaluate all forms of storage for feasibility and fit. A geothermal battery could be considered, dependent on the details of your proposal. However, PSE is seeking commercially proven technologies.
6 | This morning I reviewed Clean Energy Implementation Plan that PSE published recently. We make a mobile power station capable of storing & exporting a half-megawatt of power. Thought it might be worth consideration by PSE, as part of the greater solution you envision. Appreciate your consideration and also your assistance in navigating to others there with battery/energy storage responsibilities. | Thank you for your interest in PSE's Clean Energy Implementation Plan. If you would like to be further involved in PSE's renewable energy and distributed energy resource goals, we recommend that you participate in the upcoming 2022 DER RFP. The 2022 Draft DER RFP may be found in docket UE-210878 (https://www.utc.wa.gov/casedocket/2021/210878). Pending WUTC approval, PSE will issue the final DER RFP on February 7, 2022. More information about the DER RFP, including the schedule and upcoming meetings, can be found on PSE’s RFP website (https://www.pse.com/rfp).
7 | Would you be open to a quick call to touch base before the final RFP is released? Especially with the draft RFP being so open ended, I'd love to hear more about what PSE is trying to accomplish, which will help make sure the proposal you recieve hits the mark. | Thank you for your interest in PSE's 2022 DER RFP. Currently we are not meeting with potential candidates to discuss the RFP, but if you have any questions or comments please address them in docket UE-210878 (https://www.utc.wa.gov/casedocket/2021/210878). Details on how to file comments can be found under Notice - Opportunity to file Written Comment. More information about the DER RFP, including the schedule and upcoming meetings, can be found on PSE’s RFP website (https://www.pse.com/rfp).
8 | In order to avoid excluding BDR from participating in PSE’s DR solicitation, we note the following potential hurdles in the existing RFP language. First, the Draft DER RFP lists “primary objectives / minimum requirements” that require programs to “Provide real-time (≤15 seconds) resource delivered data in MW.” This requirement would disqualify BDR programs, which necessitate that the AMI data for the entire treatment population is passed from PSE to its BDR vendor. Historically this has not been possible on a real-time basis. We request that, in the final RFP, PSE clarify this particular requirement and/or the full list of requirements to specify “as applicable”, “with the exception of Behavioral DR programs”, or similar to ensure that minimum requirements are applied in alignment with specific program types and to ensure that the unique attributes of BDR programs do not disqualify this critical resource from being deployed. Finally, the Draft DER RFP indicates that PSE anticipates selecting a short list in Q3 2022, with delivery starting in 2023. We would like to flag that if PSE expects resources to be available for dispatch in January 2023, the timeline should assume and allow for ~4 months for launch following contract execution. | Thank you for your input regarding BDR capabilities. We will look into the possibility of adding allowances for the timeframe required for providing data for BDR programs. Operational expectations for programs will be negotiated during the contracting phase, but PSE is not expecting complete operational performance at the start of 2023.
9 | If you’re not out of the office for the holiday, would you happen to have any days/times this week for us to hop on a quick call? Your time and consideration are very much appreciated. I look forward to hearing from you and to our discussion. | Thank you for your interest in PSE's 2022 DER RFP. Currently we are not meeting with potential candidates to discuss the RFP, but if you have any questions or comments please address them in docket UE-210878 (https://www.utc.wa.gov/casedocket/2021/210878). Details on how to file comments can be found under Notice - Opportunity to file Written Comment. More information about the DER RFP, including the schedule and upcoming meetings, can be found on PSE’s RFP website (https://www.pse.com/rfp).
10 | I am reaching out to request the service address for this RFP. What will be the official address of the project. | There is no mailing address for delivery of proposals for this RFP. Proposals will be accepted through an intake portal, which will come live in mid-February. More information about the DER RFP, including the schedule and upcoming meetings, can be found on PSE’s RFP website (https://www.pse.com/rfp).
11 | I respect that there is only a small window of time before the RFP drops and hope that we can get a brief 30-45 minute meeting on our mutual calendars at your earliest convenience. Thank you in advance for your timely response. We look forward to hearing from you. | Thank you for your interest in PSE's 2022 DER RFP. Currently we are not meeting with potential candidates to discuss the RFP, but if you want to stay up to date on the regulatory approval process you can find the most recent filings in docket UE-210878 (https://www.utc.wa.gov/casedocket/2021/210878). More information about the DER RFP, including the schedule and upcoming meetings, can be found on PSE’s RFP website (https://www.pse.com/rfp).
12 | We would be interested in supporting and/or partnering with others to provide workforce and contractor development related to providing DER programs. Our efforts are focused on providing opportunities for BIPOC and low income communities. Additionally, we would be interested in supporting efforts to be sure that the impacts of the DER program are equitable and reach all communities within the PSE service area. | If your organization is interested in providing any support or services to other bidders, please provide the additional information below. PSE intends to compile and publicly post a contact list on the DER RFP website that would be available to potential bidders to use if they so choose. Organization Name: Email address: Phone: Short description of available services (e.g., customer enrollment, equipment installation, etc… and explanation of services): Is your company/organization a small, minority, women and veteran owned business enterprise? If so what organization are you certified under (e.g., Washington State Office of Minority & Women’s Business Enterprises, Washington State Department of Veterans Affairs, etc…)?: By providing this information you agree to its incorporation into a contact list and you further agree that it will be publicly posted on PSE’s DER RFP website. Being added to the contact list does not mean you are a participating bidder or that any information provided will be evaluated by PSE for the DER RFP. The inclusion of the information you provide does not guarantee that any potential bidders will contact you as a result of its inclusion, and PSE does not guarantee the accuracy of any posted information, nor is PSE responsible for updating any such information. PSE also may choose at any time to remove the list or any information on it for any reason. We intend to provide your information publicly on our DER RFP website so that potential bidders can, at their discretion, contact you directly for use in their proposals.
13 | We are interested | If your organization is interested in providing any support or services to other bidders, please provide the additional information below. PSE intends to compile and publicly post a contact list on the DER RFP website that would be available to potential bidders to use if they so choose. Organization Name: Email address: Phone: Short description of available services (e.g., customer enrollment, equipment installation, etc… and explanation of services): Is your company/organization a small, minority, women and veteran owned business enterprise? If so what organization are you certified under (e.g., Washington State Office of Minority & Women’s Business Enterprises, Washington State Department of Veterans Affairs, etc…)?: By providing this information you agree to its incorporation into a contact list and you further agree that it will be publicly posted on PSE’s DER RFP website. Being added to the contact list does not mean you are a participating bidder or that any information provided will be evaluated by PSE for the DER RFP. The inclusion of the information you provide does not guarantee that any potential bidders will contact you as a result of its inclusion, and PSE does not guarantee the accuracy of any posted information, nor is PSE responsible for updating any such information. PSE also may choose at any time to remove the list or any information on it for any reason. We intend to provide your information publicly on our DER RFP website so that potential bidders can, at their discretion, contact you directly for use in their proposals.
14 | We received the below email. can you please advise if this is a request a lighting RFP? | Demand Response projects that are lighting based will be accepted. Please review the DER RFP and additional information provided on PSE’s RFP website (https://www.pse.com/rfp). If your project meets the requirements of the DER RFP it will be processed and evaluated.
15 | We are interested in supporting or providing services to other bidders. Could you please add us to the contact list for RFP bidders? Please let us know what company information you need. | If your organization is interested in providing any support or services to other bidders, please provide the additional information below. PSE intends to compile and publicly post a contact list on the DER RFP website that would be available to potential bidders to use if they so choose. Organization Name: Email address: Phone: Short description of available services (e.g., customer enrollment, equipment installation, etc… and explanation of services): Is your company/organization a small, minority, women and veteran owned business enterprise? If so what organization are you certified under (e.g., Washington State Office of Minority & Women’s Business Enterprises, Washington State Department of Veterans Affairs, etc…)?: By providing this information you agree to its incorporation into a contact list and you further agree that it will be publicly posted on PSE’s DER RFP website. Being added to the contact list does not mean you are a participating bidder or that any information provided will be evaluated by PSE for the DER RFP. The inclusion of the information you provide does not guarantee that any potential bidders will contact you as a result of its inclusion, and PSE does not guarantee the accuracy of any posted information, nor is PSE responsible for updating any such information. PSE also may choose at any time to remove the list or any information on it for any reason. We intend to provide your information publicly on our DER RFP website so that potential bidders can, at their discretion, contact you directly for use in their proposals.
16 | Hello I would like to receive bidder information and updates for the 2022 DER RFP. I have been a developer of distributed renewable resources and have been on hold since Schedule 91 prices dropped so severely. I am interested to see if any of my stalled projects would be a good fit. | Please review the DER RFP and additional information provided on PSE’s RFP website (https://www.pse.com/rfp). If your project meets the requirements of the DER RFP it will be processed and evaluated.